Extended Data

Contents of this file

Extended Data Figures 1–2

Extended Data Tables 1–3

1. Experimental setup

The experiments were conducted by using a VX-3 Paris-Edinburgh (PE) press at the High-Pressure Collaborative Access Team (HPCAT 16-BM-B) at the Advanced Photon Source, Argonne National Laboratory, USA. The schematic of the PE cell assembly is shown in Extended Data Fig. 1. The sample was placed between the Al2O3 buffer rod and the backing. Ultrasonic signals were reflected between the interfaces of buffer/sample (R1) and sample/backing (R2). An MgO ring surrounding the sample was used to calibrate the pressure.

The compressional (VP) and shear (VS) wave velocities were obtained by the pulse-echo overlap technique. Electrical sine waves were generated by a waveform generator (Tektronix AFG3251) from 12 to 45 MHz with a step of 1 MHz. The waves were reflected at the buffer-rod/sample and sample/backing interfaces, which were R1 and R2 for both P-wave and S-wave. The travel time (t) of the elastic waves through the sample could be determined by R1 and R2. The sample length (l) was delimited by white X-ray radiography measurements. The acoustic velocity can be calculated by

V=2lt                                       (1)

where V corresponds to the VP or VS, l is the thickness of the sample, and t is the travel time of ultrasonic signals determined by R1 and R2, respectively. The detailed method can be found in Kono, et al. 1.

Extended Data Fig. 1. High-pressure and high-temperature PE cell assembly for the acoustic velocity measurements of CaCO3.

2. In-situ energy dispersive X-ray diffraction

The incident X-ray beam with a size of 0.1×0.3 mm2 was white synchrotron radiation (0–120 keV) from a bending magnet. The energy-dispersive X-ray diffraction (EDXRD) patterns of the sample were collected using a Ge solid state detector. The typical collection time was 20 mins. Representative EDXRD patterns for current experiments are presented in Extended Data Fig. 2 and 3.

Extended Data Fig. 2. Representative EDXRD patterns of aragonite and amorphous CaCO3 at high P-T in two heating cycles (A and B). The black bar denote the peaks of aragonite.

3. Seismic velocities of pyrolite + 5 vol.% CaCO3

We modeled the profile of the low-velocity layers (LVLs) at the top of the subducting slabs with the mixture of pyrolite and 5 vol.% CaCO3. The density (ρ), compressional (VP), and shear (VS) wave velocities of pyrolite are from Xu, et al. 2. The density of aragonite was calculated according to its thermal equation of state (EOS)3. The density of amorphous CaCO3 is presumably 84% of that of aragonite4. The total uncertainties of the literature data from ref. 3. and the density of aragonite are about 0.5%. For the calculated seismic parameters of pyrolite + 5 vol.% CaCO3, the uncertainties are about 1%.

Extended Data Table 1. Acoustic velocities and densities of pyrolite, aragonite, and amorphous CaCO3 along the craton geotherm with surface heat flux of 45 mW/m2.

| P (GPa) | 1.4 | 1.7 | 2.0 | 2.3 | 2.6 | 2.9 | 3.2 | 3.5 | 4.0 | 4.5 | 5.0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Depth(km) | 41 | 50 | 59 | 68 | 77 | 87 | 97 | 406 | 121 | 134 | 150 |
| T (K) | 656 | 728 | 793 | 861 | 923 | 986 | 1044 | 1101 | 1176 | 1240 | 1309 |
| Pyrolite |  |  |  |  |  |  |  |  |  |  |  |
| VP (km/s) | 7.69 | 7.73 | 7.79 | 7.85 | 7.98 | 8.06 | 8.13 | 8.18 | 8.26 | 8.27 | 8.35 |
| VS (km/s) | 4.57 | 4.59 | 4.60 | 4.61 | 4.63 | 4.67 | 4.69 | 4.71 | 4.72 | 4.74 | 4.75 |
| ρ (g/cm3) | 3.24 | 3.25 | 3.26 | 3.27 | 3.30 | 3.32 | 3.33 | 3.34 | 3.36 | 3.37 | 3.39 |
| KS (GPa) | 101.2 | 102.8 | 105.7 | 109.0 | 115.7 | 119.0 | 122.5 | 124.8 | 129.4 | 129.6 | 134.2 |
| G (GPa) | 67.6 | 68.4 | 68.9 | 69.6 | 70.7 | 72.3 | 73.3 | 74.1 | 74.8 | 75.7 | 76.4 |
| Aragonite |  |  |  |  |  |  |  |  |  |  |  |
| VP (km/s) | 5.71 | 5.75 | 5.79 | 5.83 | 5.87 | 5.91 | / | / | / | / | / |
| VS (km/s) | 2.98 | 3.01 | 3.04 | 3.07 | 3.09 | 3.12 | / | / | / | / | / |
| ρ (g/cm3) | 3.01 | 3.01 | 3.01 | 3.01 | 3.02 | 3.02 | / | / | / | / | / |
| KS (GPa) | 63.4 | 64.4 | 65.4 | 66.4 | 67.6 | 68.8 | / | / | / | / | / |
| G (GPa) | 27.3 | 27.9 | 28.5 | 29.1 | 29.8 | 30.5 | / | / | / | / | / |
| Amorphous CaCO3* |  |  |  |  |  |  |  |  |  |  |  |
| VP (km/s) | / | / | / | / | / | / | 3.99 | 4.03 | 4.11 | 4.17 | 4.25 |
| VS (km/s) | / | / | / | / | / | / | 1.33 | 1.37 | 1.45 | 1.52 | 1.59 |
| ρ (g/cm3) | / | / | / | / | / | / | 2.63 | 2.63 | 2.63 | 2.64 | 2.64 |
| KS (GPa) | / | / | / | / | / | / | 41.1 | 41.6 | 42.7 | 43.5 | 44.5 |
| G (GPa) | / | / | / | / | / | / | 5.3 | 5.7 | 6.4 | 7.0 | 7.7 |
| *: The density of amorphous of CaCO3 is assumed to be 0.87 times of the density of aragonite. |  |  |  |  |  |  |  |  |  |  |  |

Extended Data Table 2. Acoustic velocities of pyrolite + 5 vol.% aragonite averaged by Voigt, Reuss, and VRH algorithms.

| P (GPa) | 1.4 | 1.7 | 2.0 | 2.3 | 2.6 | 2.9 |
| --- | --- | --- | --- | --- | --- | --- |
| Depth (km) | 41 | 50 | 59 | 68 | 77 | 87 |
| T (K) | 656 | 728 | 793 | 861 | 923 | 986 |
| Pyrolite + 5vol.% aragonite, Voigt |  |  |  |  |  |  |
| VP (km/s) | 7.61 | 7.65 | 7.71 | 7.76 | 7.89 | 7.97 |
| VS (km/s) | 4.51 | 4.53 | 4.54 | 4.55 | 4.56 | 4.61 |
| Pyrolite + 5vol.% aragonite, Reuss |  |  |  |  |  |  |
| VP (km/s) | 7.51 | 7.59 | 7.65 | 7.71 | 7.83 | 7.91 |
| VS (km/s) | 4.41 | 4.49 | 4.50 | 4.51 | 4.53 | 4.57 |
| Pyrolite + 5vol.% aragonite, VRH |  |  |  |  |  |  |
| VP (km/s) | 7.56 | 7.62 | 7.68 | 7.74 | 7.86 | 7.94 |
| VS (km/s) | 4.46 | 4.51 | 4.52 | 4.53 | 4.55 | 4.59 |

Extended Data Table 3. Acoustic velocities of pyrolite + 5 vol.% amorphous CaCO3 averaged by Voigt, Reuss, and VRH algorithms.

| P (GPa) | 3.2 | 3.5 | 4.0 | 4.5 | 5.0 |
| --- | --- | --- | --- | --- | --- |
| Depth (km) | 97 | 406 | 121 | 134 | 150 |
| T (K) | 1044 | 1101 | 1176 | 1240 | 1309 |
| Pyrolite + 5vol.% amorphous CaCO3, Voigt |  |  |  |  |  |
| VP (km/s) | 7.99 | 8.04 | 8.12 | 8.13 | 8.21 |
| VS (km/s) | 4.59 | 4.61 | 4.62 | 4.64 | 4.65 |
| Pyrolite + 5vol.% amorphous CaCO3, Reuss |  |  |  |  |  |
| VP (km/s) | 7.18 | 7.26 | 7.39 | 7.44 | 7.56 |
| VS (km/s) | 3.67 | 3.73 | 3.82 | 3.89 | 3.96 |
| Pyrolite + 5vol.% amorphous CaCO3, VRH |  |  |  |  |  |
| VP (km/s) | 7.60 | 7.66 | 7.76 | 7.79 | 7.89 |
| VS (km/s) | 4.16 | 4.19 | 4.24 | 4.28 | 4.32 |

Reference

1	Kono, Y., Park, C., Kenney-Benson, C., Shen, G. & Wang, Y. Toward comprehensive studies of liquids at high pressures and high temperatures: Combined structure, elastic wave velocity, and viscosity measurements in the Paris–Edinburgh cell. Phys. Earth Planet. Inter. 228, 269-280 (2014).

2	Xu, W., Lithgow-Bertelloni, C., Stixrude, L. & Ritsema, J. The effect of bulk composition and temperature on mantle seismic structure. Earth Planet. Sci. Lett. 275, 70-79 (2008).

3	Litasov, K. D. et al. PVT equation of state of CaCO3 aragonite to 29 GPa and 1673 K: In situ X-ray diffraction study. Phys. Earth Planet. Inter. 265, 82-91 (2017).

4	Hou, M. et al. Temperature-induced amorphization in CaCO 3 at high pressure and implications for recycled CaCO 3 in subduction zones. Nat. Commun. 10, 1963 (2019).