Supplementary material A1. Carbohydrate content in terms of dry cell weight in a batch experiment submitted to different dilutions of domestic wastewater (DW) and cooling water waste (CWW) (v/v) (Ortíz-Sánchez et al., 2022).

Supplementary material A2. Average (standard deviation) of heavy metals in the effluent (mixed liquor) of the photobioreactors.

|  | TRH 10 (mg L-1) | Removal (%) | TRH 8 (mg L-1) | Removal (%) | TRH 6 (mg L-1) | Removal (%) |
| --- | --- | --- | --- | --- | --- | --- |
| Al | 0.05 (0) | 54.5 | 0.06 (0) | 45.4 | 0.04 (0) | 63.6 |
| Cd | 0.08 (0) | - | 0.26 (0.16) | - | 0.12 (0) | - |
| Cr | 0.00 (0) | 100 | 0.00 (0) | 100 | 0.00 (0) | 100 |
| Cu | 0.01 (0) | 50 | 0.11 (0) | - | 0.01 (0) | 50 |
| Fe | 1.03 (2.79) | 57.9 | 1.07 (2.53) | 56.3 | 1.06 (3.3) | 56.7 |
| Mn | 0.00 (0) | 100 | 0.00 (0) | 100 | 0.00 (0) | 100 |
| Ni | 0.05 (0) | 16.7 | 0.19 (0) | - | 0.05 (0) | 16.7 |
| Pb | 0.43 (0) | 30.6 | 0.41 (0) | 33.8 | 0.34 (0) | 45.1 |
| Zn | 0 (0) | - | 0.00 (0) | - | 0.00 (0) | - |

Supplementary material A3. Images illustrating the floc size at 10, 8 and 6 of hydraulic retention time in day 36 and 55 of operation.