Table 1. characteristics of the raw water used in the cavitation reactor.

| Parameter | Mean Value ± S.E (n=48) | Min | Max |
| --- | --- | --- | --- |
| Chlorophyll a (μg/l) | 8.25 | 3.5 | 17 |
| TOC (mg/l) | 5.75 | 3.2 | 9.68 |
| pH | 8.16 | 7.65 | 8.59 |
| Tempreture | 14 | 7.2 | 15.9 |

Table 2 The runs of the Taguchi design experiment and the outcomes in chlorophyll a are referred to by S/N values.

| Row | pH | T (minute) | P (bar) | Q (m3/h) | D (m) | O3 (g/h) | H2O2 (g/l) | EF1(Chlorophyll a) % | EF2(Chlorophyll a) % | S/N(Chlorophyll a) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 5 | 20 | 1 | 1 | 25 | 0 | 0 | 42.84 | 45.06 | 32.8592 |
| 2 | 5 | 60 | 3 | 3 | 25 | 0 | 0 | 63.2 | 64.85 | 36.1236 |
| 3 | 5 | 90 | 5 | 5 | 25 | 0 | 0 | 85.08 | 83.12 | 38.4959 |
| 4 | 7 | 20 | 3 | 5 | 25 | 2 | 2 | 55.2 | 56.1 | 34.9015 |
| 5 | 7 | 60 | 5 | 1 | 25 | 2 | 2 | 98 | 98.61 | 39.85 |
| 6 | 7 | 90 | 1 | 3 | 25 | 2 | 2 | 71.19 | 70.46 | 37.0007 |
| 7 | 9 | 20 | 5 | 3 | 25 | 3 | 1 | 75.5 | 76.62 | 37.6220 |
| 8 | 9 | 60 | 1 | 5 | 25 | 3 | 1 | 49 | 47.92 | 33.7077 |
| 9 | 9 | 90 | 3 | 1 | 25 | 3 | 1 | 88 | 86.7 | 38.8253 |
| 10 | 5 | 20 | 1 | 1 | 50 | 2 | 1 | 42.04 | 44.08 | 32.7177 |
| 11 | 5 | 60 | 3 | 3 | 50 | 2 | 1 | 66.24 | 65.62 | 36.3817 |
| 12 | 5 | 90 | 5 | 5 | 50 | 2 | 1 | 86.57 | 87.87 | 38.8123 |
| 13 | 7 | 20 | 3 | 5 | 50 | 3 | 0 | 35.39 | 34.95 | 30.9234 |
| 14 | 7 | 60 | 5 | 1 | 50 | 3 | 0 | 84.16 | 82.83 | 38.4389 |
| 15 | 7 | 90 | 1 | 3 | 50 | 3 | 0 | 51.63 | 52.21 | 34.3067 |
| 16 | 9 | 20 | 5 | 3 | 50 | 0 | 2 | 53.88 | 53.64 | 34.6060 |
| 17 | 9 | 60 | 1 | 5 | 50 | 0 | 2 | 28 | 29.61 | 29.1878 |
| 18 | 9 | 90 | 3 | 1 | 50 | 0 | 2 | 65.6 | 65.1 | 36.2983 |
| 19 | 5 | 20 | 1 | 1 | 75 | 3 | 2 | 42.72 | 43.66 | 32.7057 |
| 20 | 5 | 60 | 3 | 3 | 75 | 3 | 2 | 67.16 | 68 | 36.5964 |
| 21 | 5 | 90 | 5 | 5 | 75 | 3 | 2 | 90 | 89.72 | 39.0713 |
| 22 | 7 | 20 | 3 | 5 | 75 | 0 | 1 | 17.3 | 17.3 | 24.7559 |
| 23 | 7 | 60 | 5 | 1 | 75 | 0 | 1 | 65.5 | 64.02 | 36.2261 |
| 24 | 7 | 90 | 1 | 3 | 75 | 0 | 1 | 34.84 | 35.67 | 30.9481 |
| 25 | 9 | 20 | 5 | 3 | 75 | 2 | 0 | 43.3 | 41.38 | 32.5350 |
| 26 | 9 | 60 | 1 | 5 | 75 | 2 | 0 | 18.00 | 18.00 | 25.1055 |
| 27 | 9 | 90 | 3 | 1 | 75 | 2 | 0 | 57.05 | 54.26 | 34.9109 |

Table 3 The runs of the Taguchi design experiment and the outcomes in TOC are referred to by S/N values

| Row | pH | T(minute) | P (bar) | Q(m3/h) | D (m) | O3 (g/h) | H2O2(g/l) | EF1(TOC)% | EF2(TOC)% | S/N(TOC) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 5 | 20 | 1 | 1 | 25 | 0 | 0 | 20.5 | 21.5 | 26.4444 |
| 2 | 5 | 60 | 3 | 3 | 25 | 0 | 0 | 42 | 43 | 32.5678 |
| 3 | 5 | 90 | 5 | 5 | 25 | 0 | 0 | 67.5 | 66.1 | 36.4955 |
| 4 | 7 | 20 | 3 | 5 | 25 | 2 | 2 | 33 | 30.62 | 30.0485 |
| 5 | 7 | 60 | 5 | 1 | 25 | 2 | 2 | 79.5 | 81 | 38.0889 |
| 6 | 7 | 90 | 1 | 3 | 25 | 2 | 2 | 53 | 52 | 34.4032 |
| 7 | 9 | 20 | 5 | 3 | 25 | 3 | 1 | 49.8 | 51.19 | 34.0658 |
| 8 | 9 | 60 | 1 | 5 | 25 | 3 | 1 | 29 | 29.8 | 29.3669 |
| 9 | 9 | 90 | 3 | 1 | 25 | 3 | 1 | 71.9 | 70.52 | 37.0496 |
| 10 | 5 | 20 | 1 | 1 | 50 | 2 | 1 | 26 | 27 | 28.4649 |
| 11 | 5 | 60 | 3 | 3 | 50 | 2 | 1 | 46.2 | 47.4 | 33.4049 |
| 12 | 5 | 90 | 5 | 5 | 50 | 2 | 1 | 72.65 | 70.75 | 37.1104 |
| 13 | 7 | 20 | 3 | 5 | 50 | 3 | 0 | 17 | 17.5 | 24.7358 |
| 14 | 7 | 60 | 5 | 1 | 50 | 3 | 0 | 64.33 | 65.72 | 36.2583 |
| 15 | 7 | 90 | 1 | 3 | 50 | 3 | 0 | 37 | 38 | 31.4806 |
| 16 | 9 | 20 | 5 | 3 | 50 | 0 | 2 | 31.4 | 30 | 29.7428 |
| 17 | 9 | 60 | 1 | 5 | 50 | 0 | 2 | 8.5 | 9.3 | 18.9878 |
| 18 | 9 | 90 | 3 | 1 | 50 | 0 | 2 | 50 | 50 | 33.9794 |
| 19 | 5 | 20 | 1 | 1 | 75 | 3 | 2 | 33.8 | 32.8 | 30.4489 |
| 20 | 5 | 60 | 3 | 3 | 75 | 3 | 2 | 53.25 | 54.52 | 34.6318 |
| 21 | 5 | 90 | 5 | 5 | 75 | 3 | 2 | 78 | 79 | 37.8974 |
| 22 | 7 | 20 | 3 | 5 | 75 | 0 | 1 | 2.8 | 3.15 | 9.53879 |
| 23 | 7 | 60 | 5 | 1 | 75 | 0 | 1 | 51.05 | 49.34 | 34.0141 |
| 24 | 7 | 90 | 1 | 3 | 75 | 0 | 1 | 22 | 22 | 26.8485 |
| 25 | 9 | 20 | 5 | 3 | 75 | 2 | 0 | 24.2 | 25.75 | 27.9240 |
| 26 | 9 | 60 | 1 | 5 | 75 | 2 | 0 | 3 | 3 | 9.5424 |
| 27 | 9 | 90 | 3 | 1 | 75 | 2 | 0 | 43.7 | 45.5 | 32.9867 |

Table 4 Results of the ANOM analysis to determine the best conditions for chlorophyll a.

| Factor/Level | j=1 | j=2 | j=3 | j=4 | j=5 | j=6 | j=7 | J=8 | j=9 | M(Level Factor) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| pH(1) | 32.85 | 36.12 | 38.49 | 32.71 | 36.38 | 38.81 | 32.70 | 36.59 | 39.07 | 35.97 |
| pH(2) | 34.90 | 39.93 | 37 | 30.92 | 38.43 | 34.3 | 24.75 | 36.22 | 30.94 | 34.16 |
| pH(3) | 37.62 | 33.7 | 38.82 | 34.60 | 29.18 | 36.29 | 32.53 | 25.10 | 34.91 | 33.64 |
| Time(1) | 32.85 | 32.71 | 32.70 | 34.90 | 30.92 | 24.75 | 37.62 | 34.60 | 32.53 | 32.63 |
| Time(2) | 36.12 | 36.38 | 36.59 | 39.93 | 38.43 | 36.22 | 33.70 | 29.18 | 25.10 | 34.63 |
| Time(3) | 38.49 | 38.81 | 39.07 | 37 | 34.30 | 30.94 | 38.82 | 36.29 | 34.91 | 36.52 |
| Pressure(1) | 25.10 | 29.18 | 30.94 | 32.70 | 32.72 | 32.85 | 33.70 | 34.30 | 37 | 32.06 |
| Pressure(2) | 24.75 | 30.92 | 34.9 | 34.91 | 36.12 | 36.29 | 36.38 | 36.59 | 38.82 | 34.41 |
| Pressure(3) | 32.53 | 34.6 | 36.22 | 37.62 | 38.43 | 38.49 | 38.81 | 39.07 | 39.93 | 37.31 |
| Flow (1) | 32.70 | 32.71 | 32.85 | 34.91 | 36.29 | 38.82 | 36.22 | 38.43 | 39.93 | 35.88 |
| Flow (2) | 30.94 | 34.3 | 37 | 36.12 | 36.38 | 36.59 | 32.53 | 34.60 | 37.62 | 35.12 |
| Flow (3) | 25.10 | 29.18 | 33.7 | 24.75 | 30.92 | 34.9 | 38.49 | 38.81 | 39.07 | 32.77 |
| Distance(1) | 32.85 | 38.82 | 39.93 | 37 | 36.12 | 37.62 | 33.7 | 34.9 | 38.49 | 36.61 |
| Distance(2) | 32.71 | 36.29 | 38.43 | 34.3 | 36.38 | 34.6 | 29.18 | 30.92 | 38.81 | 34.63 |
| Distance(3) | 32.70 | 34.91 | 36.22 | 30.94 | 36.59 | 32.53 | 25.10 | 24.75 | 39.07 | 32.54 |
| O3(1) | 32.85 | 36.12 | 38.49 | 36.29 | 34.6 | 29.18 | 36.22 | 30.94 | 24.75 | 33.28 |
| O3(2) | 39.93 | 37 | 34.9 | 32.71 | 36.38 | 38.81 | 34.91 | 32.53 | 25.10 | 34.70 |
| O3(3) | 38.82 | 37.62 | 33.7 | 38.43 | 34.3 | 30.92 | 32.7 | 36.59 | 39.07 | 35.8 |
| H2O2(1) | 32.85 | 36.12 | 38.49 | 34.91 | 32.53 | 25.10 | 38.43 | 34.3 | 30.92 | 33.74 |
| H2O2(2) | 36.2261 | 30.94 | 24.75 | 32.71 | 36.38 | 38.81 | 38.82 | 37.62 | 33.70 | 34.44 |
| H2O2(3) | 36.29 | 34.6 | 29.18 | 39.93 | 37 | 34.90 | 32.70 | 36.59 | 39.07 | 35.59 |

| Factor/Level | j=1 | j=2 | j=3 | j=4 | j=5 | j=6 | j=7 | J=8 | j=9 | M(Level Factor) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PH(1) | 17.50 | 29 | 34.56 | 21.21 | 29.99 | 35.08 | 24.19 | 31.68 | 36.09 | 28.82 |
| PH(2) | 25.48 | 36.31 | 31.95 | 13.97 | 34.18 | 27.08 | 9.54 | 30.75 | 17.38 | 25.19 |
| PH(3) | 30.42 | 21.43 | 34.51 | 23.80 | 11.82 | 30.88 | 20.25 | 9.54 | 29.39 | 23.56 |
| Time(1) | 17.5 | 21.21 | 24.19 | 25.48 | 13.97 | 9.54 | 30.42 | 23.8 | 20.25 | 20.71 |
| Time(2) | 29 | 29.99 | 31.68 | 36.31 | 34.18 | 30.75 | 21.43 | 11.82 | 9.54 | 26.08 |
| Time(3) | 34.56 | 35.08 | 36.09 | 31.95 | 27.08 | 17.38 | 34.51 | 30.88 | 29.39 | 30.77 |
| Pressure(1) | 17.50 | 21.21 | 24.19 | 21.43 | 11.82 | 9.54 | 31.95 | 27.08 | 17.38 | 20.24 |
| Pressure(2) | 25.48 | 13.97 | 9.54 | 29 | 29.99 | 31.68 | 34.51 | 30.88 | 29.39 | 26.05 |
| Pressure(3) | 30.42 | 23.80 | 20.25 | 36.31 | 34.18 | 30.75 | 34.56 | 35.08 | 36.09 | 31.28 |
| Flow (1) | 17.50 | 21.21 | 24.19 | 34.51 | 30.88 | 29.39 | 36.31 | 34.18 | 30.75 | 28.77 |
| Flow (2) | 31.9539 | 27.08 | 17.38 | 29 | 29.99 | 31.68 | 30.42 | 23.8 | 20.25 | 26.83 |
| Flow (3) | 21.43 | 11.82 | 9.54 | 25.48 | 13.97 | 9.54 | 34.56 | 35.08 | 36.09 | 21.95 |
| Distance(1) | 17.50 | 34.51 | 36.31 | 31.95 | 29 | 30.42 | 21.43 | 25.48 | 34.56 | 29.02 |
| Distance(2) | 21.2140 | 30.88 | 34.18 | 27.08 | 29.99 | 23.8 | 11.82 | 13.97 | 35.08 | 25.34 |
| Distance(3) | 24.19 | 29.39 | 30.75 | 17.38 | 31.68 | 20.25 | 9.54 | 9.54 | 36.09 | 23.21 |
| O3(1) | 17.50 | 29 | 34.56 | 30.88 | 23.8 | 11.82 | 30.75 | 17.38 | 9.54 | 22.81 |
| O3(2) | 36.31 | 31.95 | 25.48 | 21.21 | 29.99 | 35.08 | 29.39 | 20.25 | 9.54 | 26.58 |
| O3(3) | 34.51 | 30.42 | 21.43 | 34.18 | 27.08 | 13.97 | 24.19 | 31.68 | 36.09 | 28.18 |
| H2O2(1) | 17.50 | 29 | 34.56 | 29.39 | 20.25 | 9.54 | 34.18 | 27.08 | 13.97 | 23.95 |
| H2O2(2) | 30.75 | 17.38 | 9.54 | 21.21 | 29.99 | 35.08 | 34.51 | 30.42 | 21.43 | 25.60 |
| H2O2(3) | 30.88 | 23.8 | 11.82 | 36.31 | 31.95 | 25.48 | 24.19 | 31.68 | 36.09 | 28.03 |

Table 5 Results of the ANOM analysis to determine the best conditions TOC

Table 6: The optimum conditions for chlorophyll a and TOC removal.

| Parameters |  | pH | Time | Pressure | Flow | Distance | O3 | H2O2 | EF1 | EF2 | S/N |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Test 5 for chlorophyll a removal |  | 7 | 60 | 5 | 1 | 25 | 2 | 2 | 98 | 98.61 | 39.85 |  |
| Optimization condition for chlorophyll a removal |  | 5 | 90 | 5 | 1 | 25 | 3 | 2 | 100 | 100 | 40 |  |
| Test 5 for TOC removal |  | 7 | 60 | 5 | 1 | 25 | 2 | 2 | 79.5 | 81 | 38.08 |  |
| Optimization condition for TOC removal |  | 5 | 90 | 5 | 1 | 25 | 3 | 2 | 100 | 100 | 40 |  |

Table 7. The mean of the measurement results for a particular factor at the kth level and the mean of the total RE of chlorophyll a.

| Parameter | Level | PREkpH | PRE kTime | PRE kPrssure | PRE kFlow | PRE kDistance | PRE kO3 | PRE kH2O2 | PRET |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Chlorophyll a | 1 | 65.45 | 45.61 | 42.62 | 65.14 | 70 | 50.8 | 53.18 | 58.45 |
|  | 2 | 57.07 | 60.04 | 57.09 | 58.62 | 57.2 | 59.78 | 58.39 |  |
|  | 3 | 52.85 | 69.72 | 75.65 | 51.61 | 48.21 | 64.79 | 63.79 |  |

Table 8. The mean of the measurement results for a particular factor at the kth level and the mean of the total RE of TOC

| Parameter | Level | PREkpH | PRE kTime | PRE kPrssure | PRE kFlow | PRE kDistance | PRE kO3 | PRE kH2O2 | PRET |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TOC | 1 | 49 | 26.55 | 26.01 | 49.08 | 49.55 | 32.78 | 35.87 | 41.28 |
|  | 2 | 39.94 | 42.21 | 40.11 | 40.11 | 39.37 | 38 | 41.25 |  |
|  | 3 | 35.02 | 54.97 | 57.61 | 34.48 | 34.82 | 48.5 | 46.65 |  |

Table 9. Determining the percentage contribution of each factor in the removal of Chlorophyll a and TOC

| Pollutants | Factor | DOFF | SSF | SST | RF% | VER |
| --- | --- | --- | --- | --- | --- | --- |
| Chlorophyll a | pH | 2 | 1480.68 | 25540.22 | 5.79 | 1.29 |
|  | Time | 2 | 5299.25 |  | 20.74 |  |
|  | Pressure | 2 | 9868.86 |  | 38.64 |  |
|  | Flow | 2 | 1648.16 |  | 6.45 |  |
|  | Distance | 2 | 4316.71 |  | 16.9 |  |
|  | O3 | 2 | 1805.5 |  | 7.06 |  |
|  | H2O2 | 2 | 1083.2 |  | 4.24 |  |
| TOC | pH | 2 | 1810.08 | 25400.27 | 7.12 | 2.5 |
|  | Time | 2 | 7294.42 |  | 28.71 |  |
|  | Pressure | 2 | 9021.58 |  | 35.5 |  |
|  | Flow | 2 | 1951.92 |  | 7.68 |  |
|  | Distance | 2 | 2047.7 |  | 8.06 |  |
|  | O3 | 2 | 2432.31 |  | 9.57 |  |
|  | H2O2 | 2 | 1045.76 |  | 4.11 |  |