SUPPLEMENTARY MATERIAL
Settings for the alarms
[bookmark: _GoBack]The Mindray Benevision N1 Transport Patient Monitor has a set default alarm threshold: a heart rate of 60-100 beats/min will not activate the alarm, < 60 beats/min, > 100 beats/min will activate a yellow alarm, and < 50 beats per minute, > 130 beats per minute will activate a red alert. Blood pressure 90-140/60-90 mmHg will not activate an alarm, systolic blood pressure < 90 mmHg, diastolic blood pressure < 60 mmHg, systolic blood pressure > 140 mmHg, and diastolic blood pressure > 90 mmHg will activate a yellow alarm. Systolic blood pressure < 80 mmHg, diastolic blood pressure < 50 mmHg, systolic blood pressure > 160 mmHg, and diastolic blood pressure >100 mmHg will activate a red alarm. Breathing < 12 beats/min and > 24 beats/min will activate a yellow alarm and < 10 beats/min, > 30 beats/min will activate a red alarm. Blood oxygen saturation of 92-100% will not activate the alarm, < 92% will activate a yellow alarm and < 88% will activate a red alarm.

Other Results
Stratified with a median of 8 years of employment, the 18 nurses with more than eight years of experience responded to the monitor alarm during the intra-hospital tranport, and the alarm correction rate was 33.3%. Among the 22 nurses with less than 8 years of experience, the alarm response rate was 72.7 percent and the alarm correction rate was 22.7%. An independent samples t-test of the scores on Part 1 of the clinical alarm questionnaire showed that the difference in the scores of the two groups with more than and less than 8 years of work experience were statistically significant (P < 0.05). No significant difference was found in the total alarm fatigue scores between the two groups. The average alarm fatigue score of the nurses with more than 8 years of work experience was 21.74±1.15, and the average alarm fatigue score of those with less than 8 years was 20.26±1.51. The total alarm-fatigue score of the alarm processing group was 21.68±1.22 points and the total mean alarm-fatigue score in the no-processing group was 19.50±3.96 points.


