Table S1. Proteins identified by non-targeted data-dependent acquisition and database search using Spectrum Mill

Table S2. Target list for targeted MS/MS data acquisition.

# Acquisition Method Info

Method Name Method Path Method Description Device List

Multisampler

Binary Pump Column Comp. Q-TOF

Agilent_training_peptides_slope4_it_5uL.m D:\MassHunter\Methods\peptides\Agilent_training_peptides_slope4_it_5uL.

# TOF/Q-TOF Mass Spectrometer

| Component Name Ion Source Can wait for temp. | MS Q-TOF Dual AJS ESI Enable | Component Model Stop Time (min) Fast Polarity | G6545A No Limit/As Pump False |
| --- | --- | --- | --- |
| MS Abs. threshold | 200 | MS Rel. threshold(%) | 0.010 |
| MS/MS Abs. threshold | 5 | MS/MS Rel. threshold(%) | 0.010 |
| Time Segments |  |  |  |
| Time Segment # 1 | Start Time (min) Diverter Valve State 0 MS | Storage Mode Ion Mode Both Dual AJS ESI |  |

Time Segment 1

| Acquisition Mode AutoMS2 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| MS Min Range (m/z) |  |  | 100 |  |  |  |  |
| MS Max Range (m/z) |  |  | 1700 |  |  |  |  |
| MS Scan Rate (spectra/sec) |  |  | 3.00 |  |  |  |  |
| MS/MS Min Range (m/z) |  |  | 50 |  |  |  |  |
| MS/MS Max Range (m/z) |  |  | 1700 |  |  |  |  |
| MS/MS Scan Rate (spectra/sec) Isolation Width MS/MS Decision Engine |  |  | 2.00 Medium (~4 amu) Adv |  |  |  |  |
| Ramped Collision Energy |  |  |  |  |  |  |  |
| Charge Slope All 4 Auto MS/MS Preferred/Exclude Tabl |  | Offset 2 e |  |  |  |  |  |
| Mass Delta 921.9686 | Mass (ppm) 100 | Charge 1 | Type Exclude | Retention Time (min) 0 | Delta Ret. Time (min) | Isolation Width Narrow (~1.3 | Collision Energy |
|  |  |  |  |  |  | amu) |  |

Precursor Selection

Max Precursors Per Cycle	10

Threshold (Abs)	500

Threshold (Rel)(%)	0.010

Precursor abundance-based scan speed	Yes

Target (counts/spectrum)	25000.000

Use MS/MS accumulation time limit	Yes

Use dynamic precursor rejection	No

Purity Stringency (%)	100.000

Purity Cutoff (%)	30.000

Isotope Model	Peptides

Active exclusion enabled	Yes

Active exclusion excluded after (spectra)	2

Active exclusion released after (min)	0.20

Sort precursors	By abundance only

Static Exclusion Ranges

StartMZ	EndMZ

25	300

Charge State Preference

Selected Charges

2

3

>3

Instrument Parameters

| Parameter | Value |
| --- | --- |
| Gas Temp (°C) | 325 |
| Gas Flow (l/min) | 8 |
| Nebulizer (psig) | 35 |
| SheathGasTemp | 350 |
| SheathGasFlow | 11 |

Scan Segments

Scan Seg # Ion Polarity

1 Positive

Scan Segment 1

Scan Source Parameters

| Parameter | Value |
| --- | --- |
| VCap | 4500 |
| Nozzle Voltage (V) | 1000 |
| Fragmentor | 180 |
| Skimmer1 | 65 |
| OctopoleRFPeak | 750 |

ReferenceMasses

| Ref Mass Enabled Ref Nebulizer (psig) | Disabled |  |  |
| --- | --- | --- | --- |
| Chromatograms |  |  |  |
| Chrom Type | Label | Offset | Y-Range |
| TIC | TIC | 15 | 10000000 |
| TIC | TIC | 15 | 10000000 |

Name: Multisampler Sampling Speed Module: G7167A

Draw Speed	100.0 µL/min

Eject Speed	400.0 µL/min

Wait Time After Drawing	1.2 s

Injection

Needle Wash Mode	Standard Wash

Injection Volume	5.00 µL

Standard Needle Wash

Needle Wash Mode	Flush Port

Duration	10 s

High Throughput

Injection Valve to Bypass for Delay Volume Reduction	No

Sample Flush-Out Factor	5.0 Overlapped Injection

Overlap Injection Enabled	No

Needle Height Position

Draw Position Offset	-1.0 mm

Use Vial/Well Bottom Sensing	No

Stop Time

Stoptime Mode	No Limit

Post Time

Posttime Mode	Off

Name: Binary Pump	Module: G7112B

Flow	0.100 mL/min

Use Solvent Types	Yes

Low Pressure Limit	0.00 bar

High Pressure Limit	400.00 bar

Maximum Flow Gradient	100.000 mL/min²

Stroke A

Automatic Stroke Calculation A	Yes

Stroke B

Automatic Stroke Calculation B	Yes

Stop Time

Stoptime Mode	Time set

Stoptime	50.00 min

Post Time

Posttime Mode	Off

Solvent Composition

|  | Channel | Solvent 1 | Name 1 | Solvent 2 | Name 2 | Selected | Used | Percent (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | A | H20 |  | IPA |  | Ch. 1 | Yes | 98.0 % |
| 2 | B | premixed ACN(95%) - H2O(5%) |  | IPA |  | Ch. 1 | Yes | 2.0 % |

Timetable

|  | Time (min) | A (%) | B (%) | Flow (mL/min) |
| --- | --- | --- | --- | --- |
| 1 | 0.00 min | 98.0 % | 2.0 % | 0.100 mL/min |
| 2 | 2.00 min | 98.0 % | 2.0 % | 0.100 mL/min |

|  | Pressure (bar) |
| --- | --- |
| 1 | 400.00 bar |
| 2 | 400.00 bar |

|  | Time (min) | A (%) | B (%) | Flow (mL/min) |
| --- | --- | --- | --- | --- |
| 3 | 27.00 min | 60.0 % | 40.0 % | 0.100 mL/min |
| 4 | 32.00 min | 40.0 % | 60.0 % | 0.100 mL/min |
| 5 | 32.01 min | 15.0 % | 85.0 % | 0.100 mL/min |
| 6 | 37.00 min | 15.0 % | 85.0 % | 0.100 mL/min |
| 7 | 37.01 min | 98.0 % | 2.0 % | 0.100 mL/min |

Name: Column Comp. Left Temperature Control

Module: G7116A

Temperature Control Mode	Temperature Set

Temperature	40.0 °C

Enable Analysis Left Temperature

Enable Analysis Left Temperature On	Yes

Enable Analysis Left Temperature Value	1.0 °C

Left Temp. Equilibration Time	0.0 min

Right Temperature Control

Right temperature Control Mode	Not Controlled

Enable Analysis Right Temperature

Enable Analysis Right Temperature On	Yes

Enable Analysis Right Temperature Value	0.8 °C

Right Temp. Equilibration Time	0.0 min

Enforce column for run

Enforce column for run enabled	No

Stop Time

Stoptime Mode	As pump/injector

Post Time

Posttime Mode	Off

Timetable

Valve Position	Position 2 (Port 1 -> 2)

Position Switch After Run	Do not switch

|  | Pressure (bar) |
| --- | --- |
| 3 | 400.00 bar |
| 4 | 400.00 bar |
| 5 | 400.00 bar |
| 6 | 400.00 bar |
| 7 | 400.00 bar |

# Acquisition Method Info

Method Name Method Path Method Description Device List

Multisampler

Binary Pump Column Comp. Q-TOF

targetted_slope4_WW_test2.m D:\MassHunter\Methods\peptides\targetted_slope4_WW_test2.m

# TOF/Q-TOF Mass Spectrometer

| Component Name Ion Source Can wait for temp. | MS Q-TOF Dual AJS ESI Enable | Component Model Stop Time (min) Fast Polarity | G6545A No Limit/As Pump False |
| --- | --- | --- | --- |
| MS Abs. threshold | 200 | MS Rel. threshold(%) | 0.010 |
| MS/MS Abs. threshold | 5 | MS/MS Rel. threshold(%) | 0.010 |
| Time Segments |  |  |  |
| Time Segment # 1 | Start Time (min) Diverter Valve State 0 MS | Storage Mode Ion Mode Both Dual AJS ESI |  |

Time Segment 1

Acquisition Mode TargetedMS2

| MS Min Range (m/z) |  | 100 |
| --- | --- | --- |
| MS Max Range (m/z) |  | 1700 |
| MS Scan Rate (spectra/sec) |  | 3.00 |
| MS/MS Min Range (m/z) |  | 50 |
| MS/MS Max Range (m/z) |  | 1700 |
| MS/MS Scan Rate (spectra/sec) Max Time Between MS (sec) Decision Engine |  | 2.00 Disabled Native |
| Ramped Collision Energy |  |  |
| Charge Slope All 4 | Offset 2 |  |

| Targeted Mass Table Start Mass | Z | Ret. Time | Delta Ret. | Isolation | Collision | Acq. Time |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | (min) | Time (min) | Width | Energy | (ms/spec) |
| 604.8429 | 2 | 15 | 2 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 633.7451 | 5 | 19 | 3 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 633.7451 | 5 | 20 | 1 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 633.7451 | 5 | 20 | 1 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 642.3427 | 3 | 17 | 5 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 676.027 | 3 | 20 | 4 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 676.027 | 3 | 21 | 4 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 737.3753 | 3 | 17 | 10 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 737.3753 | 3 | 18 | 3 | Medium (~4 |  |  |
|  |  |  |  | amu) |  |  |
| 737.3753 | 3 | 13 | 5 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 786.0772 | 3 | 22 | 3 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 802.4194 | 3 | 13 | 5 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 820.4224 | 2 | 20 | 10 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 878.212 | 4 | 22 | 2 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 878.212 | 4 | 26 | 2 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 882.4681 | 3 | 26 | 2 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 890.1353 | 3 | 20 | 5 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 890.1353 | 3 | 24 | 2 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 918.4691 | 2 | 15 | 5 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 919.1262 | 3 | 25 | 1.5 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 919.1262 | 3 | 21 | 6 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 955.012 | 4 | 25 | 1.5 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 996.7676 | 4 | 21 | 5 | Medium (~4 |  |  |
|  |  |  |  | amu) |  |  |
| 996.7676 | 4 | 50 | 5 | Medium (~4 |  |  |
|  |  |  |  | amu) |  |  |
| 996.7676 | 4 | 24 | 4 | Medium (~4 |  |  |
|  |  |  |  | amu) |  |  |
| 1043.0443 | 2 | 25 | 25 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |
| 1086.4947 | 2 | 25 | 25 | Medium (~4 |  | 1000 |
|  |  |  |  | amu) |  |  |

Instrument Parameters

| Parameter | Value |
| --- | --- |
| Gas Temp (°C) | 325 |
| Gas Flow (l/min) | 8 |
| Nebulizer (psig) | 35 |
| SheathGasTemp | 350 |
| SheathGasFlow | 11 |

Scan Segments

Scan Seg # Ion Polarity

1 Positive

Scan Segment 1

Scan Source Parameters

| Parameter | Value |
| --- | --- |
| VCap | 4500 |
| Nozzle Voltage (V) | 1000 |
| Fragmentor | 180 |
| Skimmer1 | 65 |
| OctopoleRFPeak | 750 |

ReferenceMasses

| Ref Mass Enabled Ref Nebulizer (psig) | Disabled |  |  |
| --- | --- | --- | --- |
| Chromatograms |  |  |  |
| Chrom Type | Label | Offset | Y-Range |
| TIC | TIC | 15 | 10000000 |
| TIC | TIC | 15 | 10000000 |

Name: Multisampler Sampling Speed

Module: G7167A

Draw Speed	100.0 µL/min

Eject Speed	400.0 µL/min

Wait Time After Drawing	1.2 s

Injection

Needle Wash Mode	Standard Wash

Injection Volume	5.00 µL

Standard Needle Wash

Needle Wash Mode	Flush Port

Duration	10 s

High Throughput

Injection Valve to Bypass for Delay Volume Reduction	No

Sample Flush-Out Factor	5.0 Overlapped Injection

Overlap Injection Enabled	No

Needle Height Position

Draw Position Offset	-1.0 mm

Use Vial/Well Bottom Sensing	No

Stop Time

Stoptime Mode	No Limit

Post Time

Posttime Mode	Off

Name: Binary Pump	Module: G7112B

Flow	0.100 mL/min

Use Solvent Types	Yes

Low Pressure Limit	0.00 bar

High Pressure Limit	400.00 bar

Maximum Flow Gradient	100.000 mL/min²

Stroke A

Automatic Stroke Calculation A	Yes

Stroke B

Automatic Stroke Calculation B	Yes

Stop Time

Stoptime Mode	Time set

Stoptime	50.00 min

Post Time

Posttime Mode	Off

Solvent Composition

|  | Channel | Solvent 1 | Name 1 | Solvent 2 | Name 2 | Selected | Used | Percent (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | A | H20 |  | IPA |  | Ch. 1 | Yes | 98.0 % |

|  | Channel | Solvent 1 | Name 1 | Solvent 2 | Name 2 | Selected | Used | Percent (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | B | premixed ACN(95%) - H2O(5%) |  | IPA |  | Ch. 1 | Yes | 2.0 % |

Timetable

|  | Time (min) | A (%) | B (%) | Flow (mL/min) |
| --- | --- | --- | --- | --- |
| 1 | 0.00 min | 98.0 % | 2.0 % | 0.100 mL/min |
| 2 | 2.00 min | 98.0 % | 2.0 % | 0.100 mL/min |
| 3 | 27.00 min | 60.0 % | 40.0 % | 0.100 mL/min |
| 4 | 32.00 min | 40.0 % | 60.0 % | 0.100 mL/min |
| 5 | 32.01 min | 15.0 % | 85.0 % | 0.100 mL/min |
| 6 | 37.00 min | 15.0 % | 85.0 % | 0.100 mL/min |
| 7 | 37.01 min | 98.0 % | 2.0 % | 0.100 mL/min |

Name: Column Comp. Left Temperature Control

Module: G7116A

Temperature Control Mode	Temperature Set

Temperature	40.0 °C

Enable Analysis Left Temperature

Enable Analysis Left Temperature On	Yes

Enable Analysis Left Temperature Value	1.0 °C

Left Temp. Equilibration Time	0.0 min

Right Temperature Control

Right temperature Control Mode	Not Controlled

Enable Analysis Right Temperature

Enable Analysis Right Temperature On	Yes

Enable Analysis Right Temperature Value	0.8 °C

Right Temp. Equilibration Time	0.0 min

Enforce column for run

Enforce column for run enabled	No

Stop Time

Stoptime Mode	As pump/injector

Post Time

Posttime Mode	Off

Timetable

Valve Position	Position 2 (Port 1 -> 2)

Position Switch After Run	Do not switch

|  | Pressure (bar) |
| --- | --- |
| 1 | 400.00 bar |
| 2 | 400.00 bar |
| 3 | 400.00 bar |
| 4 | 400.00 bar |
| 5 | 400.00 bar |
| 6 | 400.00 bar |
| 7 | 400.00 bar |