An Ultra-rapid and Green Method for Simultaneous Determination of Honokiol and Magnolol in Magnoliae Officinalis Cortex with One Standard by HPLC-UV at Equal Absorption Wavelength

Journal name: Food Analytical Methods

Zhengming Qian 1, 2, Jing Chen 1, Qinggui Lei 2, Guoying Tan 2, Yuansheng Zou 2, Gang Peng 3, Wenqing Li 2*, Juying Xie 1*

1 College of Medical Imaging Laboratory and Rehabilitation, Xiangnan University, Chenzhou 423000, Hunan, China

2 Key Laboratory of State Administration of Traditional Chinese Medicine, Dongguan HEC Cordyceps R&D Co., Ltd, Guangdong 523850, Guangdong, China

3 Lingnan Traditional Chinese Medicine Tablets Co., Ltd, Guangzhou 510305, Guangdong, China

Zhengming Qian and Jing Chen contributed equally to the research.

*Corresponding authors: Wenqing Li, E-mail: liwenqing61@163.com

Juying Xie, E-mail:597189746@qq.com

Figure S1 Eﬀects of diﬀerent parameters on the extraction efficiency of honokiol and magnolol in MOC. (A) grinding time; (B) concentration of ethanol (C) ratio of sample to extraction solvent; (D) ultrasonic extraction time.

Chp: the extraction yield of Chinese Pharmacopoeia method was defined as 100%.

C

B

A

Table S1 The peak areas of honokiol (0.0890 mg mL-1) and magnolol (0.0890 mg mL-1) at different detection wavelengths

| Detection wavelength |  | Peak areas |  |
| --- | --- | --- | --- |
|  |  | Honokiol | Magnolol |
| 246 nm |  | 121.61 | 126.74 |
| 247 nm |  | 124.14 | 124.91 |
| 248 nm |  | 127.14 | 122.77 |

A

Table S2 The recoveries of HPLC method

| Analytes | Sample | Original | Added | Found | Recovery | Average recovery | RSD |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | (mg ) | (mg ) | (mg) | (%) | (%) | (%) |
| Honokiol | 1 | 0.2798 | 0.2981 | 0.5647 | 103.36 | 99.28 | 3.3 |
|  | 2 | 0.2798 | 0.2981 | 0.5812 | 101.92 |  |  |
|  | 3 | 0.2840 | 0.2981 | 0.5808 | 98.21 |  |  |
|  | 4 | 0.2840 | 0.2981 | 0.5777 | 98.85 |  |  |
|  | 5 | 0.2831 | 0.2981 | 0.5879 | 105.88 |  |  |
|  | 6 | 0.2800 | 0.2981 | 0.5741 | 106.15 |  |  |
| Magnolol | 1 | 0.3258 | 0.3473 | 0.6597 | 96.12 | 98.08 | 1.8 |
|  | 2 | 0.3258 | 0.3473 | 0.6725 | 99.81 |  |  |
|  | 3 | 0.3307 | 0.3473 | 0.6707 | 97.86 |  |  |
|  | 4 | 0.3307 | 0.3473 | 0.6688 | 97.33 |  |  |
|  | 5 | 0.3297 | 0.3473 | 0.6791 | 100.58 |  |  |
|  | 6 | 0.3261 | 0.3473 | 0.6622 | 96.76 |  |  |

Table S3 Robustness results of developed HPLC method

| Parameters |  | RRTa | RPAb | Resolutionc |
| --- | --- | --- | --- | --- |
| Current method |  | 1.294 | 0.995 | 3.8 |
| Flow rate (mL min-1) | 1.4 | 1.306 | 0.999 | 3.1 |
|  | 1.6 | 1.301 | 0.999 | 2.9 |
| Column temperature (°C) | 30 | 1.315 | 1.002 | 3.2 |
|  | 40 | 1.288 | 0.998 | 3.0 |
| Column | Waters CORTECS C18 | 1.270 | 1.005 | 3.3 |
|  | ACE UltraCore SuperC18 | 1.321 | 1.007 | 3.7 |

a The relative time of magnolol to honokiol; b The relative peak area of magnolol to honokiol; c The resolution between honokiol and magnolol.