## LC methods tested
Method development - LC methods tested
gradient type | gradient length | length in minutes | % Solvent B steps | Solvent A | Solvent B
A | 1 | 35 | 0-15 min 0-32% Solvent B 15-22.5 min 32-40% Solvent B 22.5-25 min 40-60% Solvent B 25-30 min 60-95% Solvent B 30-35 min 95% Solvent B | 0.01% formic acid in H2O | 0.01% formic acid in AcN
A | 2 | 60 | 0-30 min 0-32% Solvent B 30-45 min 32-40% Solvent B 45-50 min 40-60% Solvent B 50-55 min 60-95% Solvent B 55-60 min 95% Solvent B
A | 3 | 85 | 0-45 min 0-32% Solvent B 55-67.5 min 32-40% Solvent B 67.5-75 min 40-60% Solvent B 75-80 min 60-95% Solvent B 80-85 min 95% Solvent B
A | 4 | 110 | 0-60 min 0-32% Solvent B 60-93 min 32-40% Solvent B 93-100 min 40-60% Solvent B 100-105 min 60-95% Solvent B 105-110 min 95% Solvent B
B | 1 | 45 | 0-30 min 0-32% Solvent B 30-35 min 32-60% Solvent B 35-40 min 60-95% Solvent B 40-45 min 95% Solvent B
B | 2 | 75 | 0-60 min 0-32% Solvent B 60-65 min 32-60% Solvent B 65-70 min 60-95% Solvent B 70-75 min 95% Solvent B
B | 3 | 105 | 0-90 min 0-32% Solvent B 90-95 min 32-60% Solvent B 95-100 min 60-95% Solvent B 100-105 min 95% Solvent B
B | 4 | 135 | 0-120 min 0-32% Solvent B 120-125 min 32-60% Solvent B 125-130 min 60-95% Solvent B 130-135 min 95% Solvent B
Abbreviations
LC | liquid chromatography
min | minutes
AcN | acetonitril
H2O | water
Chosen method is highlighted in green.

## MS methods tested
Method development - MS methods tested
Parameter | Mass (m/z) | 1/k0 (V*s/cm2) | Ramp Time (ms) | Spectra Rate (Hz) | Transfer Time (µs) | Pre Pulse Storage (µs) | Polygon | # PASEF MS/MS scans | Total Cycle Time (s) | Target Intensity | Intensity Threshold | Isolation Width Mass (m/z)
ramp time | 100-1700 | 0.6-1.6 | 100 | 9.52 | 80 | 8 | V1 | 6 | 0.73 | 40000 | 1000 | 700 | 800
| 100-1700 | 0.6-1.6 | 150 | 6.45 | 80 | 8 | V1 | 6 | 1.08 | 40000 | 1000 | 700 | 800
| 100-1700 | 0.6-1.6 | 200 | 4.88 | 80 | 8 | V1 | 6 | 1.43 | 40000 | 1000 | 700 | 800
transfer time; pre pulse storage | 100-1700 | 0.6-1.6 | 200 | 4.88 | 80 | 8 | V1 | 6 | 1.43 | 40000 | 1000 | 700 | 800
| 100-1700 | 0.6-1.6 | 200 | 4.88 | 80 | 6 | V1 | 6 | 1.43 | 40000 | 1000 | 700 | 800
| 100-1700 | 0.6-1.6 | 200 | 4.88 | 60 | 6 | V1 | 6 | 1.43 | 40000 | 1000 | 700 | 800
| 100-1700 | 0.6-1.6 | 200 | 4.88 | 60 | 8 | V1 | 6 | 1.43 | 40000 | 1000 | 700 | 800
| 100-1700 | 0.6-1.6 | 200 | 4.88 | 100 | 8 | V1 | 6 | 1.43 | 40000 | 1000 | 700 | 800
| 100-1700 | 0.6-1.6 | 200 | 4.88 | 100 | 10 | V1 | 6 | 1.43 | 40000 | 1000 | 700 | 800
| 100-1700 | 0.6-1.6 | 200 | 4.88 | 150 | 8 | V1 | 6 | 1.43 | 40000 | 1000 | 700 | 800
| 100-1700 | 0.6-1.6 | 200 | 4.88 | 150 | 10 | V1 | 6 | 1.43 | 40000 | 1000 | 700 | 800
target intensity | 100-1700 | 0.6-1.6 | 200 | 4.88 | 60 | 6 | V1 | 6 | 1.43 | 40000 | 1000 | 700 | 800
| 100-1700 | 0.6-1.6 | 200 | 4.88 | 60 | 6 | V1 | 6 | 1.43 | 50000 | 1000 | 700 | 800
| 100-1700 | 0.6-1.6 | 200 | 4.88 | 60 | 6 | V1 | 6 | 1.43 | 20000 | 1000 | 700 | 800
1/k0 range | 100-1700 | 0.2-1.6 | 200 | 4.88 | 60 | 6 | V1 | 6 | 1.43 | 40000 | 1000 | 700 | 800
| 100-1700 | 0.6-1.6 | 200 | 4.88 | 60 | 6 | V1 | 6 | 1.43 | 40000 | 1000 | 700 | 700
intensity threshold | 100-1700 | 0.6-1.6 | 200 | 4.88 | 60 | 6 | V1 | 6 | 1.43 | 20000 | 1000 | 700 | 700
| 100-1700 | 0.6-1.6 | 200 | 4.88 | 60 | 6 | V1 | 6 | 1.43 | 20000 | 2500 | 700 | 700
isolation width | 100-1700 | 0.6-1.6 | 200 | 4.88 | 60 | 6 | V1 | 6 | 1.43 | 20000 | 1000 | 700 | 800
| 100-1700 | 0.6-1.6 | 200 | 4.88 | 60 | 6 | V1 | 6 | 1.43 | 20000 | 1000 | 700 | 700
m/z range | 100-1700 | 0.6-1.6 | 200 | 4.88 | 60 | 6 | V1 | 6 | 1.43 | 20000 | 1000 | 700 | 700
| 100-2000 | 0.6-1.6 | 200 | 4.88 | 60 | 6 | V2 | 6 | 1.43 | 20000 | 1000 | 700 | 700
polygon | 100-2000 | 0.6-1.6 | 200 | 4.88 | 60 | 6 | V2 | 6 | 1.43 | 20000 | 1000 | 700 | 700
| 100-2000 | 0.6-1.6 | 200 | 4.88 | 60 | 6 | V3 | 6 | 1.43 | 20000 | 1000 | 700 | 700
| 100-2000 | 0.6-1.6 | 200 | 4.88 | 60 | 6 | V4 | 6 | 1.43 | 20000 | 1000 | 700 | 700
PASEF | 100-2000 | 0.6-1.6 | 200 | 4.88 | 60 | 6 | V4 | 6 | 1.43 | 20000 | 1000 | 700 | 700
| 100-2000 | 0.6-1.6 | 200 | 4.88 | 60 | 6 | V4 | 8 | 1.43 | 20000 | 1000 | 700 | 700
Abbreviations
MS | mass spectrometry
PASEF | parallel accumulation serial fragmentation
m/z | mass to charge ratio
Varied parameters are highlighted in green.
Polygon variants:
V1 | includes ions with a charge ≥2+ and a m/z of 0-1700 m/z
V2 | includes ions with a charge ≥2+ and a m/z of 0-2000 m/z
V3 | includes ions with a charge of ≥2+ and a m/z of 0-200 m/z and ions with a charge 1+ with a m/z ≥800
V4 | includes ions with a charge of ≥2+ and a m/z of 0-200 m/z and ions with a charge 1+ with a m/z ≥600