## Slide 1: AMDS
Tables

## Slide 2
Baseline Characteristics | Value
Age (y) | 61 (51-69)
Male Gender (%) | 75 (3/4)
Malperfusion (%) | 50 (2/4)
Preoperative Stroke (%) | 25 (1/4)
Hypertension (%) | 100 (4/4)
COPD (%) | 0
Reoperation | 0
Table 1: Baseline Characteristics of the study population

## Slide 3
Table 2 : Procedural data
Characteristic | Value
Successful device deployment | 100%
David V procedure | 100%
Mean cardiopulmonary bypass time (min) | 113(+/-8)
Mean cross clamping time (min) | 85(+/-6)
Mean cerebral perfusion time (min) | 15(+/-2)

## Slide 4
Mortality and serious adverse events | Value
30-day mortality | 0%
Neurological deficit | 25% (1 patient)
Acute renal failure requiring hemodialysis | 50% (2 patients)
Hemorrhagic shock | 25% (1 patient)
Aortic injury associated with device implantation | 0%
Device related reintervention | 0%
Stent compression | 25% (1 patient)
Table 3 : Mortality and Serious Adverse Events