Pd decorated ZnO nanosheets for enhanced hydrogen sensing performance

Hua-Dong Dong a,c, Jian-Ping Zhao*,a, Ming-Xing Peng b, Pei-Yuan Xuc , Xuan-Yu Yang *,b, Yong-Hui Zhang*,b

aSchool of Mechanical and Power Engineering, Nanjing Tech University, Jiangsu Key Lab of Design and Manufacture of Extreme Pressure Equipment, Nanjing 211816, P. R. China

bCollege of Materials and Chemical Engineering, Zhengzhou University of Light Industry, Zhengzhou 450002, P. R. China

cSchool of Energy and Power Engineering, Zhengzhou University of Light Industry, Zhengzhou 450002, P. R. China

*E-mail address: jpzhao_njtech@163.com; kfyxyyfmhp@163.com; yonghui.zhang@zzuli.edu.cn

Sensor fabrication and gas sensing measurement

Gas sensor preparation process: the prepared pure ZnO and PZO composite materials were evenly ground, then, an appropriate amount of terpineol was mixed into a uniform paste. The prepared slurry is evenly coated on the surface of the Al2O3 tube with pt electrode with a brush, and the Ni-Cr alloy heating wire is passed through the Al2O3 tube to realize the heating of the sensor. The original was annealed at 300 ℃ for 2 h to remove terpineol. After cooling, it was welded to bakelite base to complete the preparation of the sensor. WS-30b system (Wei sheng Instruments Co. Zhengzhou, China) was used to test the H2 sensing performance of the sensors. Sensitivity is defined as the ratio of the sensor's resistance in air (Ra) to its resistance in hydrogen (Rg). The response-recovery time is defined as the time required to reach 90% of the initial equilibrium value.

Figure S1. WS-30B gas sensitive test system and gas sensitive element.

Figure S2. (a) Nitrogen adsorption-desorption isotherm of ZnO; (b) Pore size distribution of ZnO.

Figure S3. XPS spectra of ZnO: (a) full spectrum; (b) Zn 2p; (c) O 1s.

Table S1

Fitting results of O 1s XPS spectra of ZnO and PZO.

| simple | Oxygen species | Binding energy (eV) | Percentage |
| --- | --- | --- | --- |
| Pure ZnO PZO | OL OV OC OL OV OC | 530.31 531.63 532.62 530.19 531.54 532.61 | 70.16% 25.11% 4.73% 68.49% 23.17% 8.34% |