Supplementary data to:

Blue LED light promoting the growth, accumulation of high-value isoflavonoids and astragalosides, antioxidant response, and biosynthesis gene expression in Astragalus membranaceus (Fisch.) Bunge hairy root cultures

Qing-Yan Gai a,b,c,d, Xue Feng a,b,c,d, Jiao Jiao a,b,c,d,*, Xiao-Jie Xu a,b,c,d, Jin-Xian Fu a,b,c,d, Xiao-Jia He a,b,c,d, Yu-Jie Fu a,b,c,d

a College of Chemistry, Chemical Engineering and Resource Utilization, Northeast Forestry University, Harbin 150040, PR China

b Key Laboratory of Forest Plant Ecology, Ministry of Education, Northeast Forestry University, Harbin 150040, PR China

c Engineering Research Center of Forest Bio-Preparation, Ministry of Education, Northeast Forestry University, Harbin 150040, PR China

d Heilongjiang Provincial Key Laboratory of Ecological Utilization of Forestry-based Active Substances, Northeast Forestry University, Harbin 150040, PR China

*Corresponding authors: J. Jiao

E-mail addresses: jj_nefu@163.com

Table S1. The optimized MRM parameters of four target isoflavonoids and astragalosides a.

| Analyte | Monitoring ion | Precursor ion (m/z) | Main product ions (m/z) | Precursor/product ion pair (m/z) | Fragmentor (V) | Collision energy (V) |
| --- | --- | --- | --- | --- | --- | --- |
| CA | [M−H]− | 283.1 | 268.1 | 283.1 → 268.1 | 115 | 18 |
| FO | [M−H]− | 267.1 | 252.1; 223.0 | 267.1 → 252.1 | 120 | 18 |
| AG IV | [M+Na]+ | 807.5 | 627.4 | 807.5 → 627.4 | 305 | 58 |
| AG I | [M+Na]+ | 891.5 | 831.3; 711.5 | 891.5 → 711.5 | 250 | 60 |

a Other source parameters were set as follows: gas temperature 350 °C, gas flow 10 L/min, nebulizer gas pressure 50 psi, cell acceleration voltage 4 V, and capillary voltage 4000 V (ESI-) and 4500 V (ESI+).