Table 1: Financial instruments and how they are used in blended finance (Source: Pereira 2017).

| Power Plant | Installed Capacity 2021 (MW) |
| --- | --- |
| Coal | 11,669 |
| Gas | 3,453 |
| Oil | 3,847 |
| Solar PV | 1,317 |
| Hydropower | 3,752 |
| Biomass | 489 |
| Geothermal | 1,928 |
| Onshore Wind | 427 |

Table 2: Installed power plant capacities (2021) in the Philippines.

Table 3:  Planned power plant installations by capacity (MW) per plant type in the Philippines.

| Power Plant | Cost ($) per kW |
| --- | --- |
| Onshore Wind | 1325 |
| Offshore Wind | 2858 |
| Solar PV | 857 |
| CSP | 9091 |
| Small Hydro | 2000 |
| Large Hydro | 2135 |
| Geothermal | 3991 |
| Biomass | 2353 |

Table 4: Capital costs ($) per kW for each renewable energy source in 2021 (IRENA 2022).