{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":12,"n_cols":5,"rows_kept":12,"flags":["formulas_cached_only"]}
["Key Technology Features","NuroSleeve","MyoPro [23]","Ness H200 [24] ","Omni Hi5 [25]"]
["FES","ü","û","ü","ü"]
["Mechanical powered orthoses","ü","ü","û","û"]
["Size Customizable","ü","ü","û","û"]
["Affordable (less than $5,000)","ü","û","û","û"]
["Soft and comfortable fabrication materials","ü","ü","û","û"]
["Lightweight (less than 1.5kg)","ü","û","ü","ü"]
["Battery life (longer than 3 hours)","ü","û","ü","ü"]
["Don and doff without assistance","ü","û","ü","ü"]
["Washable inserts","ü","ü","ü","û"]
["Low-profile","ü","û","û","ü"]
["Easy to set up and use","ü","ü","û","û"]