## HDX Summary Table
Table S5: Summary of HDXMS experiments and the number of peptides obtained for the Spike and RBD proteins in various conditions are tabulated.
Data Set | Spike(Wuhan) | Spike(W)+LSI-CoV-014 | Spike(W)+LSI-CoV-015 | Spike(W)+LSI-CoV-016 | Spike(W)+LSI-CoV-017 | Spike(W)+4A8 | Spike(W)+CoVA2-39 | Spike(W)+CoVA2-04 | Spike(W)+5A6
HDX reaction details | 10 mM PBS (pH 7.4), pDread = 7.530, 37 °C
HDX time course (min) | 1, 10, 100 | [6 empty] | 1, 10
HDX control samples | Maximally-labeled control (Spike protein)
# of Peptides | 267 | 222 | 264 | 264 | 192 | 187 | 247 | 247 | 150
Sequence coverage | 86.2% | 82.6% | 86% | 85% | 82% | 82% | 83% | 83% | 81%
Average peptide length / Redundancy | 13.86 / 3.58 | 13.86 / 2.58 | 13.86 / 2.98 | 13.86 / 2.94 | 13.65/ 2.02 | 12.85/2.12 | 13.86 / 2.75 | 13.86 / 2.75 | 13.86 / 2.12
Replicates (biological or technical) | 6 (biological and technical) | 6 (biological and technical) | 6 (biological and technical) | 6 (biological and technical) | 5 (biological and technical) | 3 (technical) | 6 (biological and technical) | 6 (biological and technical) | 5 (biological and technical)
Repeatability (average standard deviation) | 0.018 | 0.019 | 0.046 | 0.029 | 0.201 | 0.081 | 0.112 | 0.067 | 0.021
Significant differences in HDX (delta HDX > X D) | 0.5 D (99% CI)
Data Set | RBD(Wuhan) | RBD(W)+LSI-CoV-014 | RBD(W)+LSI-CoV-015 | RBD(W)+LSI-CoV-016 | RBD(W)+LSI-CoV-017 | RBD(W)+CoVA2-04 | RBD(W)+CoVA2-39 | RBD(W)+CR3022
HDX reaction details | 10 mM PBS (pH 7.4), pDread = 7.530, 37 °C
HDX time course (min) | 1, 10, 100 |  |  |  | 1, 10
HDX control samples | Maximally-labeled control (RBD protein)
# of Peptides | 68 | 49 | 61 | 66 | 39 | 56 | 56 | 57
Sequence coverage | 86.2% | 82.6% | 86% | 85% | 82% | 83% | 83% | 82%
Average peptide length / Redundancy | 13.86 / 3.58 | 13.86 / 2.58 | 13.86 / 2.98 | 13.86 / 2.94 | 13.86 / 2.32 | 13.86 / 2.75 | 13.86 / 2.75 | 13.86 / 2.28
Replicates (biological or technical) | 6 (biological and technical) | 6 (biological and technical) | 6 (biological and technical) | 6 (biological and technical) | 3 (technical) | 3 (technical) | 3 (technical) | 3 (technical)
Repeatability (average standard deviation) | 0.023 | 0.042 | 0.039 | 0.045 | 0.121 | 0.082 | 0.098 | 0.103
Significant differences in HDX (delta HDX > X D) | 0.5 D (99% CI)
Data Set | RBD(Delta) | RBD(D)+LSI-CoV-014 | RBD(D)+LSI-CoV-015 | RBD(D)+LSI-CoV-016 | RBD(D)+5A6 | RBD(D)+CoVA2-04 | RBD(D)+ACE2
HDX reaction details | 10 mM PBS (pH 7.4), pDread = 7.530, 37 °C
HDX time course (min) | 1, 10, 100
HDX control samples | NA
# of Peptides | 77 | 77 | 77 | 77 | 77 | 77 | 77
Sequence coverage | 94.3% | 94.3% | 94.3% | 94.3% | 94.3% | 94.3% | 94.3%
Average peptide length / Redundancy | 12.79 / 3.75 | 12.79 / 3.75 | 12.79 / 3.75 | 12.79 / 3.75 | 12.79 / 3.75 | 12.79 / 3.75 | 12.79 / 3.75
Replicates (biological or technical) | 6 (biological and technical) | 3 (technical) | 3 (technical) | 3 (technical) | 3 (technical) | 3 (technical) | 3 (technical)
Repeatability (average standard deviation) | 0.051 | 0.059 | 0.047 | 0.044 | 0.049 | 0.041 | 0.045
Significant differences in HDX (delta HDX > X D) | 0.5 D (99% CI)
Data Set | RBD(O1) | RBD(O1)+LSI-CoV-014 | RBD(O1)+LSI-CoV-015 | RBD(O1)+LSI-CoV-016 | RBD(O1)+ACE2
HDX reaction details | 10 mM PBS (pH 7.4), pDread = 7.530, 37 °C
HDX time course (min) | 1, 10, 100
HDX control samples | NA
# of Peptides | 62 | 62 | 62 | 62 | 62
Sequence coverage | 96.4% | 96.4% | 96.4% | 96.4% | 96.4%
Average peptide length / Redundancy | 11.71/2.70 | 11.71/2.70 | 11.71/2.70 | 11.71/2.70 | 11.71/2.70
Replicates (biological or technical) | 6 (biological and technical) | 3 (technical) | 3 (technical) | 3 (technical) | 3 (technical)
Repeatability (average standard deviation) | 0.083 | 0.077 | 0.063 | 0.074 | 0.084
Significant differences in HDX (delta HDX > X D) | 0.5 D (99% CI)
Data Set | RBD(O2) | RBD(O2)+LSI-CoV-014 | RBD(O2)+LSI-CoV-015 | RBD(O2)+LSI-CoV-016 | RBD(O2)+ACE2
HDX reaction details | 10 mM PBS (pH 7.4), pDread = 7.530, 37 °C
HDX time course (min) | 1, 10, 100
HDX control samples | NA
# of Peptides | 66 | 66 | 66 | 65 | 66
Sequence coverage | 92.47% | 92.47% | 92.47% | 87.8% | 92.47%
Average peptide length / Redundancy | 12.76/3.26 | 12.76/3.26 | 12.76/3.26 | 12.75/3.38 | 12.77/3.27
Replicates (biological or technical) | 6 (biological and technical) | 3 (technical) | 3 (technical) | 3 (technical) | 3 (technical)
Repeatability (average standard deviation) | 0.048 | 0.049 | 0.053 | 0.043 | 0.059
Significant differences in HDX (delta HDX > X D) | 0.5 D (99% CI)
Data Set | Spike(Delta) | Spike(D)+LSI-CoV-014 | Spike(D)+LSI-CoV-015 | Spike(D)+LSI-CoV-016 | Spike(D)+CoVA2-04 | Spike(D)+ACE2 | Spike(D)+5A6
HDX reaction details | 10 mM PBS (pH 7.4), pDread = 7.530, 37 °C
HDX time course (min) | 1, 10, 100
HDX control samples | NA
# of Peptides | 177 | 177 | 177 | 171 | 163 | 164 | 172
Sequence coverage | 79.2% | 79.2% | 79.2% | 79.2% | 75.7% | 76.6% | 77.69%
Average peptide length / Redundancy | 12.40/2.18 | 12.40/2.18 | 12.40/2.18 | 12.39/2.12 | 12.34/2.10 | 12.29/2.08 | 12.33/2.16
Replicates (biological or technical) | 6 (biological and technical) | 3 (technical) | 3 (technical) | 3 (technical) | 3 (technical) | 3 (technical) | 3 (technical)
Repeatability (average standard deviation) | 0.074 | 0.062 | 0.069 | 0.079 | 0.063 | 0.076 | 0.064
Significant differences in HDX (delta HDX > X D) | 0.5 D (99% CI)
Data Set | Spike(O2) | Spike(O2)+LSI-CoV-014 | Spike(O2)+LSI-CoV-015 | Spike(O2)+LSI-CoV-016 | Spike(O2)+ACE2
HDX reaction details | 10 mM PBS (pH 7.4), pDread = 7.530, 37 °C
HDX time course (min) | 1, 10, 100
HDX control samples | NA
# of Peptides | 253 | 253 | 252 | 253 | 253
Sequence coverage | 86.2% | 86.2% | 85.3% | 85.8% | 85.8%
Average peptide length / Redundancy | 12.98/3.03 | 12.98/3.03 | 12.96/3.03 | 12.98/3.03 | 12.98/3.03
Replicates (biological or technical) | 6 (biological and technical) | 3 (technical) | 3 (technical) | 3 (technical) | 3 (technical)
Repeatability (average standard deviation) | 0.097 | 0.07 | 0.069 | 0.056 | 0.079
Significant differences in HDX (delta HDX > X D) | 0.5 D (99% CI)