Supplementary table 1. Laboratory methods

| Analyte | Test | Instrument | Comment |
| --- | --- | --- | --- |
| Complete Blood Count | Whole blood collected and analysed on the day of visit | Beckman Coulter analyser (AC.T diffTM Analyzer, Miami, Florida, USA). | - |
| Glucose | Glucose oxidase (GOD)- Peroxidase) POD. | Spectrum; Abbott, (Irving, TX). | · Between-batch coefficients of variation for all the assays were <3% in the normal range |
| Insulin | ELISA (Mercodia AB, SE-754 50, Uppsala, Sweden). | Mercodia AB , Uppsala, Sweden. | · Intra- and inter-assay CV <7% |
| Vitamin B12 | Microbiological assay on plasma using a colistin sulfate-resistant strain of L. Leichmanii | - | · This is our standard research assay. |
|  |  |  | · Sensitivity: 50 pmol/L |
|  |  |  | · CV: <8% |
|  |  |  | · Antibiotic treatment interferes with this assay. |
|  | Electro Chemiluminescence Immuno Assay (ECLIA) on plasma | Cobas e-411 analyzer, ROCHE diagnostics GmbH, Sandhofer Strasse 116, Mannheim, Germany | · We used this assay because women undergoing caesarean section received antibiotics before delivery which interferes with microbial assay. |
|  |  |  | · Correlation coefficient with Microbiological assay r = 0.958 by paired t-test |
|  |  |  | · Sensitivity: 62 pmol/L |
|  |  |  | · CV: 7% |
| Holo-TC (Holo-transcobalamin) | Chemiluminescent microparticle immunoassay (CMIA) on plasma, using anti-holotranscobalamin coated paramagnetic microparticles | ARCHITECT (ABBOTT-GmbH &amp; Co. KG Max-Planck-Ring2 65205 Wiesbaden Germany +49-6122-580) | · Sensitivity: <= 5.0 pmol/L |
|  |  |  | · CV: <= 8.5 % |
| Folate | Microbiological assay on plasma using a chloramphenicol-resistant strain of L. Casei | - | · Sensitivity: 3nmol/L |
|  |  |  | · CV: <8% |
| Total homocysteine | HPLC on plasma | PerkinElmer 200 Series, PerkinElmer, Shelton, CT, USA, using fluorescence detector | · Sensitivity: 3 µmol/L |
|  |  |  | · CV: <4% |
| Cholesterol | Measured using standard enzymatic kits for oxidase peroxidase reaction | Spectrum; Abbott, (Irving, TX). | · Between-batch coefficients of variation for all the assays were <3% in the normal range |
| Triglycerides |  |  |  |
| HDL |  |  |  |