Table 3. Dose rate data, equivalent dose (De) and overdispersion (OD) values, and OSL ages for samples collected from KFR1.

a Includes a cosmic-ray dose rate of 0.045 ± 0.007 Gy/ka. All beta and gamma dose rates were adjusted for an assumed long-term water content of 5 ± 2.5%; measured water contents ranged from 2.4% to 10.4% (mean = 5.3%).

b Beta dose rates were calculated using a Risø GM-25-5 multi-counter system, measuring dried, homogenised powdered sediment samples.

c Gamma dose rates were calculated using elemental concentrations of U and Th (estimated using thick source alpha counting) and K (estimated using inductively coupled plasma optical emission spectroscopy). Gamma dose rates were directly measured, using a field gamma spectrometer, for samples indicated with an asterisk.

d Includes an assumed internal quartz alpha dose rate of 0.033 ± 0.008 Gy/ka.

e The number of grains used for final De determination / the total number of grains measured.

f De determination for most grains was done following a conventional approach (Approach A) where the sensitivity-corrected natural signal (Ln/Tn) is projected onto the dose response curve for each grain to obtain a distribution of De values, or the ‘LnTn method’ of Li et al. (2016, 2020) (Approach B) where the distribution of re-normalised Ln/Tn ratios are analysed and combined, with the combined value projected onto a standardised dose response curve (SGC) to obtain a single De value.  All data analyses for De determination were undertaken in R (R Core Team, 2020) using packages numOSL (Peng et al. 2013; Peng & Li 2017) and Luminescence (Kreutzer et al. 2012; Kreutzer et al. 2021).

g OD values calculated using the CAM. Values in brackets represent the OD used for either the FMM or calculated after rejection of outliers using nMAD.

h FMM components comprising less than 10% of the accepted grains are not listed.

i Values highlighted in bold represent the age for the main De component, when clearly distinguishable (i.e., representing >60% of the accepted grains).

Table 4. Phytolith morphotype classifications and concentrations (per gram of sediment) for sediment samples and units, including indices and proportions for ecologically significant taxonomic groups.