Supporting information for
Simultaneous Monitoring of ppmv Level Methane and ppbv Level VOCs Near Industrial Sources Using a Real-Time GC 
Rih-Sheng Jian1, Junn-An Chu1, Lung-Yu Song2, Ei-Wen Lo3, Chia-Jung Lu1*  
1Department of Chemistry, National Taiwan Normal University, Taipei, Taiwan

2Green Energy and Environment Research Laboratories, Industrial Technology Research Institute, Hsinchu, Taiwan
3Department of Occupational Safety and Health, China Medical University, Taichung, Taiwan
Full view of real-time GC-FID instrument
[image: image1.emf]Touch screen

FID

Column

Sample inlet

Pump

Auxiliary 

gas inlet

Control

circuitry

Touch screen

FID

Column

Sample inlet

Pump

Auxiliary 

gas inlet

Control

circuitry


Fig. S1. Full view of real-time GC-FID instrument shows additional parts.
1 ppmv toluene loop injection test
[image: image2.emf]0.0214

0.0218

0.0222

0.0226

0.0230

0.0234

0 200 400 600 800 1000

Time (sec)

FID (V)

620 640 660 680

0.0214

0.0218

0.0222

0.0226

0.0230

0.0234

0 200 400 600 800 1000

Time (sec)

FID (V)

620 640 660 680


Fig. S2. Chromatographic signal of 1 ppmv toluene injected using 0.5 mL sampling loop (i.e., by-pass preconcentrator). The S/N ratio is estimated to be 30.4 which exceeds the limit of quantification (LOQ) is S/N = 10. This portable GC might be able to quantify the concentration of toluene slightly below 1 ppmv without preconcentration, but it is approaching its lower limit already.
Additional VOCs found during field study


These following VOCs were detected during field study. They only appeared occasionally in very low concentration. Therefore, they are not discussed in text.  

[image: image3.emf]hexane

0.7

1.0

1.2

1.5

1.7

2018/10/23 15:502018/10/23 17:272018/10/23 19:052018/10/23 20:422018/10/23 22:192018/10/23 23:572018/10/24 01:342018/10/24 03:112018/10/24 08:412018/10/24 10:182018/10/24 11:552018/10/24 13:332018/10/24 15:102018/10/24 16:472018/10/24 18:252018/10/24 20:052018/10/24 21:422018/10/24 23:192018/10/25 00:572018/10/25 02:342018/10/25 04:122018/10/25 05:492018/10/25 07:262018/10/25 09:042018/10/25 10:41

Conc. (ppb)


Fig. S3. Real-time concentration results of hexane during field study.
[image: image4.emf]ethylbenzene

1.0

1.2

1.4

1.6

1.8

2018/10/23 15:502018/10/23 17:272018/10/23 19:052018/10/23 20:422018/10/23 22:192018/10/23 23:572018/10/24 01:342018/10/24 03:112018/10/24 08:412018/10/24 10:182018/10/24 11:552018/10/24 13:332018/10/24 15:102018/10/24 16:472018/10/24 18:252018/10/24 20:052018/10/24 21:422018/10/24 23:192018/10/25 00:572018/10/25 02:342018/10/25 04:122018/10/25 05:492018/10/25 07:262018/10/25 09:042018/10/25 10:41

Conc. (ppb)


Fig. S4. Real-time concentration results of ethylbenzene during field study.

[image: image5.emf]styrene

1.5

2.3

3.1

3.9

4.7

2018/10/23 15:502018/10/23 17:272018/10/23 19:052018/10/23 20:422018/10/23 22:192018/10/23 23:572018/10/24 01:342018/10/24 03:112018/10/24 08:412018/10/24 10:182018/10/24 11:552018/10/24 13:332018/10/24 15:102018/10/24 16:472018/10/24 18:252018/10/24 20:052018/10/24 21:422018/10/24 23:192018/10/25 00:572018/10/25 02:342018/10/25 04:122018/10/25 05:492018/10/25 07:262018/10/25 09:042018/10/25 10:41

Conc. (ppb)


Fig. S5. Real-time concentration results of styrene during field study.

