## Sheet1
Supplementary data - HDX MS - Sample preparation and analysis methods and parameters
Sample preparation |  | Leap HDX Automation manager method
| concentration | deuteration
EPAC1 (µM) | 15 | sample (µL) | 3
cAMP (mM) | 4.5 | deuterium buffer (µL) | 57
total lipids (mM) | 3.125 | temperature (°C) | 20
quench
| concentration | deuterated sample (µL) | 55
EPAC1 (µM) | 15 | quench buffer (µL) | 55
|  | temperature (°C) | 1
injection
Deuteration |  | dispense (µL) | 80
Time (min) | 0.5
1
2
5
15
buffer composition (mM)
HEPES | 50
NaCl | 150
MgCl2 | 2
β-mercaptoethanol | 2
cAMP | 4.5
Quench
Time (sec) | 30
buffer composition (mM)
Guanidine H-Cl | 4000
Glycine | 150
Digestion and chromatographic method, HDX manager |  | MS and MS/MS parameters | Synapt HDMS G2-Si
injection |  | m/z range (m/z) | 50 to 2000
loading loop (µL) | 50 | sampling cone
digestion |  | voltage (V) | 40
trapping flow rate (µL/min) | 100 | temperature (°C) | 80
immobilized enzyme | pepsin | flow (L/h) | 90
reference: Enzymate pepsin column, 300 Å, 5 µm, 2.1 mm I.D. × 30 mm, Waters, Manchester, UK |  | capillary voltage (kV) | 3
desolvation gas
|  | temperature (°C) | 150
time (min) | 3 | flow (L/h) | 600
composition | H2O, 0.1% HCOOH | MS/MS acquisition | MSE
temperature (°C) | 20 | trap collision energy (eV)
chromatography |  | low | 15
solvent A composition | H2O, 0.1% HCOOH | high | 40
solvent B composition | ACN, 0.1% HCOOH | scan time (sec) | 0.3
pre-column reference : ACQUITY UPLC BEH C18 Van-Guard pre-column, 2.1 mm I.D. x 5 mm, 1.7 µM particle diameter, Waters |  | ion mobility cell (IMS)
|  | velocity (m/s) | 650
|  | height (V) | 40
column reference: ACQUITY UPLC BEH C18, 1.0 mm I.D. x 100 mm, 1.7 µM particle diameter, Waters |  | flow (L/h) | 90
|  | analyzer | resolution mode
|  | polarity | ion positive
flow rate (µL/min) | 40 | mass calibration
temperature (°C) | 0.1 | glufibrino peptide (Da) | 785.8426
gradient (min; %B)
0 | 5
7 | 40
7.5 | 85
11 | 85
12 | 5
Peptide identification | PLGS 2.5.3
database | EPAC1 and pepsin sequences
variable modification | methionine oxidation
digestion | non specific
search type | Electrospray-MSE
False positive rate | 100
max protein mass | 250000
min fragment ion matches per peptide | 3
min fragment ion matches per protein | 7
min peptide matches per protein | 1
Deuteration treatment | DynamX 3.0
minimum intensity | 1000
min products per amino acid | 0.3
file threshold | 6
isotope searching
retention tolerance (min) | 0.5
mass tolerance (ppm) | 25
isotope clustering
clustering retention multiplier | 0.78
clustering mobility multiplier | 0.78
raw analysis
Lock mass (Da) | 785.8426
Lock mass window (Da) | 0.25
Low energy threshold | 130
manually curated data: one charge state selected for each peptides, verification of isotope profiles and assignment of profiles not assigned by the software according to the m/z values