Bifunctional circular DNA amplifier transforms a classic CRISPR/Cas sensor into an ultrasensitive autocatalytic sensor

Fei Deng a,b,*, Rui Sang a,b, Yi Li a,b,*, Wei Deng c, Ewa M. Goldys a,b,*

a Graduate School of Biomedical Engineering, Faculty of Engineering, University of New South Wales, Sydney 2052, Australia

b ARC Centre of Excellence for Nanoscale Biophotonics, University of New South Wales, Sydney 2052, Australia

c School of Biomedical Engineering, University of Technology Sydney, Sydney, NSW, 2007, Australia

* Correspondence: e.goldys@unsw.edu.au; yi.li6@unsw.edu.au; fei.deng@unsw.edu.au

List of abbreviations

| DANCER | DNA amplifier enhanced CRISPR/Cas autocatalytic sensor |
| --- | --- |
| RNP | ribonucleoprotein |
| gRNA | guiding RNA or presenting the crRNA (CRISPR RNA), sgRNA (single guiding RNA) |
| target-C | target DNA for classic CRISPR/Cas12a sensor |
| gRNA-C | gRNA for classic CRISPR/Cas12a sensor |
| target-D | target DNA for DANCER |
| gRNA-D | gRNA for DANCER |
| ctDNA | circulating tumor DNA |
| gRNA-ct | gRNA for ctDNA detection sensor |
| ssDNA dsDNA | single strand DNA double strand DNA |
| c-DNA | Complementary DNA |
| Cir-ssDNA | circular single strand DNA |
| Cir-amplifier | a circular DNA comprising a dsDNA section and a ssDNA section which was created by a fluorescent labelled cDNA bound to a circular ssDNA |
| CRC-mouse | mice bearing with human colorectal cancer |
| LFA | Lateral flow assay |
| PCR | Polymerase Chain Reaction |
| RPA | Recombinase polymerase amplification |
| LAMP | Loop-mediated isothermal amplification |
| SERS | Surface-enhanced Raman spectroscopy |
| LOD | Limit of detection |

Supplementary methods

Method S1. Materials

Chemicals and biological reagents: EnGen® Lba Cas12a (Cpf1) protein (New England Biolab), 10X NEB 2.1 buffer (New England Biolab), exonuclease VII (New England Biolab), SYBR Gold DNA dye (ThermoFisher), 10 bp DNA ladder (ThermoFisher), 6X DNA loading dye (ThermoFisher), copper sulfate (CuSO4) (Sigma, 209198), Tris(2-carboxyethyl) phosphine (TCEP) (Sigma, C4706), tris(benzyltriazolylmethyl) amine (TBTA) (ChemSupply, T2993), streptavidin coated magnetic particles (Spherotech, SVM-08-10), DNase/RNase free water (ThermoFisher), phosphate buffered saline (PBS) (Sigma, 10 mM, pH=7.4), and HybriDetect – Universal Lateral Flow Assay Kit (Milenia biotec).

All DNA and RNA oligos are synthesized and modified by Sangon Bio-Tech Ltd.

Method S2. Investigation of the ssDNA linker length in Cir-amplifier.

To investigate the ssDNA linker length in Cir-amplifier, we conducted the following two step experiments. In the first step, the reaction mixture was prepared as follows:  1 µL 100 µM (100 pmol) of Cas12a protein was gently mixed with 5 µL 20 µM (100 pmol) of classic-gRNA in 3.6 mL 1X NEB 2.1 buffer. Then, 180 µL of 5 µM (0.9 nmol) of Cir-amplifier with different linker length were added and well mixed to form the reaction mixture. Afterwards, 10 µL 0.25 µM of the target-C ssDNA was added into 90 µL of the prepared CRISPR/Cas12a reaction mixture for activating trans-cleavage of Cas12a and cleaving Cir-amplifiers to linearized Cir-amplifiers. After one hour incubation at room temperature, the reaction mixture was collected for further use. To eliminate the influence of activated Cas12a RNPs from step 1, the reaction mixture was heated to 65 ℃ for 10 min to deactivate all the Cas12a RNPs from step 1. This ensures that only linearized Cir-amplifier will be the active trigger for downstream step 2 biosensing system.

In the second step, the reaction mixture was prepared as follows: 1 µL 100 µM (100 pmol) of Cas12a protein was gently mixed with 5 µL 20 µM (100 pmol) of amplifier-gRNA in 3.6 mL 1X NEB 2.1 buffer. Then, 6 µL of 100 µM (0.6 nmol) of pre-synthesized fluorescent quenched ssDNA reporters (Texas red-TTATT-BHQ2) were added and well mixed to form the reaction mixture. Subsequently, 10 µL of prepared reaction mixture from step 1 (25 nM) was added to 90 µL CRISPR/Cas12a reaction mixture prepared in step 2 and incubated for 120min. A SpectraMax iD5 multi-Mode Microplate Reader (Molecular Devices) was applied for the detection of fluorescence readout. The Ex/Em of Texas red-TTATT-BHQ2 reporter was 570/615 nm.

Method S3. The evaluation and biosensing application of two Cas12a RNP based autocatalysis biosensing system (DANCER-2)

The two Cas12a RNP based autocatalysis reaction mixture was prepared as follows: 1 µL 100 µM (100 pmol) of Cas12a protein was gently mixed with 5 µL 20 µM (100 pmol) of classic-gRNA to form the Cas12a RNP-1. In the meanwhile, 1 µL 100 µM (100 pmol) of Cas12a protein was gently mixed with 5 µL 20 µM (100 pmol) of D-gRNA to form the Cas12a RNP-2. Afterwards, the prepared Cas12a RNP-1 and Cas12a RNP-2 were mixed with 200 µL of 5 µM (1 nmol) of Cir-amplifiers in 5 mL 1X NEB 2.1 buffer to form the standard reaction mixture.

Afterwards, 10 µL of target-C ssDNA at different concentrations were added to 90 µL of the prepared reaction mixture for activating trans-cleavage of Cas12a and enabling the CRISPR/Cas biosensing reaction. A SpectraMax iD5 multi-Mode Microplate Reader (Molecular Devices) was applied for the detection of fluorescence readout.

Supplementary Note (Kinetics)

In order to understand the kinetics of the Cir-amplifier system discussed here, we extend and adapt the model outlined in Ref 1, broadly following their notation to facilitate comparisons. In this approach Briggs-Haldane approximation is used.

We denote:

U0 - initial concentration of supplied RNPs,

U- concentration of inactive Cas RNPs

E - total concentration of activated RNPs which are not complexed with reaction intermediates,

[ET] – total concentration of activated RNPs,

T - concentration of targets,

[Scir] - concentration of Cir-amplifiers in their circular form

[Pcir] - concentration of linearised (cleaved) Cir-amplifiers

Ccir - concentration of reaction intermediates – activated RNP and Cir-amplifier complexes (Cir-amplifiers in their circular, uncleaved form),

The species conservation conditions and their meaning are as follows:

ET=E+[Ccir]       	concentration of total activated RNPs = concentration of total activated uncomplexed RNPs + concentration of the reaction intermediates).

U0=U+ [ET]	 initial concentration of RNPs = sum of inactive and active RNPs

Ccir+Scir+Pcir=Scir0  	Cir-amplifiers complexed with RNPs + uncleaved Cir-amplifiers in their circular form + cleaved (linearised) Cir-amplifiers = initial concentration of supplied Cir-amplifiers in their circular form.

The initial conditions are:

[ET]0=0  -  initial concentrations of activated RNPs expressing no initial RNP activation,

U0 - initial concentration of RNPs,

Scir0- initial concentration of Cir-amplifiers in their circular form,

Pcir0 = 0 - initial concentration of linearised (cleaved) Cir-amplifiers,

We also denote:

Ccir0 - a constant describing the concentration of the reaction intermediate for RNPs with uncleaved Cir-amplifiers according to the Briggs-Haldane approximation.

The reactions describing the activation of the RNPs can be modelled as:

U+T+Pcir ↔ET  with bimolecular association and dissociation rate constants  kon, koff

The rate equation for RNP activation is:

d[ET]dt= konU(T+Pcir)- koffET							/1/

The catalytic reaction of Cir-amplifier cleavage (linearisation) is modelled as:

(kf,kr)        (kcat)

E+Scir    ↔    Ccir      →  E+Pcir            /4/

Here, (kf,kr) are bimolecular association and dissociation rate constants for the reaction between activated RNP and Cir-amplifier in circular form, while  kcat is the cleavage rate of Cir-amplifier.

The Cir-amplifier system is described by the following system of nonlinear differential equations:

The “catalysis” equation is:

dEdt= - kfEScir+(kr+kcat)Ccir				/6/

The “substrate” equation is, correspondingly:

dScirdt= - kfEScir+ krCcir								/8/

The “intermediate” equation describing how the reaction intermediates are formed is given by:

dCcirdt=  kfEScir- (kr+kcat)Ccir							/10/

The “product” equation is:

dPcirdt= kcatCcir										/12/

These equations, together with species conservation conditions and initial conditions, allow to predict all relevant concentrations in this problem.

In the below the cleaved reporter rate dPcirdt is referred to as the “experimental observable”.

Result 1: The experimental observable reflects the concentration of activated RNPs in the Briggs-Haldane approximation.

Derivation:

We first apply the standard approximation (Briggs -Haldane) to the Cir-amplifier. This approximation says that the concentration of reaction intermediates is constant (Ccir= const)

From Equation /10/ we then get

dCcirdt=0=  kfEScir- (kr+kcat)Ccir

Hence

kfEScir= (kr+kcat)Ccir

This leads to the Michaelis-Menten equation, in the following way. We substitute in the above equation

E= ET-Ccir

kf(ET-Ccir)Scir= (kr+kcat)Ccir

This gives

Ccir= kfETScir(kr+ kcat+ kfScir=

Hence from Equation /16/ the rate d(Pcir)dtcan be expressed as:

d(Pcir)dt= kcat(Ccir)= kcatkfETScir(kr+ kcat+ kfScir

which can be expressed using the Michaelis-Menten constant KM=(kr+ kcat)kf  as

d(Pcir)dt=  kcatET[Scir]KM+ [Scir]

which is very similar to a standard Michaelis-Menten equation except that ET varies over the course of the reaction.

Result 2: When the RNPs and Cir-amplifiers are sufficiently abundant and do not get depleted, the experimental observable increase approximately exponentially.

Derivation: The condition that Cir-amplifiers are sufficiently abundant means that Scir= Scir0, and we are also assuming here that Scir0 ≫T.  Sufficiently abundant RNPs means that Ucir can be approximated by Ucir0.We will assume that  Scir0   and E  are comparable and that the Briggs-Haldane approximation is also applicable to Cir-amplifier, so Ccir= const.

d(Pcir)dt=  kcatET[Scir]KM+ [Scir] = kcatETScir0KM+ Scir0=

Hence, in order to evaluate the experimental observable, we need to evaluate ET.

The relevant activation equation in our approximation where we have many more Cir-amplifiers than targets is  derived from Equation /1/ as:

dETdt=  konUcir0Pcir  - koffET					/19/

Combining Equation /12/ with Equation /10/ where dCcirdt=0 we get in our regime and after the application of Briggs-Haldane approximation:

dPcirdt=  kcatkfEScir0kr+kcat =kcatkf Scir0kr+kcat *(ET- Ccir0)		/20/

Equations /19/ and /20/ have the form:

dETdt= pPcir-koffET						/21/

dPcirdt=q(ET- Ccir0)						/22/

where p= kon Ucir0  and
q= kcatkfScir0kr+kcat

From Equations /21/ and /22/ we get:

d2ETdt2+koffdETdt-pqET+pqCcir0=0                        /23/

The solution of Equation /23/ is a sum of a general solution of a homogeneous equation and a specific solution of an inhomogeneous equation. We can guess that specific solution by noticing that a constant Es can satisfy the inhomogeneous equation as long as:

-pqEs+pqCcir0=0

so

Es=Ccir0

Consequently,

ET=Aexp(λ1t)+B exp(λ2t)+Ccir0	/24/

where λ1=-koff+ koff2+4pq2  and  λ2=-koff- koff2+4pq2 and  A,B are constants obtained from the initial conditions ( ET0=0, and dETdt0=0).

We can use Equation /18/ to express the experimental observable:

dPcirdt= kcatET[Scir]KM+[Scir]=

=  kcat[Scir](KM+Scir) * Aexp(λ1t)+B exp(λ2t)+Ccir0 	/25/

Hence at increasing times under the above experimental conditions we should observe the fluorescence rates increasing approximately exponentially. The fluorescence signal is proportional to the integral of fluorescence rate. Exponentially increasing rate produces a signal exponentially increasing with time.

At increasing times, the solution is dominated by the term exp(λ1t) .The exponent λ1 can be experimentally controlled via pq, which is a product of various molecular constants and Scir0Ucir0. Correspondingly, to maximise the reaction rate in the reaction mixture, the concentration of enzyme and substrate should be maximised, while making sure that the substrate is not depleted.

Supplementary Figures

Figure S1. Standard calibration curve for the calculation of Cir-ssDNA concentration using Nanodrop (ThermoFisher) (Method 1).

Figure S2. Evaluation of Cir-amplifier as fluorescent reporters in a classic CRISPR/Cas12a biosensing system (Method 2). (a) Comparison of the biosensing performance of Cir-amplifier and ssDNA reporter in a classic CRISPR/Cas12a biosensing system; (b) Comparison of the biosensing performance of Cir-amplifier at RT and 37℃.

Figure S3. Investigation of the ssDNA linker length in the Cir-amplifier (Method S2).

Figure S4. The calibration curve of a classic CRISPR/Cas12a biosensing system (Method 2).

Figure S5. The development of Cir-amplifier assisted autocatalysis biosensing system using two different types of Cas12a RNPs (DANCER-2) (Method S3). (a) The schematic for the development of DANCER-2; (b) The investigation of Cas12a RNP1 and RNP2 ratio (Cir-amplifier 200 nM, and 1 pM target-C); (c) The amplified signals of Cas12a RNP1-RNP2 biosensing system (Cir-amplifier 200 nM, and 1 pM target-C); (d) The comparison of DANCER-2 (two Cas12a RNPs) and DANCER (One Cas12a RNP); (e) The limit of detection of DANCER-2.

Supplementary Tables

Table S1. DNA and RNA oligos used in Fig. 2 & Fig. S1.

| Name | Oligo type | Sequence 5’-3’ | Modification |
| --- | --- | --- | --- |
| Cir-ssDNA-19nt | ssDNA | T CTA /iBio-dT/GT GCT ATG TCT AAA | 5’-Azide (N3); 3’-CHCH |

Table S2. DNA and RNA oligos used in Fig. 3 & Fig. S2.

| Name | Oligo type | Sequence 5’-3’ | Modification |
| --- | --- | --- | --- |
| 18nt cDNA | ssDNA | TTT AGA CAT AGC ACA TAG | 5’-Texa Red; 3’-BHQ2 |
| Cir-ssDNA-18nt (L-0) | ssDNA | CTA /iBio-dT/GT GCT ATG TCT AAA | 5’-Azide (N3); 3’-CHCH |
| Cir-ssDNA-19nt (L-1) | ssDNA | T CTA /iBio-dT/GT GCT ATG TCT AAA | 5’-Azide (N3); 3’-CHCH |
| Cir-ssDNA-21nt (L-3) | ssDNA | TTT CTA /iBio-dT/GT GCT ATG TCT AAA | 5’-Azide (N3); 3’-CHCH |
| Cir-ssDNA-23nt (L-5) | ssDNA | TT TTT CTA /iBio-dT/GT GCT ATG TCT AAA | 5’-Azide (N3); 3’-CHCH |
| Cir-ssDNA-25nt (L-7) | ssDNA | T TTT TTT CTA /iBio-dT/GT GCT ATG TCT AAA | 5’-Azide (N3); 3’-CHCH |
| target-C | ssDNA | GAA GAC ACC CTA CCA ACC CCC CCC | N/A |
| gRNA-C | ssRNA | UAA UUU CUA CUA AGU GUA GAU GGG GGG GGU UGG UAG GGU GUC | N/A |
| ssDNA reporter | ssDNA | TTATT | 5’-Texa Red; 3’-BHQ2 |

Table S3. DNA and RNA oligos used in Fig. 4b.

| Name | Oligo type | Sequence 5’-3’ | Modification |
| --- | --- | --- | --- |
| 25nt cDNA | ssDNA | TTT AGA CAT AGC ACA TAG ACT GAG A | N/A |
| Cir-ssDNA-28nt | ssDNA | TTT TCT CAG TCT A/iBio-dT/G TGC TAT GTC TAA A | 5’-Azide (N3); 3’-CHCH |
| 21nt cDNA | ssDNA | TTT AGA CAT AGC ACA TAG ACT | N/A |
| Cir-ssDNA-24nt | ssDNA | TTT AGT CTA /iBio-dT/GT GCT ATG TCT AAA | 5’-Azide (N3); 3’-CHCH |
| 18nt cDNA | ssDNA | TTT AGA CAT AGC ACA TAG | N/A |
| Cir-ssDNA-21nt | ssDNA | TTT CTA /iBio-dT/GT GCT ATG TCT AAA | 5’-Azide (N3); 3’-CHCH |
| 15nt cDNA | ssDNA | TTT AGA CAT AGC ACA | N/A |
| Cir-ssDNA-18nt | ssDNA | TTT /iBio-dT/GT GCT ATG TCT AAA | 5’-Azide (N3); 3’-CHCH |
| target-D | ssDNA | TCT CAG TCT ATG TGC TAT GTC | N/A |
| gRNA-D | ssRNA | UAA UUU CUA CUA AGU GUA GAU GAC AUA GCA CAU AGA CUG AGA | N/A |
| ssDNA reporter | ssDNA | TTATT | 5’-Texa Red; 3’-BHQ2 |

Table S4. DNA and RNA oligos used in Fig. 4c & Fig. S3.

| Name | Oligo type | Sequence 5’-3’ | Modification |
| --- | --- | --- | --- |
| 18nt cDNA | ssDNA | TTT AGA CAT AGC ACA TAG | N/A |
| Cir-ssDNA-18nt (L-0) | ssDNA | CTA /iBio-dT/GT GCT ATG TCT AAA | 5’-Azide (N3); 3’-CHCH |
| Cir-ssDNA-19nt (L-1) | ssDNA | T CTA /iBio-dT/GT GCT ATG TCT AAA | 5’-Azide (N3); 3’-CHCH |
| Cir-ssDNA-20nt (L-2) | ssDNA | TT CTA /iBio-dT/GT GCT ATG TCT AAA | 5’-Azide (N3); 3’-CHCH |
| Cir-ssDNA-21nt (L-3) | ssDNA | TTT CTA /iBio-dT/GT GCT ATG TCT AAA | 5’-Azide (N3); 3’-CHCH |
| Cir-ssDNA-23nt (L-5) | ssDNA | TT TTT CTA /iBio-dT/GT GCT ATG TCT AAA | 5’-Azide (N3); 3’-CHCH |
| Cir-ssDNA-25nt (L-7) | ssDNA | T TTT TTT CTA /iBio-dT/GT GCT ATG TCT AAA | 5’-Azide (N3); 3’-CHCH |
| Cir-ssDNA-28nt (L-10) | ssDNA | T TTT TTT TTT CTA /iBio-dT/GT GCT ATG TCT AAA | 5’-Azide (N3); 3’-CHCH |

Table S5. DNA and RNA oligos used in Fig. 5 & Fig. S5

| Name | Oligo type | Sequence 5’-3’ | Modification |
| --- | --- | --- | --- |
| target-D | ssDNA | TCT CAG TCT ATG TGC TAT GTC | N/A |
| gRNA-D | ssRNA | UAA UUU CUA CUA AGU GUA GAU GAC AUA GCA CAU AGA CUG AGA | N/A |
| 18nt cDNA | ssDNA | TTT AGA CAT AGC ACA TAG | 5’-Texa Red; 3’-BHQ2 |
| Cir-ssDNA-21nt | ssDNA | TTT CTA /iBio-dT/GT GCT ATG TCT AAA | 5’-Azide (N3); 3’-CHCH |
| target-C | ssDNA | GAA GAC ACC CTA CCA ACC CCC CCC | N/A |
| gRNA-C | ssRNA | UAA UUU CUA CUA AGU GUA GAU GGG GGG GGU UGG UAG GGU GUC | N/A |
| ssDNA reporter | ssDNA | TTATT | 5’-Texa Red; 3’-BHQ2 |

Table S6. DNA and RNA oligos used in Fig. 6

| Name | Oligo type | Sequence 5’-3’ | Modification |
| --- | --- | --- | --- |
| ctDNA2 | ssDNA | CTC AGT GAT TTT AGA GAG AGG AT | N/A |
| gRNA-ct | ssRNA | UAA UUU CUA CUA AGU GUA GAU CCU CUC UCU AAA AUC ACU GAG | N/A |
| Cir-ssDNA | ssDNA | TTT A/iBio-dT/T TTA GAG AGA GGT AAA | 5’-Azide (N3); 3’-CHCH |
| cDNA | ssDNA | TTT ACC TCT CTC TAA AAT | 5’-Texa Red; 3’-BHQ2 |
| cDNA-extend | ssDNA | TTT ACC TCT CTC TAA AAT CCC CC | 5’-FAM; 3’-Biotin |
| ssDNA reporter | ssDNA | TTATT | 5’-Texa Red; 3’-BHQ2 |

References:

1	Ramachandran, A. & Santiago, J. G. CRISPR enzyme kinetics for molecular diagnostics. Analytical chemistry 93, 7456-7464 (2021).

2	Zhou, M. et al. Spherical nucleic acid reporter-based cascade CRISPR/Cas12a amplifier for stable and sensitive biosensing of circulating tumor DNA. Chemical Communications 58, 4508-4511 (2022).