# Application of multi-criteria group decision-making for water quality management

Amin Karbasi Ahvazi a,*, Taghi Ebadi a Mahdi Zarghami b, Seyed Hossein Hashemi c

a Department of Civil and Environmental Engineering, Amirkabir University of Technology, Tehran, Iran

b Faculty of Civil Engineering, University of Tabriz, Tabriz, Iran

*Corresponding author:

Email: amink96@aut.ac.ir

ORCID iD: 0009-0006-4847-2148

c Environmental Sciences Research Institute, Shahid Beheshti University, Tehran, Iran

Water Resources Management

# 1. Appendix

Table 1. Effluent quality and treatment levels classification (Huang 1980)

| Treatment Level | Definition |
| --- | --- |
| Secondary | BOD5: 25-30 mg/l |
| Advanced secondary | BOD5: 11-24 mg/l |
| Advanced | BOD5<10 mg/l |
| Nitrification | NH3<5 mg/l |

Table 2. The results of the criteria weighting questionnaire

| Decision-maker | Water quality | Construction costs | Operation and maintenance costs | Ease of implementation | Social acceptance |
| --- | --- | --- | --- | --- | --- |
| 1 | Very high | High | Medium high | Medium high | High |
| 2 | Very high | Medium high | Medium | Medium | Very high |
| 3 | High | Very high | Very high | Medium high | Medium |
| 4 | High | High | Very high | Medium high | Very high |
| 5 | High | Medium high | Medium | High | Very high |
| 6 | Very high | Very high | High | High | Medium |
| 7 | Very high | Very high | Very high | High | High |
| 8 | Medium high | High | Medium high | Medium | Medium |
| 9 | Medium high | High | Very high | High | Medium low |

Table 3. Experts' opinion about the ease of implementation of different wastewater treatment methods

| Decision-maker | Primary treatment | Advanced secondary treatment by AS | Advanced treatment by MBR |
| --- | --- | --- | --- |
| 1 | Very high | Relatively low | Relatively low |
| 2 | Relatively high | Medium | Low |
| 3 | High | High | Relatively low |
| 4 | High | Relatively high | Medium |
| 5 | Relatively high | Medium | Relatively low |
| 6 | Relatively high | Low | Very low |
| 7 | High | Relatively high | Medium |
| 8 | High | Relatively high | Medium |

Table 4. Experts' opinion about the level of satisfaction of the people of the region with different methods of wastewater treatment

| Decision-maker | Without treatment | Primary treatment | Advanced secondary treatment by AS | Advanced treatment by MBR |
| --- | --- | --- | --- | --- |
| 1 | Very low | Relatively high | Very high | Very high |
| 2 | Very low | Low | High | Very high |
| 3 | Very low | Relatively low | High | High |
| 4 | Low | Medium | High | High |
| 5 | Very low | Relatively low | Medium | Very high |
| 6 | Relatively low | Medium | High | High |
| 7 | Low | Relatively low | High | Very high |
| 8 | Low | Medium | High | High |

# 2. References

Huang WH (1980) Construction Costs for Municipal Wastewater Treatment Plants