Supplementary data

Table S1: Some literature data for OXC in tablets and other oral suspension, with/without degradation product and metabolites.

| Column | Flow rate/ Detection limit | Mobile phase | Absorption wavelength | Ref/ used procedure |
| --- | --- | --- | --- | --- |
| Hypersil BDS C18 column (250 mm x 4.6 mm, 5μ) | 2.0 ml/min, 5.0-150 μg/mL | Acetonitrile, methanol and Triethylamine (660:140:200:1) adjusted to pH 6.0 ± 0.05 o-H3PO4. | 215 nm | 7, HPLC |
| Diamonsil C18 column (250 mm x 4.6 mm, 5μ) | 1.0 ml/min, 9.96 to 99.6 μg/mL | acetonitrile, potassium phosphate monobasic buffer (pH 6.8) and water (36:8:56, v/v) | 255 nm | 8, LC |
| Pinnacle DB C18, RESTEK, 100 x 2.1 mm, 1.9 µm | 0.5 mL/min m 2.4 to 3.60 mg mL-1 | water and acetonitrile | 254 nm | 10, UHPLC |
| LiChroCART® Purospher® Star (C18, 3 µm, 55 mm × 4 mm) | 1 mL/min, 0.05-30 μg/mL | water, methanol, and acetonitrile in the ratio 64:30:6 | 237 nm | 11, A reversed-phase HPLC-UV |

Table S2: System suitability parameters of OXC, M.P, P.P and P.ST at 250 nm.

| Parameters | OXC | M.P. | P.P. | P.ST. | Acceptance criteria |
| --- | --- | --- | --- | --- | --- |
| Asymmetry | < 1.35 | < 1.25 | < 1.1 | < 1.4 | ≤ 2 |
| Resolution | > 2.8 | > 3.5 | > 17.4 | *** | > 2 |
| Theoretical plates | >9900 | >11000 | > 16000 | > 8000 | > 2000 |

Table S3: Matrix effect results of OXC in human plasma

| %RSD | %Recovery | Conc. taken (µg/ml) | QC samples |
| --- | --- | --- | --- |
| 1.25 | 97.19 | 15 | Low |
| 1.10 | 96.82 | 25 | Medium |
| 0.88 | 96.25 | 35 | High |

Table S4: Incurred sample reanalysis for estimation of OXC using the proposed method

| Sample | Initial concentration* (µg/ml) ± SD | Incurred concentration* (µg/ml) ± SD | % Deviation |
| --- | --- | --- | --- |
| 1 | 30.50 ± 1.12 | 29.40 ± 1.02 | - 3.60 |
| 2 | 31.80 ± 1.18 | 30.78 ± 1.23 | - 3.20 |
| 3 | 31.12 ± 1.54 | 29.84 ± 1.60 | - 4.11 |

*Mean of three determinations.

Fig. S1: 2D chromatogram of separated injection of placebo, OXC, M.P., P.P. and P.ST.