Supplementary

Methods and samples

Ion Microprobe analyses

The polished samples were mounted on a stainless steel sample holder and examined with SEM prior to the Microprobe analysis. The SIMS-analysis (10 μm lateral beam dimension, 1-2 μm depth dimension) of carbon isotopes in calcite and the microstromatolites was performed on a CAMECA IMS1280 ion microprobe. Data were normalized for instrumental mass fractionation using matrix-matched reference materials which were mounted together with the sample mounts and analysed after every sixth sample analysis. Results are reported as per mil (‰) δ13C based on the PeeDee Belemnite (PDB)-reference value. In total, 18 analyses were made for δ13C (12C/13C) of the sample. The reference material was measured to +0.22±0.40‰.

Table S1. Delta13C values of the Ion Microprobe analyses with an average error of 0.5‰.

| Measuring occasion 1 |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Chosen std | S0161 cc |  |  |  |  |  |  |  |  |
| δ13C (std, ‰) | 0.22 |  |  |  |  |  |  |  |  |
| extl. error (‰, 1SD) | 0.40 |  |  |  |  |  |  |  |  |
| drift corr (‰/run) | 0.021 (linear) |  |  |  |  |  |  |  |  |
| Sample | Seq. in | 12C cps | 12Csamp/av.std | 13C/12C | ± abs | δ13C | ± ‰ | δ13C | ± ‰ |
| ID | run | (x 109) |  | drift corrected |  | samples |  | standards |  |
| S0161_carb_1 | 1 | 0.01 |  | 0.01094308 | 0.00000298 |  |  | -0.35 | 0.48 |
| S0161_carb_2 | 2 | 0.01 |  | 0.01095263 | 0.00000282 |  |  | 0.52 | 0.47 |
| S0161_carb_3 | 3 | 0.01 |  | 0.01094794 | 0.00000289 |  |  | 0.09 | 0.48 |
| Microstromatolite Sample1 | 4 | 0.03 | 2.32 | 0.01065644 | 0.00000329 | -26.54 | 0.49 |  |  |
| Microstromatolite Sample03 | 6 | 0.08 | 5.58 | 0.01052641 | 0.00000851 | -38.42 | 0.87 |  |  |
| Microstromatolite Sample04 | 7 | 0.03 | 1.74 | 0.01074727 | 0.00000366 | -18.24 | 0.51 |  |  |
| Microstromatolite Sample05 | 8 | 0.02 | 1.37 | 0.01079195 | 0.00000241 | -14.16 | 0.45 |  |  |
| Microstromatolite Sample06 | 9 | 0.05 | 3.19 | 0.01061830 | 0.00000237 | -30.02 | 0.44 |  |  |
| S0161_carb_4 | 10 | 0.01 |  | 0.01094659 | 0.00000285 |  |  | -0.03 | 0.47 |
| S0161_carb_5 | 11 | 0.01 |  | 0.01095558 | 0.00000285 |  |  | 0.79 | 0.48 |
| Microstromatolite Sample07 | 12 | 0.04 | 2.98 | 0.01064680 | 0.00000302 | -27.42 | 0.48 |  |  |
| Microstromatolite Sample08 | 13 | 0.04 | 2.90 | 0.01066860 | 0.00000204 | -25.43 | 0.43 |  |  |
| Microstromatolite Sample09 | 14 | 0.07 | 4.71 | 0.01056388 | 0.00000351 | -34.99 | 0.50 |  |  |
| Microstromatolite Sample10 | 15 | 0.07 | 4.71 | 0.01046735 | 0.00000416 | -43.81 | 0.54 |  |  |
| Microstromatolite Sample11 | 16 | 0.03 | 1.96 | 0.01069402 | 0.00000420 | -23.10 | 0.55 |  |  |
| Microstromatolite Sample12 | 17 | 0.02 | 1.20 | 0.01084099 | 0.00000259 | -9.68 | 0.46 |  |  |
| S0161_carb_6 | 18 | 0.01 |  | 0.01095508 | 0.00000414 |  |  | 0.74 | 0.55 |
| S0161_carb_7 | 19 | 0.01 |  | 0.01095039 | 0.00000284 |  |  | 0.32 | 0.47 |
| Microstromatolite Sample13 | 20 | 0.02 | 1.16 | 0.01088330 | 0.00000263 | -5.81 | 0.46 |  |  |
| Microstromatolite Sample14 | 21 | 0.01 | 1.03 | 0.01091047 | 0.00000294 | -3.33 | 0.48 |  |  |
| Microstromatolite Sample15 | 22 | 0.01 | 1.03 | 0.01091155 | 0.00000316 | -3.23 | 0.49 |  |  |
| Microstromatolite Sample16 | 23 | 0.04 | 2.59 | 0.01065612 | 0.00000362 | -26.57 | 0.51 |  |  |
| Microstromatolite Sample17 | 24 | 0.02 | 1.48 | 0.01081246 | 0.00000247 | -12.28 | 0.45 |  |  |
| Microstromatolite Sample18 | 25 | 0.10 | 6.81 | 0.01051433 | 0.00000323 | -39.52 | 0.48 |  |  |
| S0161_carb_8 | 26 | 0.01 |  | 0.01094545 | 0.00000369 |  |  | -0.14 | 0.52 |
| Microstromatolite Sample21 | 29 | 0.02 | 1.12 | 0.01085661 | 0.00000269 | -8.25 | 0.46 |  |  |
| S0161_carb_9 | 30 | 0.01 |  | 0.01094740 | 0.00000285 |  |  | 0.04 | 0.47 |
| Measuring occasion 2 |  |  |  |  |  |  |  |  |  |
| Chosen std | S0161 cc |  |  |  |  |  |  |  |  |
| δ13C (std, ‰) | 0.22 |  |  |  |  |  |  |  |  |
| extl. error (‰, 1SD) | 0.27 |  |  |  |  |  |  |  |  |
| drift corr (‰/run) | 0.01 (linear) |  |  |  |  |  |  |  |  |
| Sample | Seq. in | 12C cps | 12Csamp/av.std | 13C/12C | ± abs | δ13C | ± ‰ | δ13C | ± ‰ |
| ID | run | (x 109) |  | drift corrected |  | samples |  | standards |  |
| S0161_carb_1 | 1 | 0.01 |  | 0.01094374 | 0.00000285 |  |  | 0.02 | 0.38 |
| S0161_carb_2 | 2 | 0.01 |  | 0.01094915 | 0.00000285 |  |  | 0.51 | 0.38 |
| S0161_carb_3 | 3 | 0.01 |  | 0.01094525 | 0.00000306 |  |  | 0.16 | 0.39 |
| S0161_carb_4 | 4 | 0.01 |  | 0.01094405 | 0.00000319 |  |  | 0.05 | 0.40 |
| Carbonate10 | 5 | 0.02 | 1.05 | 0.01097404 | 0.00000275 | 2.79 | 0.37 |  |  |
| Carbonate2 | 6 | 0.01 | 1.01 | 0.01097518 | 0.00000298 | 2.89 | 0.38 |  |  |
| Carbonate3 | 7 | 0.01 | 1.00 | 0.01096282 | 0.00000283 | 1.76 | 0.37 |  |  |
| Carbonate4 | 8 | 0.01 | 0.99 | 0.01097213 | 0.00000283 | 2.61 | 0.38 |  |  |
| Carbonate5 | 9 | 0.01 | 1.02 | 0.01096698 | 0.00000280 | 2.14 | 0.37 |  |  |
| S0161_carb_5 | 10 | 0.01 |  | 0.01095139 | 0.00000283 |  |  | 0.72 | 0.37 |
| S0161_carb_6 | 11 | 0.01 |  | 0.01094269 | 0.00000314 |  |  | -0.08 | 0.39 |
| Carbonate6 | 12 | 0.01 | 1.01 | 0.01095680 | 0.00000282 | 1.21 | 0.37 |  |  |
| Carbonate7 | 13 | 0.01 | 0.97 | 0.01098291 | 0.00000288 | 3.60 | 0.38 |  |  |
| Carbonate8 | 14 | 0.01 | 1.01 | 0.01097629 | 0.00000283 | 3.00 | 0.37 |  |  |
| Carbonate9 | 15 | 0.02 | 1.09 | 0.01093283 | 0.00000271 | -0.98 | 0.37 |  |  |
| Carbonate10 | 16 | 0.01 | 0.98 | 0.01096635 | 0.00000312 | 2.09 | 0.39 |  |  |
| S0161_carb_7 | 17 | 0.01 |  | 0.01094655 | 0.00000281 |  |  | 0.28 | 0.37 |
| S0161_carb_8 | 18 | 0.01 |  | 0.01094456 | 0.00000281 |  |  | 0.10 | 0.37 |