In this work, we evaluated a new type of bilateral traction device with PVC tubes, it is suitable for patients with lower leg fractures before operation temporary treatment, especially patients with lower limb fractures who are in intensive care and neurosurgery units MRI examination is required while receiving treatment. This device is lightweight, inexpensive and easy to assemble. Its greatest advantage is that the affected limb can be moved immediately after installation, so the limb is no longer limited to the traction bed. It is also convenient for nursing and improves the comfort of patients. In addition, the device can be used with titanium steel needle for MRI inspection under traction.