TABLES AND LEGENDS

Table 1. Validation process stages for methods used to assess vector control tools

|  | 1) Preliminary development | 2) Feasibility experiments | 3) Internal validation | 4) External validation |
| --- | --- | --- | --- | --- |
| Method Goal | Method designed/ modified and method performance solidly understood | Scientifically sound, repeatable and efficient method | Minimally validated method | Fully validated method |
| Analytic Goals | - Build robustness into the method - Ensure repeatable and reliable data generation | Establish results for appropriate validation elements | - Limited method comparison in a single site - Defined method performance characteristics at a single site | - Extensive evaluation of method in multiple sites - Defined method performance characteristics at several sites |
| Documentation Requirements/Output | Initial method validation study protocol - Define the design, application, purpose, and scope of the method - Define the endpoint(s) - Define the analytical requirements (performance parameters and acceptance criteria) - Define testing conditions - Define controls and control ranges - Select comparator method (where applicable) - Conduct baseline experiments | Draft SOP for the method - Define the final endpoint(s) for validation - Define strains for validation - Define testing conditions for conduct of validation - Propose a suitable experimental design for validation (sample size, testing pattern, and testing period as necessary) - Verify relevant performance characteristics (compare performance parameters results to the pre-specified acceptance criteria) | Internal validation protocol and SOP for the method - Analytical requirements stated - Method claim drafted - Identify laboratories/sites for external validation - Compile a data package | External validation protocol and report with the method ‘fitness for purpose’ statement - Method final claim produced - Analytical requirements stated - Implementation can be recommended |

*adapted from [21,28]

Table 3. Replication experiments stages

| Stage | Notes |
| --- | --- |
| - Determine maximum number of replicates that can be performed in a single day | Four replicates are the minimum to calculate within-day imprecision. This number also accounts for potential outlying observations. |
| - Define total number of tests based on desired number of replicates and feasibility | Perform 20-30 replicates unless (Westgard, 2020) - Published data or - Preliminary development results indicate that 30 replicates are too few to evaluate measurement outcome. Ensure sample size is sufficient to capture any downstream measurement outcomes, e.g. fecundity Implement a balanced design where applicable. Here, the number of control replicates should equal the number of test replicates. If a balanced design is not practical, a larger proportion of the sample size should be allocated to treatment arms. Refer to ‘Sample size’ section above for guidelines to determine sample sizes. Replication experiments are performed for the entire defined reportable range (minimum 4 points with 20-30 replicates tested for each), where appropriate. |
| - Perform experiments over the smallest possible number of days | A minimum of four replicates should be tested per day for a minimum of five days in replication studies (holding all the testing conditions/factors constant) to allow estimation of the different levels of precision [18,44]. Where possible a balanced (equal number of replicates) design should be employed. |
| - Results from single days of testing are used to estimate within-run or day variation for each measurement outcome | If multiple test days were considered, pooled within-run or day variance estimates are be calculated |
| - Results from multiple days of testing are used to estimate between-run or day variation for each measurement outcome | Calculate the between-days variance for the multiple testing days |
| - Whole dataset provides estimate of variance for sample size calculations for total replication study. | Used to estimate the total error for an entire experiment |

ADDITIONAL FILES