Supplementary Information

Supplementary Table 1. Spine MRI parameters in our institution (Skyra 3.0T, Siemens, Erlangen, Germany)

| Species of MRI scan | T-spine MRI |  |  |  |  | L-spine MRI |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Parameter | Sagittal | Sagittal | Sagittal | Axial | Axial | Sagittal | Sagittal | Sagittal | Axial | Axial |
|  | T2-WI TSE | T1-WI TSE | T2-WI TSE FS | T2-WI TSE | T1-WI TSE | T2-WI TSE | T1-WI TSE | T2-WI TSE FS | T2-WI TSE | T1-WI TSE |
| TR (msec) | 2650~3000 | 390~785 | 3000~4340 | 3000~6310 | 439~785 | 2860~4410 | 416~567 | 3000~4340 | 3600~7710 | 418 ~ 788 |
| TE (msec) | 81~83 | 10 | 70~82 | 100 | 10~11 | 82 ~ 90 | 10 | 84 | 100 | 15 |
| Matrix size | 448x314 512x410 | 448x314 512x307 | 384x230 384x307 | 384x230 | 320x208 384x230 | 512x410 | 448x269 | 448x314 | 384x230 | 384x230 |
| FOV (cm) | 32x32 34x34 | 32x32 34x34 | 32x32 34x34 | 16x16 | 16x16 | 34x34 | 34x34 | 34x34 | 16x16 | 16x16 |
| Section thickness (mm) | 3 | 3 | 3 | 4~6 | 4~6 | 3 | 3 | 3 | 4 | 4 |
| Intersection gap (mm) | 0.6 | 0.6 | 0.6 | 0.4~1.1 | 0.4~1.1 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 |
| Echo train length | 15 | 3 | 15~17 | 15 | 4 | 19 | 5 | 17 | 16 | 3 |
| No. of signals acquired | 2 | 1 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 2 |
| scan time (s) | 93~122 | 112~170 | 135~144 | 155~167 | 123~134 | 110~145 | 90~101 | 171~221 | 137~194 | 147~199 |

† TE, echo time; TR, repetition time; No, number; FOV, field of view; WI, weighted image; TSE, turbo spin-echo; FS = fat saturation

Supplementary Table 2. Spine MRI parameters in external institution (Signa HDxt 1.5T, GE Healthcare, Milwaukee, Wis, USA)

| Species of MRI scan | T-spine MRI |  |  |  |  | L-spine MRI |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Parameter | Sagittal | Sagittal | Sagittal | Axial | Axial | Sagittal | Sagittal | Sagittal | Axial | Axial |
|  | T2-WI TSE | T1-WI TSE | T2-WI TSE FS | T2-WI TSE | T1-WI TSE | T2-WI TSE | T1-WI TSE | T2-WI TSE FS | T2-WI TSE | T1-WI TSE |
| TR (msec) | 3566~4016 | 716~717 | 3983~5816 | 3216~4866 | 533~816 | 2633~3800 | 416~715 | 3000~3800 | 2833~9170 | 418~546 |
| TE (msec) | 73~92 | 8~9.6 | 81~93 | 80~90 | 8~10 | 73~92 | 9.5-10 | 73~84 | 90~102 | 11~15 |
| Matrix size | 448x224 | 384x224 | 448x224 | 320x224 | 320x192 | 384x224 | 384x224 | 448x314 | 320x224 | 320x224 |
| FOV (cm) | 34x34 | 34x34 | 34x34 | 18x18 | 18x18 | 28x28 | 28x28 | 34x34 35x35 | 18x18 | 18x18 |
| Section thickness (mm) | 3.5 | 3.5 | 3.5 | 3 | 3 | 4 | 4 | 4 | 3 | 3 |
| Intersection gap (mm) | 0.1 | 0.1 | 0.1 | 1 | 1 | 0.1 | 0.1 | 0.1 | 1 | 1 |
| Echo train length | 25 | 4 | 25 | 16 | 4 | 16~21 | 4 | 17~20 | 16 | 4 |
| No. of signals acquired | 2 | 1.5 | 2 | 2 | 1.5 | 2 | 1.5 | 2 | 2 | 1.5 |
| scan time (s) | 160-200 | 124-142 | 150-170 | 227-240 | 182-200 | 124-147 | 110-144 | 172-210 | 140-203 | 160-208 |

† TE, echo time; TR, repetition time; No, number; FOV, field of view; WI, weighted image; TSE, turbo spin-echo; FS = fat saturation

Supplementary Figure 1. Representative case of manual segmentation of TL fracture, background soft tissue anatomy, and injured PLC. The blue, yellow, and orange color areas represent TL vertebral fracture, background soft tissue anatomy, and injured PLC, respectively. (TL, thoracolumbar; PLC, posterior ligamentous complex)