Highlights

- Magnesium silicate has been prepared by precipitation technique.

- Thermoluminescence (TL) dosimetric properties such as (linearity, fading, energy independence) of magnesium silicate in the form of MgSiO3 have been estimated.

- A single strong peak of about 230 °C arises for all irradiated samples. Both integral TL output and TL of the principal peak values showed a linear behavior within the dose ranges from 0.5 up to 2 Gy.

- The correlation of magnesium silicate TL response and different doses demonstrated dose-response improvement regarding the low doses linear relationship.