A quantitative method to measure geranylgeranyl diphosphate (GGPP) and geranylgeranyl monophosphate (GGP) in tomato (S. lycopersicum) fruit.

Wayne Zita1, Venkatasalam Shanmugabalaji1, Miguel Ezquerro2, Manuel Rodriguez-Concepcion2, Felix Kessler1, Gaetan Glauser3*

Affiliations:

1 Plant Physiology Laboratory, University of Neuchâtel, 2000 Neuchâtel, Switzerland

2 Institute for Plant Molecular and Cell Biology (IBMCP), CSIC-Universitat Politècnica de València, 46022 Valencia, Spain

3 Neuchâtel Platform of Analytical Chemistry, University of Neuchâtel, 2000 Neuchâtel, Switzerland

*Corresponding author: gaetan.glauser@unine.ch

SUPPORTING INFORMATION

#### Table S1: Response function for GGPP with calibration equation y = 274.40x – 46.08 (R2 = 0.9990)

| Standard concentration (ng/mL) | Peak area | Back-calculated concentration (ng/mL) | Deviation (%) |
| --- | --- | --- | --- |
| 1 | 253.4 | 1.09 | 9.1 |
| 2 | 489.7 | 1.95 | -2.4 |
| 4 | 1004.0 | 3.83 | -4.3 |
| 8 | 2098.9 | 7.82 | -2.3 |
| 16 | 4247.1 | 15.65 | -2.2 |
| 32 | 8917.9 | 32.67 | 2.1 |

#### Table S2: Response function for GGP with calibration equation y = 1405.94x – 4.6 (R2 = 0.9999)

| Standard concentration (ng/mL) | Peak area | Back-calculated concentration (ng/mL) | Deviation (%) |
| --- | --- | --- | --- |
| 0.125 | 177.0 | 0.129 | 3.4 |
| 0.25 | 362.7 | 0.261 | 4.5 |
| 0.5 | 694.1 | 0.497 | -0.6 |
| 1 | 1378.5 | 0.984 | -1.6 |
| 2 | 2808.0 | 2.001 | 0.0 |
| 4 | 5623.9 | 4.003 | 0.1 |