Table 1. The key features and drawbacks of developed liver-on-a-chip systems.

|  | Design | Key features | Drawbacks |
| --- | --- | --- | --- |
| v1 |  | - Tesla valve - μm scale channels - Small volumes of substances required - 1 cm length reaction zone | - Sharp corners - Long filling lines - Complicated filling procedure due to undesired air bubbles |
| v2 |  | - μm scale channels - Small volumes of substances required - 1 cm length reaction zone | - Sharp corners - Long filling lines - Complicated filling procedure due to undesired air bubbles |
| v3 |  | - Tesla valve - stops substances flowing out of the chip. - μm scale channels - Small volumes of substances required. - 1 cm length reaction zone | - Sharp corners - Long filling lines - Complicated filling procedure due to undesired air bubbles |
| v4 |  | - Short filling channels - Wide filling ports - Short filling lines - Smooth edges, no dead ends or microwells | - Shorter 5 mm reaction zone |