Table 1: Comparison of clinical and radiological measurement of osteotomy depth between study groups (Tukey’s test).
	Study groups                           n                   Clinical depth                  Radiological depth
                                                                        (mean ± SD)                         (mean ± SD)

	Drill without stop                  100                   10,27 ± 5,91#,§                     10,24 ± 0,54#,§
Drill with stop                        100                   10,05 ± 0,38*                         9,92 ± 0,39*      
FCA UDS                               100                     9,95 ± 0,34*                         9,89 ± 0,32*   


	* Significant difference compared to group 1 (drill without stop); # Significant difference compared to group 2 (drill with stop); § Significant difference compared to group 3 (FCA UDS)


