DNA extraction from breast milk samples

Breast milk was first pre-processed according to Douglas et al 1. The DNA in the cell pellet was then extracted using QIAamp PowerFecal Pro DNA Kit (QIAGEN, Hilden, Germany). Briefly, 3 mL of breast milk sample was centrifuged at 13,000 x g for 20 minutes. The separated fat layer and liquid supernatant were then removed. The DNA in the cell pellet was then extracted using QIAamp PowerFecal Pro DNA Kit (QIAGEN, Hilden, Germany) according to the manufacturer’s instructions, which included a bead-beating step. The detailed steps were showed below. DNA concentration was measured using a NanoDrop™ ND-1000 spectrophotometer (NanoDrop Technologies, DE, USA).

Protocol

- Centrifuge 1.5 mL of human breast milk at 13,000 x g for 20 mins at 4 °C to collect pellet.

- Use a sterile loop to scoop up and remove fat layers from breast milk samples.

- Discard the liquid supernatant after cell pelleting and leave 50-100 μl of liquid supernatant in the tube.

- Use the remaining liquid supernatant to wash the cell pellet and transfer to the PowerBead Pro Tube.

- Repeat steps 1-4 for all other human breast milk aliquots.

- Add 800 μl of Solution CD1. Vortex to briefly mix.

- Secure the PowerBead Pro Tube in the QIAGEN PowerLyzer 24 Homogenizer. Homogenize at: run speed of 2,000 x rpm, run time of 30 seconds, 2 cycles, and cycle dwell of 30 secs.

- Centrifuge the PowerBead Pro Tube at 15,000 x g for 1 min at 15 °C.

- Transfer the supernatant to a clean 2 ml Microcentrifuge Tube (provided in the kit).

- Add 200 μl of Solution CD2 and vortex for 5 secs.

- Centrifuge at 15,000 x g for 1 min at 15 °C. Avoiding the pellet, transfer up to 700 μl of supernatant to a clean 2 ml Microcentrifuge Tube (provided in the kit).

- Add 600 μl of Solution CD3 and vortex for 5 secs.

- Load 650 μl of the lysate onto an MB Spin Column and centrifuge at 15,000 x g for 1 min at 15 °C.

- Discard the flow-through and repeat step 13 to ensure that all of the lysate has passed through the MB Spin Column.

- Carefully place the MB Spin Column into a clean 2 ml Collection Tube (provided in the kit). Avoid splashing any flow-through onto the MB Spin Column.

- Add 500 μl of Solution EA to the MB Spin Column. Centrifuge at 15,000 x g for 1 min at 15 °C.

- Discard the flow-through and place the MB Spin Column back into the same 2 ml Collection Tube.

- Add 500 μl of Solution C5 to the MB Spin Column. Centrifuge at 15,000 x g for 1 min at 15 °C.

- Discard the flow-through and place the MB Spin Column into a new 2 ml Collection Tube (provided in the kit).

- Centrifuge at up to 16,000 x g for 2 min at 15 °C. Carefully place the MB Spin Column into a new 1.5 ml Elution Tube (provided in the kit).

- Add 50–100 μl of Solution C6 to the center of the white filter membrane.

- Centrifuge at 15,000 x g for 1 min at 15 °C to elute DNA. Discard the MB Spin Column.

- Measure DNA concentration and purity by pipetting 1 μl of DNA onto the Nanodrop machine.

- Store DNA at -20 °C and tidy up work bench.

QIIME2 pipeline

Briefly, the raw sequence reads were quality checked, demultiplexed into FASTQ files, denoised using DADA2 (q2-dada2 denoise-paired), and subsampled. Taxonomic IDs were then assigned to amplicon sequence variants (ASVs) against the silva-138-99-nb-classifier for taxonomic output. The ASV profiles were rarefied to 60,407 reads per sample. A total of 2116 ASVs in the vaccine cohort and 1457 ASVs in the control cohort remained after filtering out those with at least 2 reads and ASVs which occurred in less than 2% of participants. Alpha diversity indices (within-sample diversity), including observed ASVs and Chao1 richness, were then calculated. Beta diversity (between-sample diversity) was determined by calculating Bray-Curtis distance.

Statistical methods

Continuous variables were summarized by reporting their median (IQR), while categorical variables were presented as a percentage of the cohort. Qualitative and quantitative differences between subgroups were analyzed using Fisher’s exact tests and Mann-Whitney tests for categorical and continuous parameters, respectively.

To assess the effect of timepoints on α-diversity, linear mixed modeling was conducted. Alpha-diversity indices were regressed against time and adjusted for maternal age and time intervals between the two vaccine doses. Individual identifier numbers were modeled as a random effect.

Principal coordinates analysis (PCoA) was used to visualize sample clustering based on species-level compositional profiles. Pairwise multilevel comparisons across different timepoints were carried out on the Bray-Curtis distance matrix using pairwise adonis test.

Comparisons of Lactobacilli and Bifidobacteria abundances across different timepoints were done using Dunn’s test with false discovery rate (FDR) correction. Differential microbial markers between responder groups were identified using linear discriminant analysis (LDA) effect size (LEfSe) with an LDA score > 2 and a p value < 0.05. Multivariate analysis by the linear models (MaAsLin2) statistical framework was implemented to evaluate the association between specific microbial markers and demographical characteristics in the Huttenhower Lab Galaxy instance (http://huttenhower.sph.harvard.edu/galaxy/). The p values for metagenomics analyses were adjusted for multiple comparisons using FDR correction.

To predict levels of anti-SARS-CoV-2 antibodies in breast milk one week post-second dose using baseline breast milk microbiota abundances, classification models were constructed using a random forest approach. Two models were constructed: one based on significant differential microbial predictors and one which combined these microbial predictors with demographic factors (age, time interval between vaccination, and intramuscular analgesia use during labor). The model was tested by a leave-one-out approach. The pROC package in R was then used to calculate the area under the curve (AUC) of receiver operator characteristic (ROC) curves and the corresponding 95% confidence interval (CI) for each model.

Unless otherwise specified, all analyses and data visualization were performed in R V4.2.0. Two-sided values of p values < 0.05 were considered statistically significant.

Reference

- Douglas CA, Ivey KL, Papanicolas LE, Best KP, Muhlhausler BS, Rogers GB. DNA extraction approaches substantially influence the assessment of the human breast milk microbiome. Scientific Reports. 2020/01/10 2020;10(1):123. doi:10.1038/s41598-019-55568-y