Rapid quantitation of trace perfluoroalkyl acids in soil by chelating resin-aided extraction and liquid chromatography-mass spectrometry analysis

Chenghua Lia, Yan Wanga, Jinsong Liu*b, Guoliang Huanga, Baoshan Zhanga, Kezhi Jiang*a

- College of Material, Chemistry and Chemical Engineering, Key Laboratory of Organosilicon Chemistry and Material Technology of Ministry of Education, Hangzhou Normal University, Hangzhou, 311121, China;

- Zhejiang Province Environmental Monitoring Center, Hangzhou, 310015, China.

Supplementary Data:

Table S1 The standard curve, linear range, reproducibility, detection limit and quantitative limit of PFAAs

Table S2 Recoveries of soil samples

Fig. S1 ESI-MS/MS spectra of PFSAs

Fig. S2 ESI-MS/MS spectra of PFSAs

Fig. S3 The influence of MeOH content on extraction

Fig. S4 The influence of stirring time on extraction

Fig. S5 HPLC-MS/MS spectra of PFAAs in some soil samples

Table S1 The standard curve, linear range, reproducibility, detection limit and quantitative limit of PFAAs

| Target analyte | Standard curve | R2 | Linear range | RSD / % at 0.5 ng/mL |  | LOD ng/mL | LOQ ng/mL |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | intra-day | inter-day |  |  |
| PFBA | y=39.54x-11.02 | 0.9997 | 0.5-50 | 3.51 | 4.70 | 0.15 | 0.49 |
| PFPeA | y=166.21x-5.66 | 0.9994 | 0.05-5 | 2.40 | 2.80 | 0.02 | 0.05 |
| PFHxA | y=379.59x-14.66 | 0.9995 | 0.05-5 | 1.62 | 4.01 | 0.01 | 0.03 |
| PFHpA | y=426.82x-11.49 | 0.9994 | 0.05-5 | 1.69 | 4.12 | 0.01 | 0.03 |
| PFOA | y=247.58x+21.40 | 0.9999 | 0.5-50 | 2.67 | 2.82 | 0.13 | 0.42 |
| PFNA | y=184.09x+37.63 | 0.9999 | 0.5-50 | 3.59 | 4.88 | 0.02 | 0.05 |
| PFDA | y=186.06x+7.34 | 0.9995 | 0.05-5 | 4.41 | 3.44 | 0.02 | 0.05 |
| PFUdA | y=267.69x+0.77 | 0.9997 | 0.05-5 | 2.65 | 3.63 | 0.02 | 0.05 |
| PFDoA | y=406.93x-14.61 | 0.9995 | 0.05-5 | 4.71 | 4.76 | 0.01 | 0.03 |
| PFTrDA | y=299.15x-0.30 | 0.9992 | 0.05-10 | 2.49 | 4.25 | 0.01 | 0.03 |
| PFTeDA | y=233.41x-9.84 | 0.9996 | 0.05-5 | 3.38 | 2.75 | 0.01 | 0.04 |
| PFHxDA | y=141.87x+2.00 | 0.9998 | 0.1-10 | 1.67 | 1.35 | 0.03 | 0.09 |
| PFODA | y=629.79x-24.02 | 0.9995 | 0.05-5 | 2.94 | 3.67 | 0.02 | 0.05 |
| PFBS | y=1122.90x-44.64 | 0.9996 | 0.05-5 | 1.73 | 1.91 | 0.02 | 0.05 |
| PFPeS | y=787.22x-59.99 | 0.9999 | 0.1-50 | 2.36 | 5.54 | 0.02 | 0.05 |
| PFHxS | y=540.80x-25.86 | 0.9994 | 0.05-5 | 1.67 | 3.15 | 0.01 | 0.05 |
| PFHpS | y=465.98x-16.56 | 0.9996 | 0.05-5 | 3.00 | 4.32 | 0.01 | 0.04 |
| PFOS | y=525.87x+62.28 | 0.9999 | 0.5-50 | 2.87 | 3.27 | 0.01 | 0.03 |
| PFNS | y=878.77x-40.56 | 0.9996 | 0.05-5 | 1.40 | 2.39 | 0.01 | 0.04 |
| PFDS | y=1108.70x-39.43 | 0.9994 | 0.05-5 | 4.47 | 4.90 | 0.02 | 0.05 |
| PFDoS | y=847.61x-20.32 | 0.9998 | 0.05-5 | 2.06 | 1.49 | 0.02 | 0.05 |

Table S2 Recoveries of soil samples

| Sample | Recovery(%) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | PFBA | PFPeA | PFHxA | PFHpA | PFBS | PFOA | PFPeS | PFNA | PFHxS | PFDA | PFHpS | PFUdA | PFOS | PFDoA | PFNS | PFTrDA | PFDS | PFTeDA | PFDoS | PFHxDA | PFODA |
| s1 | 111 | 101 | 93 | 97 | 105 | 93 | 104 | 110 | 106 | 108 | 104 | 88 | 80 | 112 | 94 | 99 | 97 | 102 | 98 | 87 | 81 |
| s2 | 110 | 110 | 97 | 90 | 96 | 91 | 103 | 103 | 100 | 113 | 104 | 86 | 109 | 89 | 102 | 102 | 93 | 99 | 98 | 97 | 84 |
| s3 | 126 | 122 | 105 | 106 | 114 | 109 | 122 | 84 | 113 | 113 | 126 | 121 | 86 | 122 | 114 | 99 | 108 | 103 | 109 | 102 | 91 |
| s4 | 118 | 126 | 110 | 104 | 121 | 126 | 125 | 79 | 122 | 117 | 117 | 101 | 70 | 115 | 110 | 99 | 107 | 95 | 98 | 94 | 105 |
| s5 | 121 | 122 | 101 | 107 | 108 | 106 | 119 | 113 | 114 | 101 | 119 | 98 | 107 | 103 | 109 | 100 | 93 | 103 | 106 | 82 | 106 |
| s6 | 114 | 123 | 108 | 108 | 105 | 112 | 115 | 119 | 115 | 97 | 113 | 117 | 105 | 100 | 106 | 97 | 95 | 94 | 101 | 93 | 91 |
| s7 | 100 | 77 | 103 | 109 | 115 | 104 | 120 | 108 | 118 | 110 | 121 | 86 | 84 | 97 | 100 | 111 | 113 | 105 | 118 | 109 | 105 |
| s8 | 95 | 97 | 97 | 104 | 117 | 108 | 107 | 111 | 108 | 101 | 116 | 102 | 92 | 90 | 101 | 110 | 108 | 111 | 108 | 95 | 100 |
| s9 | 109 | 82 | 77 | 78 | 87 | 88 | 94 | 87 | 89 | 90 | 86 | 79 | 83 | 77 | 83 | 75 | 122 | 76 | 83 | 71 | 77 |
| s10 | 96 | 115 | 92 | 93 | 108 | 99 | 104 | 101 | 96 | 118 | 103 | 91 | 94 | 92 | 93 | 84 | 82 | 83 | 87 | 83 | 83 |
| s11 | 109 | 101 | 96 | 93 | 111 | 85 | 103 | 104 | 109 | 117 | 105 | 91 | 89 | 105 | 103 | 93 | 98 | 85 | 92 | 82 | 91 |
| s12 | 124 | 115 | 94 | 103 | 106 | 97 | 111 | 111 | 107 | 126 | 101 | 81 | 81 | 94 | 105 | 85 | 101 | 85 | 91 | 92 | 77 |
| s13 | 109 | 113 | 99 | 101 | 107 | 97 | 109 | 103 | 102 | 120 | 110 | 113 | 94 | 99 | 104 | 96 | 97 | 90 | 87 | 91 | 95 |
| s14 | 111 | 103 | 98 | 97 | 107 | 91 | 114 | 114 | 109 | 118 | 103 | 107 | 96 | 99 | 101 | 91 | 93 | 90 | 90 | 80 | 80 |
| s15 | 109 | 101 | 117 | 99 | 113 | 105 | 108 | 112 | 99 | 102 | 104 | 100 | 89 | 91 | 102 | 96 | 102 | 93 | 104 | 89 | 94 |
| s16 | 114 | 104 | 80 | 88 | 92 | 92 | 100 | 93 | 90 | 104 | 92 | 81 | 82 | 81 | 90 | 80 | 88 | 80 | 80 | 76 | 73 |
| s17 | 86 | 94 | 109 | 104 | 101 | 107 | 105 | 103 | 108 | 119 | 108 | 79 | 93 | 88 | 95 | 100 | 104 | 88 | 102 | 86 | 92 |
| s18 | 82 | 100 | 118 | 106 | 110 | 106 | 112 | 99 | 101 | 116 | 105 | 80 | 98 | 85 | 98 | 98 | 101 | 103 | 104 | 96 | 89 |
| s19 | 118 | 97 | 109 | 102 | 110 | 101 | 110 | 116 | 100 | 114 | 107 | 87 | 95 | 83 | 98 | 107 | 101 | 93 | 102 | 97 | 94 |
| s20 | 91 | 102 | 105 | 106 | 104 | 92 | 118 | 119 | 108 | 109 | 106 | 100 | 92 | 88 | 101 | 108 | 101 | 105 | 108 | 101 | 91 |

Fig. S1 ESI-MS/MS spectra of PFSAs

Fig. S2 ESI-MS/MS spectra of PFCAs

Fig. S3 The influence of MeOH content on extraction

Fig. S4 The influence of stirring time on extraction

Fig. S5 HPLC-MS/MS spectra of PFAAs in some soil samples