Supporting information

Simultaneous determination of paracetamol, propyphenazone, aspirin and caffeine in white wine samples by liquid chromatography-triple quadrupole tandem mass spectrometry

Dan Hana*, Yongliang Dinga, Kun Penga, Bobing Tangb, Cunxian Xib, Anping Dengc*

a Medical College, Chongqing Engineering Research Center of Pharmaceutical Sciences, Chongqing Medical and Pharmaceutical College,

Mid College-City Road 82, Shapingba District, Chongqing 401331, China.

b The Inspection Technical Center of Chongqing Customs, Honghuang Road 8, Jiangbei District, Chongqing 400020, China

c College of Chemistry, Chemical Engineering & Materials Science, Soochow University, Renai Road 199, Suzhou 215123, China

* Corresponding author: Tel: +86 512 65884630; Fax: +86 512 65884630

e-mail: 284416221@qq.com; denganping@suda.edu.cn

Table S1. The gradient elution program of two mobile phases in LC-MS/MS

| Time (min) | Mobile phase A (%) | Mobile phase B (%) |
| --- | --- | --- |
| 0 | 95% | 5% |
| 1 | 95% | 5% |
| 2 | 65% | 35% |
| 3 | 65% | 35% |
| 4 | 20% | 80% |
| 6 | 20% | 80% |
| 6.5 | 95% | 5% |
| 8.0 | 95% | 5% |

Table S2. Comparison of two sample pretreatment methods for four drugs in LC-MS/MS

| Drug | Spiked level (μg/L) | Recovery (%) Method 1* Method 2** | RSD (%) Method 1* Method 2** |
| --- | --- | --- | --- |
| paracetamol | 4.0 | 95.9 92.5 | 6.2 6.3 |
|  | 20.0 | 94.0 93.7 | 5.5 5.8 |
|  | 40.0 | 96.6 91.3 | 3.9 6.8 |
| propyphenazone | 0.5 | 101.5 90.8 | 1.4 2.9 |
|  | 4.0 | 98.5 93.2 | 3.2 5.2 |
|  | 8.0 | 96.3 87.4 | 3.3 4.9 |
| aspirin | 10.0 | 102.2 91.6 | 4.2 4.3 |
|  | 100.0 | 102.0 93.2 | 2.6 5.4 |
|  | 180.0 | 100.2 94.3 | 1.6 4.1 |
| caffein | 5.0 | 93.0 85.7 | 2.2 4.7 |
|  | 20.0 | 93.4 90.9 | 1.8 6.0 |
|  | 40.0 | 98.4 93.2 | 2.1 5.7 |

Method 1*: low pressure distillation; Method 2**: boiling evaporation

(a)

(b)

(c)

(d)

Fig. S1. Mass spectra. (a) paracetamol, (b) propyphenazone, (c) aspirin, (d) caffein