Table 1. hCOVassay1 primer set complementarity data using the PrimerBlast software.

Primer hCOVassay1
Forward: 5’-GCCTCTTCTCGTTCCTCATCAC-3’
Reverse: 5’-AGCAGCATCACCGCCATTG-3’
	Target organism
	Amplicon (bp)
	Access code
	Forward
template
	Reverse template
	Mismatch
	Organism

	SARS-Cov-2
	111
	MT226 610.1
	28817-
28838
	28927-28909
	N/A
	2697049

	HCoV- HKU1
	N/A
	N/A
	N/A
	N/A
	N/A
	290028

	HCov-OC43
	N/A
	N/A
	N/A
	N/A
	N/A
	31631

	HCov-NL63
	N/A
	N/A
	N/A
	N/A
	N/A
	277944

	HCoV-229E
	N/A
	N/A
	N/A
	N/A
	N/A
	11137

	MERS-CoV
	N/A
	N/A
	N/A
	N/A
	N/A
	1335626

	H1N1
	N/A
	N/A
	N/A
	N/A
	N/A
	114727

	H3N2
	N/A
	N/A
	N/A
	N/A
	N/A
	119210

	Influenza (untyped)
	N/A
	N/A
	N/A
	N/A
	N/A
	11309

	H5N1
	N/A
	N/A
	N/A
	N/A
	N/A
	102793

	H7N9
	N/A
	N/A
	N/A
	N/A
	N/A
	333278



	Influenza B
	N/A
	N/A
	N/A
	N/A
	N/A
	11520

	Rhinovirus/ Enterovirus
	406
	MK989 760.1
	5822-5801
	5417-5435
	Forward: 2 C/G; 3C/A; 5C/G;
16T/A;18A/T

Reverse: 1A/G; 5G/A;
13G/C;
14C/T; 17T/G
	12059

	Rhinovirus/ Enterovirus
	406
	Mk9897 50.1
	5464-5443
	5059-5077
	Forward: 2C/G; 3C/A;
5C/T; 16T/A;
18A/T

Reverse: 1A/G; 5G/A;
13G/C;
14C/T; 17T/G
	12059

	Respiratory
Syncytial Virus
	N/A
	N/A
	N/A
	N/A
	N/A
	11250

	Parainfluenz a 1 virus
	N/A
	N/A
	N/A
	N/A
	N/A
	12730

	Parainfluenz a 2 virus
	N/A
	N/A
	N/A
	N/A
	N/A
	1979160

	Parainfluenz a 3 virus
	N/A
	N/A
	N/A
	N/A
	N/A
	11216

	Parainfluenz a 4 virus A
	N/A
	N/A
	N/A
	N/A
	N/A
	11224

	Parainfluenz a 4 virus B
	N/A
	N/A
	N/A
	N/A
	N/A
	11226

	Human Metapneum
	N/A
	N/A
	N/A
	N/A
	N/A
	162145



	ovirus
	
	
	
	
	
	

	Human Bocavirus
	N/A
	N/A
	N/A
	N/A
	N/A
	329641

	Legionella spp.
	3591
	LR1343 80.1
	1098252-
1098231
	1094662-1094680
	Forward: 12T/C; 13T/C;
16T/A;
17C/T; 20C/T
	445

	
	
	
	
	
	Reverse: 2G/C; 3C/G;
11C/A; 14C/T
	

	Legionella spp.
	3591
	LS4834 12.1
	1098250-
1098229
	1094660-1094678
	Forward: 12T/C; 13T/C;
16T/A;
17C/T; 20C/T
	446

	
	
	
	
	
	Reverse: 2G/C; 3C/G;
11C/A;14C/T
	

	Mycoplasma spp.
	N/A
	N/A
	N/A
	N/A
	N/A
	2093


bp= base pairs; N/A= not available ou not

Table 2. hCOVassay2 primer set complementarity data using the PrimerBlast software.

Primer hCOVassay2
Forward: 5’ AGCCTCTTCTCGTTCCTCATCAC 3’
Reverse: 5’ CCGCCATTGCCAGCCATTC 3’

	Target organism
	Amplicon (bp)
	Access code
	Forward template
	Reverse template
	Mismatch
	Organism

	SARS-Cov-2
	102
	MT226610.1
	28816-
28838
	28917-
28899
	N/A
	2697049

	HCoV-HKU1
	N/A
	N/A
	N/A
	N/A
	N/A
	290028

	HCov-OC43
	N/A
	N/A
	N/A
	N/A
	N/A
	31631

	HCov-NL63
	N/A
	N/A
	N/A
	N/A
	N/A
	277944

	HCoV-229E
	N/A
	N/A
	N/A
	N/A
	N/A
	11137

	MERS-CoV
	N/A
	N/A
	N/A
	N/A
	N/A
	1335626

	H1N1
	N/A
	N/A
	N/A
	N/A
	N/A
	114727

	H3N2
	N/A
	N/A
	N/A
	N/A
	N/A
	119210

	Influenza (untyped)
	N/A
	N/A
	N/A
	N/A
	N/A
	11309

	H5N1
	N/A
	N/A
	N/A
	N/A
	N/A
	102793

	H7N9
	N/A
	N/A
	N/A
	N/A
	N/A
	333278

	Influenza B
	N/A
	N/A
	N/A
	N/A
	N/A
	11520

	Rhinovirus/

Enterovirus
	N/A
	N/A
	N/A
	N/A
	N/A
	12059

	Respiratory
Syncytial Virus
	N/A
	N/A
	N/A
	N/A
	N/A
	11250

	Parainfluenza 1 virus
	N/A
	N/A
	N/A
	N/A
	N/A
	12730

	Parainfluenza
	N/A
	N/A
	N/A
	N/A
	N/A
	1979160



	2 virus
	
	
	
	
	
	

	Parainfluenza 3 virus
	N/A
	N/A
	N/A
	N/A
	N/A
	11216

	Parainfluenza 4 virus A
	N/A
	N/A
	N/A
	N/A
	N/A
	11224

	Parainfluenza 4 virus B
	N/A
	N/A
	N/A
	N/A
	N/A
	11226

	Human Metapneumo
virus
	N/A
	N/A
	N/A
	N/A
	N/A
	162145

	Human Bocavirus
	N/A
	N/A
	N/A
	N/A
	N/A
	329641

	Legionella spp.
	3243
	LR134173.1
	3094031-
3094013
	3090789-
3090807
	Forward: 3G/T;
7T/C;
10C/G;
19C/T

Reverse: 3G/C;
13G/A;
17T/C
	445

	Legionella spp.
	500
	CP038271.1
	187989-
187971
	187490-
187508
	Forward: 2C/G;
10C/T;
12A/C;
18T/G

Reverse: 1C/G;
5C/T;
6A/C; 9G/T
	445

	Mycoplasma spp.
	N/A
	N/A
	N/A
	N/A
	N/A
	2093


bp= base pairs; N/A= not available ou not

Table 3. Real time PCR conditions adapted for the use of SARS-CoVassay-1 and SARS-CoVassay-2 primer set with or without UDG activation in the reaction master mix.Adaptaded PCR conditions
no UDG ativation

Reference
Adaptaded PCR conditions
+ UDG ativation

Reference





Temp
Time (min)
Cycles
50°C
2:00
hold
95°C
2:00
hold
95°C
0:15
40
60°C
1:00


Temp.
Time (min)
Cycles
95°C
2:00
hold
95°C
0:15
40
60°C
1:00




Temp.
Time (min)
Cycles
50°C
2:00
hold
95°C
2:00
hold
95°C
0:15
40
54°C
0:20

72°C
0:20


Temp
Time (min)
Cycles
95°C
2 minutes
hold
95°C
0:15
40
54°C
0:20

72°C
0:20




