	TABLE S1. Fecal calprotectin kit characteristics
	　

	
	
	Measuring principle
	Average assay time (min)

	　
	Assay
	
	

	
	EliA Calprotectin 2 (EliA)
	EIA (FEIA)
	150

	
	PhiCal Calprotectin (PhiCal)
	EIA (ELISA)
	150

	
	BÜHLMANN fCAL (Buhlmann-E)
	EIA (ELISA)
	150

	　
	BÜHLMANN fCAL turbo (fCAL-turbo)
	PETIA
	15

	
	
	
	

	EIA: enzyme immunoassay, FEIA: fluoroenzyme immunoassay, 
ELISA: enzyme-linked immunosorbent assay, 
PETIA: particle-enhanced turbidimetric immunoassay, NA: not applicable




