Table 2. Summary of the H-S-A three-dye method for neutrophil stage readouts.

| Cell stain | Molecular function | Cellular component | Neutrophil stage | Note (Supplementary Fig. 1) | Readout |
| --- | --- | --- | --- | --- | --- |
| Hoechst | ⋅Membrane permeable DNA stain | ⋅Nuclei | ⋅Healthy cells ⋅Early apoptosis | ⋅Hoechst is only used for end-point staining to avoid DNA damage and artifacts. ⋅Hoechst doesn’t stain the DNA content in the presence of Sytox. ⋅Hoechst shows poor staining contrast in human blood plasma. | ⋅Circularity of nuclei (Supplementary Fig. 2) |
| Sytox | ⋅Membrane impermeable DNA stain | ⋅NETs (i.e., decondensed nuclei) ⋅Condensed nuclei (with ruptured cytoplasm membrane) | ⋅Suicidal NETosis ⋅Vital NETosis ⋅Sec. necrosis | ⋅Sytox can be used for either real-time or end-point staining. ⋅Real-time staining causes positive error, i.e., more non-specific activation of neutrophils, due to cytotoxicity especially when used at high concentration compared to no-dye control. ⋅End-point staining causes negative error due to the dissociation of NETs during pipet mixing. | ⋅Area fraction (Supplementary Fig. 3) |
| Annexin V | ⋅Membrane impermeable phosphatidylserine stain | ⋅Cytoplasm membrane (of dying and dead cells) | ⋅Early apoptosis ⋅Sec. necrosis ⋅Suicidal NETosis | ⋅Annexin V can be used for either real-time or end-point staining. ⋅Annexin V doesn’t stain when used in human plasma or RPMI supplemented with human plasma but functions normally in HPLM supplemented with human plasma. | ⋅Area fraction |