Supporting Information

Sustainable water management in purpose-built student accommodation

Jian Zang1,2, Manish Kumar3,4, and David Werner1,*

1School of Engineering, Newcastle University, Newcastle upon Tyne, United Kingdom

2School of Architecture and Civil Engineering, Chengdu University, Sichuan, China

3Escuela de Ingeniería y Ciencias, Tecnologico de Monterrey, Campus Monterrey, Eugenio Garza Sada 2501 Sur, Monterrey, 64849, Mexico

4Sustainability Cluster, School of Advanced Engineering, UPES, Dehradun, Uttarakhand 248007, India

*To whom correspondence should be addressed.

E-mail: david.werner@newcastle.ac.uk Phone: +44 (0)191 208 5099

Additional method details

Rainwater harvesting system (RWHS)

We estimated the water savings potential of roof collected rainwater to flush toilets in WT student accommodation by multiplying the total roof area (1350 m2) with the annual rainfall in the region (0.693 m) assuming a collection efficiency of 80% (Zang et al. 2022). We estimated the costs of installing such a rainwater harvesting system based on the costs of the one installed in Newcastle University’s Devonshire Building in 2004. We accounted for inflation of 41% based on the Bank of England inflation calculator to estimate the year 2019 prices of one RWHS system, and multiplied the costs by 3 assuming that an equivalent system would be installed in each of the student accommodation blocks. We estimated the operational RWHS costs based on an electricity consumption of 2 kWh per m3 for the pumping of water between the underground storage tanks and the header tanks, a business rate electricity price of £0.117 per kWh in 2019, and 3 times the £1277.8 annual maintenance contract costs of the RWHS in a University Building in 2019 (Zang et al. 2022), plus annual repair costs for the toilets of £282.9 as recorded for WT student accommodation between Sept 2017 and 2019.

Ultralow water use toilets

We estimated the water savings potential of ultralow water use toilets (i.e. PropelairTM toilets) in WT student accommodation by multiplying the difference between a standard 6-liter flush volume and the 1.5-liter flush volume of a PropelairTM toilet with the number of 240 student occupants in WT, an assumed 8 flushes per student and day, and 210 days of student occupancy in a calendar year. We estimated the costs of installing the PropelairTM toilets using the year 2019 price of £1075 per toilet (Newman 2020) with 114 toilets in WT student accommodation. We estimated the operational PropelairTM toilet costs based on an electricity consumption of 0.003 kWh per flush, a business rate electricity price of £0.117 per kWh, an assumed 8 flushes per student and day, and 210 days of student occupancy in a calendar year, plus annual repair costs for the toilets of £282.9 as recorded for WT student accommodation between Sept 2017 and 2019.

References:

Newmann A (2020): Report on Large Scale Trial for Stakeholder. Horizon 2020 SMEInst-11-2017 Project 778742 Deliverable report 2.1 v1.1. European Commission, Brussels, Belgium, https://cordis.europa.eu/project/id/778742/results

Zang J, Royapoor M, Acharya K, Jonczyk J, Werner D (2022): Performance gaps of sustainability features in green award-winning university buildings. Building and Environment 207, 108417,https://doi.org/10.1016/j.buildenv.2021.108417

Use water wisely

A constantly running toilet uses as much water as 100 students!

HELP US SAVING WATER BY REPORTING TO RECEPTION:

- Dripping taps

- Constantly overflowing toilet cisterns, usually into the pan

WE WILL FIX IT!

Watch our animation about the environmental impacts of water use in the UK:

Figure S1: Flyer posted in shared kitchen areas of WT student accommodation

Figure S2: Histograms of daily baseflows in WT student accommodation for the calendar years 2017, 2018, and 2019, showing a gradual reduction in the number of days with high baseflows over time.