Supplementary information

Mass Fabrication and Smart Deployment of “Calibration-free" Miniature Solid-State Potentiometric Sensors towards Digital Water Infrastructure

Yingzheng Fan1,, Zheqin Dai1, Zhiheng Xu2, Xin Qian3, Wenjun Xiang1, ﻿Samuel J. Lounder4, Cole McNamara1, Jeffrey McCutcheon3, ﻿Ayse Asatekin4, Baikun Li1,5 *

1Department of Civil and Environmental Engineering, University of Connecticut, Storrs, Connecticut 06269, United States

2Department of Industrial & Systems Engineering, Rochester Institute of Technology, Rochester, New York, 14623, United States

3Department of Chemical and Biomolecular Engineering, University of Connecticut, Storrs, Connecticut 06269, United States

4﻿Department of Chemical and Biological Engineering, Tufts University, Medford, Massachusetts 02155, United States

5Center for Environmental Science and Engineering, University of Connecticut, Storrs, Connecticut 06269, United States

(*Corresponding author: baikun.li@uconn.edu; Phone: 860-486-2339)

Supplementary Note 1. The detailed description of electrospray process

In the electrospray process, the electrode substrate (AJP silver-nanoparticle-based electrode) was attached to the drum that rotated at 14 rpm (Fig, 1e). The MWCNT-based solid contact cocktail that had been already put in the syringe of the electrospray device was sprayed at a fixed flow rate of 3.9 mL/h onto the electrode substrate to form a MWCNT-based solid contact membrane (Fig, 1e). Then, the PTFE-contained ISM cocktail was put in the syringe to spray at a fixed flow rate of 3.9 mL/h onto the solid contact membrane to form the PTFE-based ISM. Finally, the cocktails of PTFEMA-r-SBMA and isopropyl alcohol were put in the syringes, respectively, and then simultaneously sprayed at a fixed flow rate of 3.9 mL/h onto the PTFE-based ISM to form the anti-fouling membrane (thickness: 100 nm). The cocktail was extruded out of the needle tip that was mounted on the plastic holder with a tip-to-drum distance of 4.5 cm. The positive voltage applied on the needle tip was set at 6.6 kV provided by a high-voltage power source. Through forming the spray pattern in the cone and jet mode, the spray comprising the finest droplets was deposited onto the sensor surface as a circular deposition area, which finally integrated into a thickness-controllable thin layer (Fig. 4g). The stage carrying two needles was mounted on a code-driven screw slide to move back and forth along the drum axial direction. The needles were rastered along the length of the drum by a Velmex controller at a speed of 350 μm/s for 16 cm and then returned to the original position if more than one layer was required. The electrospray process was conducted at 23 ◦C and 16% relative humidity to maintain the uniform solution viscosity. Each membrane was dried at room temperature over 24 h under N2 and a lightless environment after finishing the electrospray process.

Supplementary Note 2. The detailed description of characterization tests for CF-MSP-ISM sensors

The water layer test has been used as the indicator to assess the potentiometric sensor stability by alternately immersing into primary and interfering ion water solution. In this study, it was used to verify the water layer formation into the sensor matrix. At the beginning of the tests, the NH4+ sensors to be examined were simultaneously immersed into the primary ion solution (NH4Cl, 0.1 M) for ~60 min to obtain an equilibrium with the solution. Subsequently, the sensors ﻿were switched into the interfering ion solution (NaCl, 0.1 M) for ~60 min to ensure the interfering ions (Na+ in this case) to transport through the membrane and achieve a new equilibrium. Finally, these sensors were put back to the primary ion solution (NH4Cl, 0.1 M) and submerged for another ~60 min to equilibrate with the solution. The entire process of water layer test was continuously recorded using a multichannel electrochemical workstation (CHI 660D potentiostat) to obtain the potential readings (mV) of these sensors at the interval of 10 s. The EIS measurement was conducted in 0.1 M KCl solution. The results were recorded in the frequency range from 100 kHz to 0.1 Hz using an excitation amplitude (ΔEac) of 10 mV. These data were fitted based on the equivalent circuit models in the ZsimpWin software.

Supplementary Note 3. The evaluation process for achieving NS and E0

In this study, five pieces of MSP-ISM sensors and CF-MSP-ISM sensors were randomly selected from a fabrication batch, and then were individually submerged into the water solution (100 mL) of 1 mg/L NH4Cl continuously stirred at 100 rpm via a Thermolyne Cimarec-top stirring plate. The NH4+ concentration solution was sequentially increased from 2, 4, 8, 16, 32, to 64 mg N/L every 50 s by adding the concentration NH4Cl solution. The readings (mV) of these sensors were individually recorded at 0.1 s intervals using a multichannel electrochemical workstation (CHI 660D potentiostat). The sensor readings (mV) were converted to the calibration curve based on the Nernst logarithmic dependence (E=E0+NS×logC0) between potential readings (E, mV) and concentration (mg N/L). According to the calibration curve, the values of NS and E0 for each sensor could be obtained, and then the consistency of NS and E0 among these five sensors were calculated based on the standard deviation (STDEV) of these results.

Supplementary Note 4. Geometric details of this PF-AO system and the influent characteristics

Assumptions: (1) The influent quantity and quality to the PF-AO system are constant; (2) The anoxic tank and aerobic tank are ideal plug-flow reactors (PFRs); (3) The mix liquor biomass through the system is stable.

Influent characteristics: The quantity of the wastewater is 9,600 m3/day, and the quality of wastewater influent qualities is 180 mg-chemical oxygen demand (COD)/L 35.0 mg NH4+-N/L, 0.1 mg-DO/L, and 0.1 mg-NO3--N/L.

Geometric and operational details of the AO system: The AO system of the PF-AO-FC model consists of an anoxic tank, an aerobic tank, and a pumping line for mixed liquor backflow (Fig. S1a). The dimension of the anoxic tank (hydraulic retention time (HRT): 2.0 h) was 5.0 m in depth, 8.0 m in width, and 20.0 m in length. The dimension of the aerobic tank (HRT: 6.0 h) was 5.0 m in depth, 8.0 m in width, and 60.0 m in length. The ratio of backflow from the outlet of the aerobic tank to the inlet of the anoxic tank was set to 200 % of the influent flow (Fig. S1a).

Supplementary Note 5: Detailed descriptions and equations of biochemical and physical processes in the simulated plug-flow anoxic/oxic (PF-AO) system.

(1) Activate Sludge Model (ASM) kinetics:

Assumptions: (1) The primary biological activities are the growth of aerobic and anoxic heterotrophs and the growth of aerobic autotrophs; (2) The biomass reaches the stationary phase (growth-decay equilibration).

The dynamic biological processes were simulated using the activated sludge model No.1 (ASM, No.1), as described below1:

(i) Aerobic autotrophic nitrifiers

| vo,nitri=μA∙SNHKNH+SNH∙SOKO,A+SO∙XB,A | (S1) |
| --- | --- |

where vo,nitri is the reaction rate of aerobic autotrophic nitrifiers (mg/(L·s)); μA is the maximum specific growth rate for autotrophic nitrifiers (s-1); SNH is the soluble ammonia concentration (mg/L); KNH is the ammonia half-saturation coefficient (mg/L); SO is the dissolved oxygen concentration (mg/L); KO,A is the oxygen half-saturation coefficient for autotrophic biomass (mg/L); XB,A is the active autotrophic biomass (nitrifiers) (mg/L). The values of the parameters are listed in Table S1.

(ii) Anoxic heterotrophic denitrifiers

| va,denitri=μH∙SSKS+SS∙SOKO,H+SO∙SNOKNO,H+SNO∙ηg∙XB,H | (S2) |
| --- | --- |

where va,denitri is the reaction rate of anoxic heterotrophic denitrifiers (mg/(L·s)); μH is the maximum specific growth rate for heterotrophic biomass (s-1); SS is the soluble organic carbon concentration (mg/L); KS is the organic carbon half-saturation coefficient (mg/L); KO,H the oxygen half-saturation coefficient for heterotrophic biomass (mg/L); SNO is the soluble nitrate concentration (mg/L); KNO,H is the nitrate half-saturation coefficient for heterotrophic biomass (mg/L); ηg is the correction factor for μH under anoxic condition (dimensionless); XB,H is the active heterotrophic biomass (denitrifiers and common heterotrophs, mg/L). The values of the parameters are listed in Table S1.

(iii) Heterotrophic bacteria

| vhetero=μH∙SSKS+SS∙SOKO,H+SO∙XB,H | (S3) |
| --- | --- |

where vhetero is the reaction rate of common heterotrophic bacteria (mg/(L·s)). The values of the parameters are listed in Table S1.

The biochemical processes of Eq. S1-S3 involved four main contents in wastewater: NH4+, NO3-, DO, and organic carbon. In terms of NH4+, it was mainly consumed as the electron donor in the nitrification, and also assimilate by the three types of bacteria, which can be described as below:

| vNH=-1YA+iXB∙vo,nitri-iXB∙va,denitri+vhetero | (S4) |
| --- | --- |

where vNH is the reaction rate of NH4+ (mg/(L·s));  YA is the yield for autotrophic biomass (dimensionless); iXB is nitrogen content in biomass (dimensionless). The values of the parameters are listed in Table S1.

As for NO3-, it was generated in aerobic nitrification process and subsequently reduced by anoxic denitrify bacteria in anoxic process, which can be described as below:

| vNO=1YA∙vo,nitri-1-YH2.86YH∙va,denitri | (S5) |
| --- | --- |

where vNO is the reaction rate of NO3- (mg/(L·s)); YH is the yield for heterotrophic biomass (dimensionless). The values of the parameters are listed in Table S1.

In regard to DO, it was consumed as the electron acceptor in the aerobic biochemical processes including nitrification and aerobic growth of heterotrophs, which can be described as:

| vO,b=-4.57-YAYA∙vo,nitri-1-YHYH∙va,denitri | (S6) |
| --- | --- |

where vO,b is the reaction rate of DO in biochemical processes (mg/(L·s)). The values of the parameters are listed in Table S1.

Towards organic carbon, it was consumed as the carbon source for the growth of heterotrophic bacteria (e.g., anoxic denitrifying bacteria and aerobic heterotrophic bacteria), which can be described as below:

| vCOD,b=-1YH∙va,denitri+vhetero | (S7) |
| --- | --- |

where vCOD,b is the reaction rate of organic carbon in biochemical processes (mg/(L·s)). The values of the parameters are listed in Table S1.

(2) N2O emission processes:

Assumptions: (1) Low DO and high NO3-/NO2- present in aerobic nitrification process triggers the N2O generation2; (2) High DO, high NO3-/NO2-, and low C/N ratio in anoxic denitrification process triggers the N2O generation3; (3) The ratio of NO2- to NO3- throughout the AO system is constant.

The N2O emission was estimated in both nitrification and denitrification, described as below:

(i) N2O emission from aerobic nitrification process

| vnt=μNE∙XB,A∙KO,NEKO,NE+SO∙χSNOKNO,NE+χSNO | (S8) |
| --- | --- |

where vnt is the N2O emission rate during nitrification (mg/(L·s)); μNE is the maximum specific growth rate for nitrification emission of N2O (s-1); KO,NE is the oxygen half-saturation coefficient for nitrification emission of N2O (mg/L); χ is the correction factor for SNO during N2O emission (dimensionless);  KNO,NE is the nitrate half-saturation coefficient for N2O emission during nitrification emission of N2O (mg/L). The values of the parameters are listed in Table S1.

(ii) N2O emission from anoxic denitrification process

| vde=μDE∙ηg∙XB,H∙KS,DEKS,DE+SS∙SOKO,DE+SO∙χSNOKNO,DE+χSNO | (S9) |
| --- | --- |

where vde is the N2O emission rate during denitrification (mg/(L·s)); μDE is the maximum specific growth rate for denitrification emission of N2O (s-1); KS,DE is the organic substrate half-saturation coefficient for denitrification emission of N2O (mg/L); KO,DE is the oxygen half-saturation coefficient for denitrification emission of N2O (mg/L); KNO,DE is the nitrate coefficient for denitrification emission of N2O (mg/L). The values of the parameters are listed in Table S1.

(3) Aeration kinetics:

Dissolved oxygen (DO) in the aerobic tank is controlled based on aeration kinetics to assure NH4+ oxidization. The rate of DO recovery due to aeration intensity can be described as below.

| vO,ae=KLa,max∙iaeKiae+iae∙(SO*-SO) | (S10) |
| --- | --- |

where vO,ae is the change rate of DO due to aeration (mg/(L·s)); KLa,max is the maximum total mass transfer coefficient for oxygen transfer (s-1); iae is the aeration intensity (vary along the aerobic zone, m3/(m2·h)); Kiae the half-saturation coefficient for aeration intensity (m3/(m2·h)); SO* is the saturated DO concentration (mg/L). The values of the parameters are listed in Table S1.

Supplementary Note 6: Comparison of the traditional scenario (“single-point” sensor) and smart deployment scenarios (multiple CF-MSP-ISM sensors).

(1) Traditional scenario

(i) Uniform aeration

In the aerobic tank, the uniform aeration intensity is determined by the worst-case that is the highest NH4+ concentration (from the influent) and the lowest oxygen utilization efficiency (Fig. S1b), as below:

| iae,tr=nNH∙Qw∙SNH, in∙Vmpair∙ηo∙Ao | (S11) |
| --- | --- |

where iae, tr is the uniform aeration intensity in the traditional scenario (m3/(m2·h)); nNH is the mole number in NH4+ oxidation (mol/mol);  Qw is the influent flow (L/h);  SNH,in is the influent NH4+ mole concentration (mol/L); Vm is the mole gas volume (m3/mol); pair is the oxygen portion in the air (dimensionless)); ηmt is the worst-case oxygen utilization efficiency (dimensionless); Ao is the surface area of the aerobic tank (m2). The values of the parameters are listed in Table S1.

(ii) Single-point carbon dosage

In the anoxic tank, exogenous carbon was dosed at the inlet of the anoxic tank (i.e. increasing the influent organic substrate) in order to provide enough carbon source for denitrification (Fig. S1b), which is determined below.

| Qcd, tr=mNO∙Qw∙SNO, in+SNH, in | (S12) |
| --- | --- |

where Qcd, tr is the single-point carbon dosage in the traditional scenario (kg/h); mNO is the mass ratio of C/N (kg/kg); SNO,in is the influent NO3- concentration (mg/L); SNH,in is the influent NH4+ concentration (mg/L). The values of the parameters are listed in Table S1.

(2) Smart deployment scenarios

(i) Multi-zoning aeration control policy

Step 1: In the aerobic tank, the NH4+ reaction rate distribution was monitored by the NH4+ sensor deployment (Step 1 in Fig. S1c).

| νNH4+i=SNH4+i+1-SNH4+iΔxi∙Al/Qw, i ϵ [1, n] | (S13) |
| --- | --- |

where n is the number of the NH4+ sensors deployed in the aerobic tank, which was 3-25 in this study (Step 1 in Fig. S1c); i is the sequence number of the NH4+ sensor; νNH4+i is the monitored NH4+ reaction rate (mg/(L·h)); SNH4+i+1 and SNH4+i are the NH4+ concentrations detected by the i+1 and i sensors (mg/L); Δxi is the distance between i+1 and i sensors (m); Al is the sectional area longitudinally (m2); Qw is the influent flow (m3/h);. The values of the parameters are listed in Table S1.

Step 2: The aeration intensity is controlled by the monitored NH4+ reaction rate distribution (Step 2 in Fig. S1c):

| iaei=αaei∙νNH4+i=Qw∙iae, trAlνNH4+i∙maxνNH4+i∙νNH4+i , i ϵ [1, n] | (S14) |
| --- | --- |

where iaei is the multi-zoning aeration intensity (m3/(m2·h); αaei is the tuning factor for aeration (m/(mg/L)); max(νNH4+i) is a function to find out the maximum value of the monitored NH4+ reaction rates (mg/(L·h)). The values of the parameters are listed in Table S1.

(ii) Multi-point carbon dosage control policy

Step 3: In the anoxic tank, the NO3- reaction rate distribution was monitored by the NO3-sensor deployment (Step 3 in Fig. S1c).

| νNO3-i=SNO3-i+1-SNO3-iΔyi∙Al/Qw, i ϵ [1, n] | (S15) |
| --- | --- |

Where n is the number of the NO3- sensors deployed in the anoxic tank, which was 3-25 (Step 3 in Fig. S1c); i is the sequence number of the NO3- sensor; νNO3-i is the monitored NO3- reaction rate (mg/(L·h)); SNO3-i+1 and SNO3-i are the NO3- concentrations detected by the i+1 and i sensors (mg/L); Δyi is the distance between i+1 and i sensors (m). The values of the parameters are listed in Table S1.

Step 4: The dosage density is controlled by the monitored NO3- reaction rate distribution (Step 4 in Fig. S1c):

| mcdi=βcdi∙νNO3-i=Qw∙Qcd, tr/AaAlνNO3-i∙max(νNO3-i)∙νNO3-i , i ϵ [1, n] | (S16) |
| --- | --- |

where mcdi is the multi-point carbon dosage density (kg/(m2·h)); βcdi is the tuning factor for carbon dosage (kg·L/(mg·m2)); max(νNO3-i) is a function to find out the maximum value of the monitored NO3- reaction rates (mg/(L·h)). The values of the parameters are listed in Table S1.

(3) Variation of the NH4+/ NO3- concentrations monitored

To quantitatively evaluate the accuracy of the NH4+ reaction rate (νNH4+i), the variation of NH4+ concentration was calculated based on Eq. S13:

| ωNH4+=1n-2i=1i=n-2SNH4+i+2-SNH4+i+1Δxi+1-SNH4+i+1-SNH4+iΔxi , n ϵ [3, 25] | (S17) |
| --- | --- |

where ωNH4+ is the variation of NH4+ concentration (mg/(L·m)) when n pieces (3-25) of NH4+ sensors were deployed in the aerobic tank. A smaller value of ωNH4+ indicates a higher-resolution and a higher accuracy of the NH4+ reaction profile. The values of the parameters are listed in Table S1.

To quantitatively evaluate the accuracy of the NO3- reaction rate (νNO3-i), the variation NO3- concentration was calculated based on Eq. S15:

| ωNO3-=1n-2i=1i=n-2SNO3-i+2-SNO3-i+1Δyi+1-SNO3-i+1-SNO3-iΔyi, n ϵ [3, 25] | (S18) |
| --- | --- |

where ωNO3- is the variation of the NO3- concentration (mg/(L·m)) when n pieces (3-25) of NO3- sensors were deployed in the anoxic tank. A smaller value of ωNO3- indicates a higher-resolution and a higher accuracy of the NO3- reaction profile. The values of the parameters are listed in Table S1.

Fig. S1. (a) The geometric details of the PF-AO system; (b) The traditional scenario (single-point sensor) using the worst-case (NO3- and NH4- concentrations) to determine uniform carbon dosage and uniform aeration; (c) The smart deployment scenarios (multiple pieces of CF-MSP-ISM sensors) acquiring gradient high-resolution profiles for flexible aeration and carbon dosage.

Fig. S2. Water contact angle test for the PTFE-loaded ISM and the PTFEMA-r-SBMA-based anti-fouling membrane.

Fig. S3. Comparison of the key performance parameters in the aerobic and the anoxic tanks under the “single-point” monitoring and “multiple-sensor monitoring” scenarios. (a) the average DO concentration (mg/L) in the aerobic tank; (b) the average DO concentration (mg/L) in the anoxic tank; (c) the average N2O generation rate (mg/(L·h)) in the aerobic tank; (d) the N2O generation rate (mg/(L·h)) in the anoxic tank. (* denotes the smart deployment of 14 NH4+ sensors in the aerobic tank and 10 NO3- sensors in the anoxic tank; and ** denotes the smart deployment of 14 NH4+ sensors in the aerobic tank and 3 NO3- sensors in the anoxic tank.) (NOTE: The equations used for these calculations are listed in the figure.).

Fig. S4 Profile of the variation of NH4+ reaction rate monitored along the length (60.0 m in this study) of the aerobic tank under different sensor numbers (3-25 pieces). (a) to (f): With the sensor number increasing from 3 to 14, the profiles of the variation of NH4+ reaction rate become clear with more details being captured; (g) to (h): The profiles remain almost the same at the sensor numbers of 15 and 25. The variation of NH4+ concentration monitored (ωNH4+, mg-N/(L·m), listed in each subfigure) along the aerobic tank becomes subtle (e.g., from 0.015 to 0.009 mg-N/(L·m)) at the higher sensor numbers (e.g. from 14 to 25). (NOTE: The equations used for these calculations are listed in the figure.).

Fig. S5. Simulation of the average dissolved oxygen (DO) in the aerobic tank under smart deployment of multiple pieces of NH4+ sensors (NOTE: DO concentration stabilizes along the aerobic tank after the sensor number goes beyond 14. The equations used for these calculations are listed in the figure.).

Fig. S6 The optimal sensor number in the aerobic tank as the function to the length of the aerobic tank (60.0 m in this study). (NOTE: The equations used for these calculations are listed in the figure).

Fig. S7. The impacts of the NO3- sensor number (1-25) in the anoxic tank on the variations of (a) DO and (b) NO3- concentration from the backflow. (NOTE: The equations used for these calculations are listed in the figure.).

Fig. S8. Profiles of the variation of NO3- reaction rate monitored along the length (20.0 m in this study) of the anoxic tank under different sensor numbers (3 to 25 pieces). (a) to (e): The precise location (red dashed line pointing at the peak) of the fluctuation of NO3- reaction rate (caused by the backflow from the aerobic tank) could not be fully captured (varying in the figure) by the sensors (sensor number: 3-15), varying from 6.67 m to 3.00 m; (f) to (j): The variation of the NO3- reaction rate could be fully captured by the sensors (sensor number 16-25), with the precise location (blue dashed line pointing at the peak) of the fluctuation of NO3- reaction rate becoming stable at 2.67 m. The monitored variation of NO3- concentration (ωNO3-, mg-N/(L·m), listed in each subfigure) along the anoxic tank becomes subtle (e.g., from 0.048 to 0.044 mg-N/(L·m)) at the higher sensor numbers (e.g. from 23 to 25). (NOTE: The equations used for these calculations are listed in the figures.).

Table S1. Values of the parameters used in Eq. 2-4 and Eq. S1-S10.

| Row No. | Symbol | Equation sequence number | Description | Unit | Value |
| --- | --- | --- | --- | --- | --- |
| 1 | SNH4+,in | Eq. 2, S11 and S12 | Influent concentration of NH4+ | mg-N/L | 35.04 |
| 2 | SNO3-,in | Eq. 2 and S12 | Influent concentration of NO3- | mg-N/L | 0.14 |
| 3 | ϵae | Eq. 3 | Aeration-power factor | kWh/m3 | 0.035 |
| 4 | Ao | Eq. 3, S11 and S14 | Surface area of the aerobic tank | m2 | 480.05 |
| 5 | ϵcd | Eq. 3 | Carbon dosage-power factor | kWh/kg-COD | 0.055 |
| 6 | Aa | Eq. 3 | Surface area of the anoxic tank | m2 | 160.0 |
| 7 | Vo | Eq. 4 and S16 | Volume of the aerobic tank | m3 | 2400.0 |
| 8 | Va | Eq. 4 | Volume of the anoxic tank | m3 | 800.0 |
| 9 | μA | Eq. S1 | Maximum specific growth rate for autotrophic nitrifiers | d-1 | 0.41 |
| 10 | KNH | Eq. S1 | Ammonia half-saturation coefficient | mg/L | 1.01 |
| 11 | KO,A | Eq. S1 | Oxygen half-saturation coefficient for autotrophic biomass | mg/L | 0.41 |
| 12 | XB,A | Eq. S1 and S8 | Active autotrophic biomass (nitrifiers) | mg/L | 100.01 |
| 13 | μH | Eq. S2 and S3 | Maximum specific growth rate for heterotrophic biomass | d-1 | 3.01 |
| 14 | KS | Eq. S2 and S3 | Organic carbon half-saturation coefficient | mg/L | 20.01 |
| 15 | KO,H | Eq. S2 and S3 | Oxygen half-saturation coefficient for heterotrophic biomass | mg/L | 0.21 |
| 16 | KNO,H | Eq. S2 | Nitrate half-saturation coefficient for heterotrophic biomass | mg/L | 0.51 |
| 17 | ηg | Eq. S2 and S9 | Correction factor for μH under anoxic condition | Dimensionless | 0.81 |
| 18 | XB,H | Eq. S2, S3 and S9 | Active heterotrophic biomass (denitrifiers and common heterotrophs) | mg/L | 13001 |
| 19 | YA | Eq. S4-S6 | Yield for autotrophic biomass | Dimensionless | 0.241 |
| 20 | iXB | Eq. S4 | Nitrogen content in biomass | Dimensionless | 0.0861 |
| 21 | YH | Eq. S5-S7 | Yield for heterotrophic biomass | Dimensionless | 0.671 |
| 22 | μNE | Eq. S8 | Maximum specific growth rate for nitrification emission of N2O | d-1 | 0.126 |
| 23 | KO,NE | Eq. S8 | Oxygen half-saturation coefficient for nitrification emission of N2O; | mg/L | 4.26 |
| 24 | χ | Eq. S8 and S9 | Correction factor for nitrate during N2O emission | Dimensionless | 1.17×10-5 6 |
| 25 | KNO,NE | Eq. S8 | Nitrate half-saturation coefficient for N2O emission during nitrification emission of N2O | mg/L | 0.0886 |
| 26 | μDE | Eq. S9 | Maximum specific growth rate for denitrification emission of N2O | d-1 | 3.386 |
| 27 | KS,DE | Eq. S9 | Organic substrate half-saturation coefficient for denitrification emission of N2O | mg/L | 0.916 |
| 28 | KO,DE | Eq. S9 | Oxygen half-saturation coefficient for denitrification emission of N2O | mg/L | 4.96 |
| 29 | KNO,DE | Eq. S9 | Nitrate coefficient for denitrification emission of N2O | mg/L | 0.036 |
| 30 | KLa,max | Eq. S10 | Maximum total mass transfer coefficient for oxygen transfer | s-1 | 127 |
| 31 | Kiae | Eq. S10 | Half-saturation coefficient for aeration intensity | m3/h | 5.57 |
| 32 | SO* | Eq. S10 | Saturated DO concentration | mg/L | 8.07 |
| 33 | nNH | Eq. S11 | Mole number in NH4+ oxidation | Dimensionless | 28 |
| 34 | Qw | Eq. S11-S16 | Influent flow | m3/d | 9600.0 |
| 35 | Vm | Eq. S11 | Mole gas volume | L/mol | 22.4 |
| 36 | pair | Eq. S11 | Oxygen portion in the air | Dimensionless | 0.21 |
| 37 | ηmt | Eq. S11 | Worst-case oxygen utilization efficiency | Dimensionless | 0.29 |
| 38 | mNO | Eq. S12 | Mass ratio of C/N | Dimensionless | 2.010 |
| 39 | Al | Eq. S13-S16 | Sectional area of the tank longitudinally | m2 | 40.0 |
| 40 | iae, tr | Eq. S14 and S11 | Traditional aeration intensity | m3/(m2·h) | 2.3* |
| 41 | Qcd, tr | Eq. S16 and S12 | Traditional carbon dosage | kg/h | 28.0* |

* obtained by calculation.

Table S2. Calibrated NS results (mV/dec) for Material-wise advancements and calibrated standard potential results (mV) for Devise-wise Advancements.

| Material-wise Advancement |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Piece Number of sensor | MSP-ISM sensor | CF-MSP-ISM sensor | Sensor A | Sensor B | Sensor C | Sensor D |
| #1 | 54.4 mV/dec | 59.6 mV/dec | 54.9 mV/dec | 56.4 mV/dec | 58.4 mV/dec | 54.7 mV/dec |
| #2 | 50.3 mV/dec | 59.4 mV/dec | 53.4 mV/dec | 53.3 mV/dec | 57.6 mV/dec | 55.8 mV/dec |
| #3 | 53.5 mV/dec | 58.9 mV/dec | 52.4 mV/dec | 51.3 mV/dec | 58.5 mV/dec | 51.4 mV/dec |
| #4 | 52.6 mV/dec | 59.1 mV/dec | 49.8 mV/dec | 52.5 mV/dec | 56.4 mV/dec | 55.9 mV/dec |
| #5 | 48.6 mV/dec | 59.3 mV/dec | 50.6 mV/dec | 51.6 mV/dec | 55.9 mV/dec | 51.9 mV/dec |
| Standard deviation (mV/dec) | 2.38 mV/dec | 0.27 mV/dec | 2.07 mV/dec | 2.05 mV/dec | 1.17 mV/dec | 2.15 mV/dec |
| Improvement (%) |  | 88.65 | 13.16 | 14.02 | 50.77 | 9.66 |

| Devise-wise Advancement |  |  |  |  |
| --- | --- | --- | --- | --- |
| Piece Number of sensor | MSP-ISM sensor | CF-MSP-ISM sensor | Sensor E | Sensor F |
| #1 | -80.43 mV | -86.64 mV | -86.34 mV | -88.43 mV |
| #2 | -87.7533 mV | -87.96 mV | -83.12 mV | -90.23 mV |
| #3 | -92.97 mV | -89.03 mV | -80.42 mV | -76.81 mV |
| #4 | -90.825 mV | -90.26 mV | -88.54 mV | -80.32 mV |
| #5 | -101.205 mV | -87.64 mV | -83.43 mV | -78.21 mV |
| Standard deviation (mV) | 7.58 mV | 1.39 mV | 3.14 mV | 6.12 mV |
| Improvement (%) |  | 81.72 | 58.64 | 19.21 |

Table S3. Performance improvement of the aerobic nitrification tank with different numbers of CF-MSP-ISM NH4+ sensors (3-25 pieces). (Key performance parameters: aerobic tank TN removal efficiency (N, %), energy for aeration (Eo, kWh/d), N2O emission from nitrification (Go, kg/d), improvement percentage of energy saving for aeration (P(Eo), %) and improvement percentage of N2O emission from nitrification (P(Go), %)).

| NH4+ sensors in aerobic tank | N (%) (Eq. 2) | Eo (kWh/d) (Eq. 3) | Go (kg/d) (Eq. 4) | P(Eo) (%) (Eq. 5) | Variation of P(Eo) per sensor* | P(Go) (%) (Eq. 5) | Variation of P(Go) per sensor** |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Traditional scenario |  |  |  |  |  |  |  |
| 1 (single-point sensor) | 81.82 | 825.00 | 7.86 | 0 | - | 0 | - |
| Smart deployment scenarios |  |  |  |  |  |  |  |
| 3 | 89.79 | 696.09 | 3.01 | 15.63 | 5.21 | 61.66 | 20.6 |
| 4 | 89.45 | 662.01 | 2.88 | 19.76 | 1.03 | 63.34 | 0.420 |
| 5 | 89.05 | 641.84 | 2.71 | 22.20 | 0.489 | 65.59 | 0.450 |
| 6 | 88.83 | 634.09 | 2.64 | 23.14 | 0.156 | 66.45 | 0.142 |
| 7 | 88.78 | 632.17 | 2.62 | 23.37 | 0.033 | 66.69 | 0.035 |
| 8 | 88.78 | 632.30 | 2.62 | 23.36 | -0.002 | 66.73 | 0.005 |
| 9 | 88.81 | 633.57 | 2.63 | 23.20 | -0.017 | 66.60 | -0.014 |
| 10 | 88.85 | 634.63 | 2.63 | 23.07 | -0.013 | 66.50 | -0.010 |
| 11 | 88.74 | 631.06 | 2.60 | 23.51 | 0.039 | 66.94 | 0.040 |
| 12 | 88.61 | 627.20 | 2.56 | 23.98 | 0.039 | 67.43 | 0.041 |
| 13 | 88.52 | 624.78 | 2.54 | 24.27 | 0.023 | 67.75 | 0.025 |
| 14 | 88.48 | 623.62 | 2.52 | 24.41 | 0.010 | 67.91 | 0.011 |
| 15 | 88.45 | 622.86 | 2.51 | 24.50 | 0.006 | 68.02 | 0.007 |
| 16 | 88.44 | 622.48 | 2.51 | 24.55 | 0.003 | 68.08 | 0.004 |
| 17 | 88.44 | 622.45 | 2.51 | 24.55 | 0.000 | 68.09 | 0.000 |
| 18 | 88.44 | 622.44 | 2.51 | 24.55 | 0.000 | 68.09 | 0.000 |
| 19 | 88.45 | 622.78 | 2.51 | 24.51 | -0.002 | 68.05 | -0.002 |
| 20 | 88.47 | 623.27 | 2.52 | 24.45 | -0.003 | 67.99 | -0.003 |
| 21 | 88.47 | 623.46 | 2.52 | 24.43 | -0.001 | 67.96 | -0.001 |
| 22 | 88.46 | 622.98 | 2.51 | 24.49 | 0.003 | 68.03 | 0.003 |
| 23 | 88.43 | 622.21 | 2.51 | 24.58 | 0.004 | 68.14 | 0.005 |
| 24 | 88.42 | 621.98 | 2.50 | 24.61 | 0.001 | 68.17 | 0.001 |
| 25 | 88.41 | 621.79 | 2.50 | 24.63 | 0.001 | 68.20 | 0.001 |

* Variation of P(Eo) per sensor is equal to the difference of neighboring P(Eo) divided by the sensor number;

** Variation of P(Go) per sensor is equal to the difference of neighboring P(Go) divided by the sensor number.

Table S4.  Performance improvement of the anoxic denitrification tank with different numbers of CF-MSP-ISM NH4+ sensors (3-25 pieces). (Key performance parameters: TN removal efficiency (N, %) , energy for carbon dosage (Ea, kWh/d), N2O emission from denitrification (Ga, kg/d), improvement percentage of energy saving for carbon dosage (P(Ea), %) and improvement percentage of N2O emission from denitrification (P(Ga), %) (NOTE: The evaluation was conducted with 14 NH4+ sensors (the optimal number) being deployed in the aerobic tank.)

| NH4+ sensors in aerobic tank | NO3- sensors in anoxic tank | N (%) (Eq. 2) | Ea (kWh/d) (Eq. 3) | Ga (kg/d) (Eq. 4) | P(Ea) (%) (Eq. 5) | Variation of P(Ea) per sensor* | P(Ga) (%) (Eq. 5) | Variation of P(Ga) per sensor* |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Traditional scenario |  |  |  |  |  |  |  |  |
| 1 (single-point sensor) |  | 81.82 | 33.6 | 5.95 | 0 | - | 0 | - |
| Smart deployment scenarios |  |  |  |  |  |  |  |  |
| 14 | 3 | 85.24 | 23.66 | 1.82 | 29.58 | 9.86 | 69.47 | 23.2 |
|  | 4 | 84.75 | 22.31 | 2.03 | 33.61 | 1.010 | 65.93 | -0.885 |
|  | 5 | 84.83 | 22.53 | 1.99 | 32.94 | -0.135 | 66.54 | 0.121 |
|  | 6 | 84.16 | 20.74 | 2.29 | 38.29 | 0.892 | 61.57 | -0.829 |
|  | 7 | 83.72 | 19.56 | 2.49 | 41.77 | 0.498 | 58.13 | -0.491 |
|  | 8 | 83.26 | 18.40 | 2.71 | 45.25 | 0.434 | 54.54 | -0.449 |
|  | 9 | 82.36 | 16.16 | 3.14 | 51.90 | 0.739 | 47.25 | -0.810 |
|  | 10 | 82.31 | 16.03 | 3.16 | 52.28 | 0.038 | 46.82 | -0.042 |
|  | 11 | 82.49 | 16.49 | 3.07 | 50.91 | -0.125 | 48.34 | 0.138 |
|  | 12 | 82.69 | 16.99 | 2.98 | 49.43 | -0.123 | 49.95 | 0.134 |
|  | 13 | 82.67 | 16.94 | 2.99 | 49.57 | 0.011 | 49.79 | -0.012 |
|  | 14 | 82.66 | 16.91 | 2.99 | 49.68 | 0.008 | 49.67 | -0.009 |
|  | 15 | 82.95 | 17.65 | 2.85 | 47.48 | -0.147 | 52.03 | 0.157 |
|  | 16 | 82.94 | 17.64 | 2.86 | 47.49 | 0.001 | 52.01 | -0.001 |
|  | 17 | 82.91 | 17.55 | 2.87 | 47.78 | 0.017 | 51.71 | -0.018 |
|  | 18 | 83.05 | 17.92 | 2.80 | 46.65 | -0.063 | 52.90 | 0.066 |
|  | 19 | 83.05 | 17.92 | 2.80 | 46.66 | 0.000 | 52.89 | -0.001 |
|  | 20 | 83.02 | 17.83 | 2.82 | 46.92 | 0.013 | 52.61 | -0.014 |
|  | 21 | 83.02 | 17.83 | 2.82 | 46.93 | 0.000 | 52.61 | 0.000 |
|  | 22 | 83.00 | 17.79 | 2.83 | 47.05 | 0.005 | 52.48 | -0.006 |
|  | 23 | 83.01 | 17.82 | 2.82 | 46.98 | -0.003 | 52.56 | 0.003 |
|  | 24 | 83.01 | 17.82 | 2.82 | 46.98 | 0.000 | 52.56 | 0.000 |
|  | 25 | 83.11 | 18.07 | 2.78 | 46.22 | -0.030 | 53.35 | 0.032 |

* Variation of P(Ea) per sensor is equal to the difference of neighboring P(Ea) divided by the sensor number;

** Variation of P(Ga) per sensor is equal to the difference of neighboring P(Ga) divided by the sensor number.

Supplementary Code 1: MATLAB codes of the model simulation.

MATLAB code for smart deployment in aerobic zone compared to the traditional scenario.

% Infinitesimal method of time and space

N_sec = 240 + 1;

n_ANOXIC_AEROBIC = 2 / (8 / (N_sec - 1))+1;

V = 8.0 * 1000; % L,(= 1 m3 ) Volume of reactor

V_o = 6.0 * 1000; % L,(= 1 m3 ) Volume of aerobic tank

V_sec = V / (N_sec - 1); % L,  Volume of each section

Q_in = 1.0 * 1000 / 3600; % L*s-1 (= 1 m3*h-1 ); Inflow

Q_bf = 2.0 * 1000 / 3600; % L*s-1 (= 2 m3*h-1 ); 200% of backflow

Q_tr = Q_in + Q_bf; % L*s-1 (= 3 m3*h-1 ); transportation between sections

dt = 1; % s

T_RUN =7 * 24 * 3600; % s ( = 30 days )

t = 1 : dt : T_RUN; % s, ( from 1 s to 1 month )

X_BH = 1300; % mg-COD*L-1; = X_BH + X_BA

X_BA = 100; % = X_BH / X_B

miu_H = 6.0/24/3600  /2; % s-1 ( = 6.0 day-1)

K_S = 20; % mg-COD*L-1

K_OH = 0.2; % mg-O2*L-1

K_NO = 0.5; % mg-N(NOX)*L-1

eta_g = 0.8;

miu_A = 0.8/24/3600  /2; % s-1 ( = 0.8 day-1)

K_NH = 1.0; % mg-N(NH3)*L-1

K_OA = 0.4; % mg-O2*L-1

Y_H = 0.67; %

Y_A = 0.24;

i_XB = 0.086; %

a_P1_S_S = - 1 / Y_H;

a_P2_S_S = - 1 / Y_H;

a_P1_S_O = - (1 - Y_H) / Y_H;

a_P3_S_O = - (4.57 - Y_A) / Y_A;

a_P2_S_NO = - (1 - Y_H) / Y_H / 2.86;

a_P3_S_NO = 1 / Y_A;

a_P1_S_NH = - i_XB;

a_P2_S_NH = - i_XB;

a_P3_S_NH = - i_XB - 1 / Y_A;

eta_g1 = 0.9;

K_S_g1 = 0.9055;%

K_OH_g1 = 4.894;%

r_NO = 1.167e-5;%

K_NO_g1 = 0.03050;%

eta_g2 = 0.3;

K_OA_g2 = 4.153;

K_NO_g2 =  0.08817;

% Index Initialization

S_S = zeros(T_RUN/dt, N_sec); % mg-COD*L-1

S_O = zeros(T_RUN/dt, N_sec); % mg-O2*L-1

S_NO = zeros(T_RUN/dt, N_sec); % mg-N(NOX)*L-1

S_NH = zeros(T_RUN/dt, N_sec); % mg-N(NH3)*L-1

v_N2O_dn = zeros(1, N_sec);

v_N2O_nt = zeros(1, N_sec);

%v_N2O = zeros(1, N_sec);

% Influent

for i = 1 : dt : T_RUN

S_S(i,1) = 180;

S_O(i,1) = 0.1;

S_NO(i,1) = 0.1;

S_NH(i,1) = 36;

end

%Multi-zoning aeration initialization /uniform aeration

K_LA_max = 12; % h-1

K_Qg = 5.5; %

S_Os = 8;

K_LA_0 = 4.0;

K_LA = zeros(1, N_sec);

for jj = n_ANOXIC_AEROBIC + 1 : N_sec

K_LA(jj) = K_LA_0/3600;

end

%Multi-point dosage initialization /single-point dosage

S_S_dosage_0 = 70 * Q_in;

S_S_dosage = zeros(1, N_sec);

S_S_dosage(2) = S_S_dosage_0;

nn = 1; R = zeros(1, 1);

for i = 1 : dt : T_RUN - 1

for n = 2 : 1 : N_sec

if n == 2

v_P1 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (S_O(i,n)/(K_OH + S_O(i,n))) * X_BH;

v_P2 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (K_OH/(K_OH + S_O(i,n))) * (S_NO(i,n)/(K_NO + S_NO(i,n))) * eta_g * X_BH;

v_P3 = miu_A * (S_NH(i,n)/(K_NH + S_NH(i,n))) * (S_O(i,n)/(K_OA + S_O(i,n))) * X_BA;

v_N2O_dn(n) =miu_H * eta_g1 * (K_S_g1/(K_S_g1 + S_S(i,n))) * (S_O(i,n)/(K_OH_g1 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g1 + r_NO*S_NO(i,n))) * eta_g * X_BH;

v_N2O_nt(n) =miu_A * eta_g2 * (K_OA_g2/(K_OA_g2 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g2 + r_NO*S_NO(i,n))) * X_BA;

dS_S = dt * ((Q_in * S_S(i,n-1) + Q_bf * S_S(i,N_sec) - Q_tr * S_S(i,n) + S_S_dosage(n)) / V_sec + a_P1_S_S * v_P1 + a_P2_S_S * v_P2);

S_S(i+1,n) = S_S(i,n) + dS_S;

if S_S(i+1,n) < 0

S_S(i+1,n) = 0;

end

dS_O = dt * ((Q_in * S_O(i,n-1) + Q_bf * S_O(i,N_sec) - Q_tr * S_O(i,n)) / V_sec + a_P1_S_O * v_P1 + a_P3_S_O * v_P3 + K_LA(n) * (S_Os - S_O(i,n)));

S_O(i+1,n) = S_O(i,n) + dS_O;

if S_O(i+1,n) < 0

S_O(i+1,n) = 0;

end

if S_O(i+1,n) > 8

S_O(i+1,n) = 8;

end

dS_NO = dt * ((Q_in * S_NO(i,n-1) + Q_bf * S_NO(i,N_sec) - Q_tr * S_NO(i,n)) / V_sec + a_P2_S_NO * v_P2 + a_P3_S_NO * v_P3);

S_NO(i+1,n) = S_NO(i,n) + dS_NO;

if S_NO(i+1,n) < 0

S_NO(i+1,n) = 0;

end

dS_NH = dt * ((Q_in * S_NH(i,n-1) + Q_bf * S_NH(i,N_sec) - Q_tr * S_NH(i,n)) / V_sec + a_P1_S_NH * v_P1 + a_P2_S_NH * v_P2 + a_P3_S_NH * v_P3);

S_NH(i+1,n) = S_NH(i,n) + dS_NH;

if S_NH(i+1,n) < 0

S_NH(i+1,n) = 0;

end

end

if n > 2 && n <= n_ANOXIC_AEROBIC

v_P1 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (S_O(i,n)/(K_OH + S_O(i,n))) * X_BH;

v_P2 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (K_OH/(K_OH + S_O(i,n))) * (S_NO(i,n)/(K_NO + S_NO(i,n))) * eta_g * X_BH;

v_P3 = miu_A * (S_NH(i,n)/(K_NH + S_NH(i,n))) * (S_O(i,n)/(K_OA + S_O(i,n))) * X_BA;

v_N2O_dn(n) =miu_H * eta_g1 * (K_S_g1/(K_S_g1 + S_S(i,n))) * (S_O(i,n)/(K_OH_g1 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g1 + r_NO*S_NO(i,n))) * eta_g * X_BH;

v_N2O_nt(n) =miu_A * eta_g2 * (K_OA_g2/(K_OA_g2 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g2 + r_NO*S_NO(i,n))) * X_BA;

dS_S = dt * (Q_tr * (S_S(i,n-1) -  S_S(i,n) + S_S_dosage(n)) / V_sec + a_P1_S_S * v_P1 + a_P2_S_S * v_P2);

S_S(i+1,n) = S_S(i,n) + dS_S;

if S_S(i+1,n) < 0

S_S(i+1,n) = 0;

end

dS_O = dt * (Q_tr * (S_O(i,n-1) -  S_O(i,n)) / V_sec + a_P1_S_O * v_P1 + a_P3_S_O * v_P3 + K_LA(n) * (S_Os - S_O(i,n)));

S_O(i+1,n) = S_O(i,n) + dS_O;

if S_O(i+1,n) < 0

S_O(i+1,n) = 0;

end

if S_O(i+1,n) > 8

S_O(i+1,n) = 8;

end

dS_NO = dt * (Q_tr * (S_NO(i,n-1) -  S_NO(i,n)) / V_sec + a_P2_S_NO * v_P2 + a_P3_S_NO * v_P3);

S_NO(i+1,n) = S_NO(i,n) + dS_NO;

if S_NO(i+1,n) < 0

S_NO(i+1,n) = 0;

end

dS_NH = dt * (Q_tr * (S_NH(i,n-1) -  S_NH(i,n)) / V_sec + a_P1_S_NH * v_P1 + a_P2_S_NH * v_P2 + a_P3_S_NH * v_P3);

S_NH(i+1,n) = S_NH(i,n) + dS_NH;

if S_NH(i+1,n) < 0

S_NH(i+1,n) = 0;

end

end

if n > n_ANOXIC_AEROBIC && n <= N_sec %

v_P1 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (S_O(i,n)/(K_OH + S_O(i,n))) * X_BH;

v_P2 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (K_OH/(K_OH + S_O(i,n))) * (S_NO(i,n)/(K_NO + S_NO(i,n))) * eta_g * X_BH;

v_P3 = miu_A * (S_NH(i,n)/(K_NH + S_NH(i,n))) * (S_O(i,n)/(K_OA + S_O(i,n))) * X_BA;

v_N2O_dn(n) =miu_H * eta_g1 * (K_S_g1/(K_S_g1 + S_S(i,n))) * (S_O(i,n)/(K_OH_g1 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g1 + r_NO*S_NO(i,n))) * eta_g * X_BH;

v_N2O_nt(n) =miu_A * eta_g2 * (K_OA_g2/(K_OA_g2 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g2 + r_NO*S_NO(i,n))) * X_BA;

dS_S = dt * (Q_tr * (S_S(i,n-1) -  S_S(i,n) + S_S_dosage(n)) / V_sec + a_P1_S_S * v_P1 + a_P2_S_S * v_P2);

S_S(i+1,n) = S_S(i,n) + dS_S;

if S_S(i+1,n) < 0

S_S(i+1,n) = 0;

end

dS_O = dt * (Q_tr * (S_O(i,n-1) -  S_O(i,n)) / V_sec + a_P1_S_O * v_P1 + a_P3_S_O * v_P3 + K_LA(n) * (S_Os - S_O(i,n)));

S_O(i+1,n) = S_O(i,n) + dS_O;

if S_O(i+1,n) < 0

S_O(i+1,n) = 0;

end

if S_O(i+1,n) > 8

S_O(i+1,n) = 8;

end

dS_NO = dt * (Q_tr * (S_NO(i,n-1) -  S_NO(i,n)) / V_sec + a_P2_S_NO * v_P2 + a_P3_S_NO * v_P3);

S_NO(i+1,n) = S_NO(i,n) + dS_NO;

if S_NO(i+1,n) < 0

S_NO(i+1,n) = 0;

end

dS_NH = dt * (Q_tr * (S_NH(i,n-1) -  S_NH(i,n)) / V_sec + a_P1_S_NH * v_P1 + a_P2_S_NH * v_P2 + a_P3_S_NH * v_P3);

S_NH(i+1,n) = S_NH(i,n) + dS_NH;

if S_NH(i+1,n) < 0

S_NH(i+1,n) = 0;

end

end

if n == N_sec

v_P1 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (S_O(i,n)/(K_OH + S_O(i,n))) * X_BH;

v_P2 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (K_OH/(K_OH + S_O(i,n))) * (S_NO(i,n)/(K_NO + S_NO(i,n))) * eta_g * X_BH;

v_P3 = miu_A * (S_NH(i,n)/(K_NH + S_NH(i,n))) * (S_O(i,n)/(K_OA + S_O(i,n))) * X_BA;

v_N2O_dn(n) =miu_H * eta_g1 * (K_S_g1/(K_S_g1 + S_S(i,n))) * (S_O(i,n)/(K_OH_g1 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g1 + r_NO*S_NO(i,n))) * eta_g * X_BH;

v_N2O_nt(n) =miu_A * eta_g2 * (K_OA_g2/(K_OA_g2 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g2 + r_NO*S_NO(i,n))) * X_BA;

dS_S = dt * ((Q_tr * S_S(i,n-1) - Q_bf * S_S(i,n) - Q_in * S_S(i,n) + S_S_dosage(n)) / V_sec + a_P1_S_S * v_P1 + a_P2_S_S * v_P2);

S_S(i+1,n) = S_S(i,n) + dS_S;

if S_S(i+1,n) < 0

S_S(i+1,n) = 0;

end

dS_O = dt * ((Q_tr * S_O(i,n-1) - Q_bf * S_O(i,n) - Q_in * S_O(i,n)) / V_sec + a_P1_S_O * v_P1 + a_P3_S_O * v_P3 + K_LA(n) * (S_Os - S_O(i,n)));

S_O(i+1,n) = S_O(i,n) + dS_O;

if S_O(i+1,n) < 0

S_O(i+1,n) = 0;

end

if S_O(i+1,n) > 8

S_O(i+1,n) = 8;

end

dS_NO = dt * ((Q_tr * S_NO(i,n-1) - Q_bf * S_NO(i,n) - Q_in * S_NO(i,n)) / V_sec + a_P2_S_NO * v_P2 + a_P3_S_NO * v_P3);

S_NO(i+1,n) = S_NO(i,n) + dS_NO;

if S_NO(i+1,n) < 0

S_NO(i+1,n) = 0;

end

dS_NH = dt * ((Q_tr * S_NH(i,n-1) - Q_bf * S_NH(i,n) - Q_in * S_NH(i,n)) / V_sec + a_P1_S_NH * v_P1 + a_P2_S_NH * v_P2 + a_P3_S_NH * v_P3);

S_NH(i+1,n) = S_NH(i,n) + dS_NH;

if S_NH(i+1,n) < 0

S_NH(i+1,n) = 0;

end

end

end

end

S_NH_1 = S_NH;

R(nn, 1) = nn;

R(nn, 2) = S_S(T_RUN, N_sec);

R(nn, 3) = 0;

for jj = n_ANOXIC_AEROBIC + 1 : N_sec

R(nn, 3) = R(nn, 3) + S_O(T_RUN, jj)/(N_sec - n_ANOXIC_AEROBIC);

end

R(nn, 4) = 0;

for jj = n_ANOXIC_AEROBIC + 1 : N_sec

R(nn, 4) = R(nn, 4) + K_Qg / (K_LA_max / (K_LA(jj) * 3600) - 1) / V_o * V_sec;

end

R(nn, 5) = S_O(T_RUN, N_sec);

R(nn, 6) = S_NO(T_RUN, N_sec);

R(nn, 7) = S_NH(T_RUN, N_sec);

R(nn, 8) = R(nn, 6) + R(nn, 7);

R(nn, 9) = 0;

for jj = 2 : N_sec

R(nn, 9) = R(nn, 9) + v_N2O_dn(jj) / (N_sec - 1);

end

R(nn, 10) = 0;

for jj = 2 : N_sec

R(nn, 10) = R(nn, 10) + v_N2O_nt(jj) / (N_sec - 1);

end

R(nn, 11) = 100 * (R(nn, 9)+ R(nn, 10)) * V / ((S_NO(1,1) + S_NH(1,1) - R(nn, 8)) * Q_in);

R(nn, 12) = 0;% total number of sensor

R(nn, 13) = 0;%  number of sensor in aerobic

R(nn, 14) = 0;

for jj = 2 : n_ANOXIC_AEROBIC

R(nn, 14) =R(nn, 14)+ S_S_dosage(jj)*3.6;

end

nn = nn + 1;

msgbox('Operation Normal Completed!');

for n_sensor = 3 : 25 % first deployment of aerobic NH4+ sensors

% NH4+ sensor in aerobic zone for aeration

zone_sensor = zeros(3, n_sensor);

zone_sensor(1, 1) = n_ANOXIC_AEROBIC + 1;

zone_sensor(2, 1) = S_NH_1(T_RUN, zone_sensor(1, 1));

zone_sensor(1, n_sensor) = N_sec;

zone_sensor(2, n_sensor) = S_NH_1(T_RUN, zone_sensor(1, n_sensor));

for i_sensor = 2 : n_sensor - 1

zone_sensor(1, i_sensor) = n_ANOXIC_AEROBIC + 1 + round((N_sec - n_ANOXIC_AEROBIC - 1)/(n_sensor - 1) * (i_sensor - 1));

zone_sensor(2, i_sensor) = S_NH_1(T_RUN, zone_sensor(1, i_sensor));

end

for i_sensor = 1 : n_sensor-1

zone_sensor(3, i_sensor) = -(zone_sensor(2, i_sensor+1) - zone_sensor(2, i_sensor))/(zone_sensor(1, i_sensor+1) - zone_sensor(1, i_sensor));

%             if zone_sensor(3, i_sensor)<=0

%                 zone_sensor(3, i_sensor)=exp(zone_sensor(3, i_sensor))/10;

%             end

end

[~,MaxiRow] = max(zone_sensor,[],2);

zone_sensor(4, MaxiRow(3)) = K_LA_0;

for i_sensor = 1 : n_sensor-1

if zone_sensor(3, i_sensor)<=0

zone_sensor(4, i_sensor) = 0;

else

zone_sensor(4, i_sensor) = zone_sensor(4, MaxiRow(3))*sqrt((zone_sensor(3, i_sensor)/zone_sensor(3, MaxiRow(3)))) ;

end

end

K_LA = zeros(1, N_sec); tag_K_LA = 1;

for jj = n_ANOXIC_AEROBIC + 1 : N_sec

K_LA(jj) = zone_sensor(4, tag_K_LA)/3600;

if jj == zone_sensor(1, tag_K_LA + 1)

tag_K_LA = tag_K_LA + 1;

end

end

%Multi-point dosage initialization /uniform dosage

S_S_dosage_0 = 70 * Q_in;

S_S_dosage = zeros(1, N_sec);

for jj = 2 : n_ANOXIC_AEROBIC

S_S_dosage(jj) = S_S_dosage_0 / 20;

end

% Index Initialization

S_S = zeros(T_RUN/dt, N_sec); % mg-COD*L-1

S_O = zeros(T_RUN/dt, N_sec); % mg-O2*L-1

S_NO = zeros(T_RUN/dt, N_sec); % mg-N(NOX)*L-1

S_NH = zeros(T_RUN/dt, N_sec); % mg-N(NH3)*L-1

v_N2O_dn = zeros(1, N_sec);

v_N2O_nt = zeros(1, N_sec);

%v_N2O = zeros(1, N_sec);

% Influent

for i = 1 : dt : T_RUN

S_S(i,1) = 180;

S_O(i,1) = 0.1;

S_NO(i,1) = 0.1;

S_NH(i,1) = 36;

end

for i = 1 : dt : T_RUN - 1

for n = 2 : 1 : N_sec

if n == 2

v_P1 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (S_O(i,n)/(K_OH + S_O(i,n))) * X_BH;

v_P2 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (K_OH/(K_OH + S_O(i,n))) * (S_NO(i,n)/(K_NO + S_NO(i,n))) * eta_g * X_BH;

v_P3 = miu_A * (S_NH(i,n)/(K_NH + S_NH(i,n))) * (S_O(i,n)/(K_OA + S_O(i,n))) * X_BA;

v_N2O_dn(n) =miu_H * eta_g1 * (K_S_g1/(K_S_g1 + S_S(i,n))) * (S_O(i,n)/(K_OH_g1 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g1 + r_NO*S_NO(i,n))) * eta_g * X_BH;

v_N2O_nt(n) =miu_A * eta_g2 * (K_OA_g2/(K_OA_g2 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g2 + r_NO*S_NO(i,n))) * X_BA;

dS_S = dt * ((Q_in * S_S(i,n-1) + Q_bf * S_S(i,N_sec) - Q_tr * S_S(i,n) + S_S_dosage(n)) / V_sec + a_P1_S_S * v_P1 + a_P2_S_S * v_P2);

S_S(i+1,n) = S_S(i,n) + dS_S;

if S_S(i+1,n) < 0

S_S(i+1,n) = 0;

end

dS_O = dt * ((Q_in * S_O(i,n-1) + Q_bf * S_O(i,N_sec) - Q_tr * S_O(i,n)) / V_sec + a_P1_S_O * v_P1 + a_P3_S_O * v_P3 + K_LA(n) * (S_Os - S_O(i,n)));

S_O(i+1,n) = S_O(i,n) + dS_O;

if S_O(i+1,n) < 0

S_O(i+1,n) = 0;

end

if S_O(i+1,n) > 8

S_O(i+1,n) = 8;

end

dS_NO = dt * ((Q_in * S_NO(i,n-1) + Q_bf * S_NO(i,N_sec) - Q_tr * S_NO(i,n)) / V_sec + a_P2_S_NO * v_P2 + a_P3_S_NO * v_P3);

S_NO(i+1,n) = S_NO(i,n) + dS_NO;

if S_NO(i+1,n) < 0

S_NO(i+1,n) = 0;

end

dS_NH = dt * ((Q_in * S_NH(i,n-1) + Q_bf * S_NH(i,N_sec) - Q_tr * S_NH(i,n)) / V_sec + a_P1_S_NH * v_P1 + a_P2_S_NH * v_P2 + a_P3_S_NH * v_P3);

S_NH(i+1,n) = S_NH(i,n) + dS_NH;

if S_NH(i+1,n) < 0

S_NH(i+1,n) = 0;

end

end

if n > 2 && n <= n_ANOXIC_AEROBIC

v_P1 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (S_O(i,n)/(K_OH + S_O(i,n))) * X_BH;

v_P2 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (K_OH/(K_OH + S_O(i,n))) * (S_NO(i,n)/(K_NO + S_NO(i,n))) * eta_g * X_BH;

v_P3 = miu_A * (S_NH(i,n)/(K_NH + S_NH(i,n))) * (S_O(i,n)/(K_OA + S_O(i,n))) * X_BA;

v_N2O_dn(n) =miu_H * eta_g1 * (K_S_g1/(K_S_g1 + S_S(i,n))) * (S_O(i,n)/(K_OH_g1 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g1 + r_NO*S_NO(i,n))) * eta_g * X_BH;

v_N2O_nt(n) =miu_A * eta_g2 * (K_OA_g2/(K_OA_g2 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g2 + r_NO*S_NO(i,n))) * X_BA;

dS_S = dt * (Q_tr * (S_S(i,n-1) -  S_S(i,n) + S_S_dosage(n)) / V_sec + a_P1_S_S * v_P1 + a_P2_S_S * v_P2);

S_S(i+1,n) = S_S(i,n) + dS_S;

if S_S(i+1,n) < 0

S_S(i+1,n) = 0;

end

dS_O = dt * (Q_tr * (S_O(i,n-1) -  S_O(i,n)) / V_sec + a_P1_S_O * v_P1 + a_P3_S_O * v_P3 + K_LA(n) * (S_Os - S_O(i,n)));

S_O(i+1,n) = S_O(i,n) + dS_O;

if S_O(i+1,n) < 0

S_O(i+1,n) = 0;

end

if S_O(i+1,n) > 8

S_O(i+1,n) = 8;

end

dS_NO = dt * (Q_tr * (S_NO(i,n-1) -  S_NO(i,n)) / V_sec + a_P2_S_NO * v_P2 + a_P3_S_NO * v_P3);

S_NO(i+1,n) = S_NO(i,n) + dS_NO;

if S_NO(i+1,n) < 0

S_NO(i+1,n) = 0;

end

dS_NH = dt * (Q_tr * (S_NH(i,n-1) -  S_NH(i,n)) / V_sec + a_P1_S_NH * v_P1 + a_P2_S_NH * v_P2 + a_P3_S_NH * v_P3);

S_NH(i+1,n) = S_NH(i,n) + dS_NH;

if S_NH(i+1,n) < 0

S_NH(i+1,n) = 0;

end

end

if n > n_ANOXIC_AEROBIC && n <= N_sec

v_P1 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (S_O(i,n)/(K_OH + S_O(i,n))) * X_BH;

v_P2 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (K_OH/(K_OH + S_O(i,n))) * (S_NO(i,n)/(K_NO + S_NO(i,n))) * eta_g * X_BH;

v_P3 = miu_A * (S_NH(i,n)/(K_NH + S_NH(i,n))) * (S_O(i,n)/(K_OA + S_O(i,n))) * X_BA;

v_N2O_dn(n) =miu_H * eta_g1 * (K_S_g1/(K_S_g1 + S_S(i,n))) * (S_O(i,n)/(K_OH_g1 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g1 + r_NO*S_NO(i,n))) * eta_g * X_BH;

v_N2O_nt(n) =miu_A * eta_g2 * (K_OA_g2/(K_OA_g2 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g2 + r_NO*S_NO(i,n))) * X_BA;

dS_S = dt * (Q_tr * (S_S(i,n-1) -  S_S(i,n) + S_S_dosage(n)) / V_sec + a_P1_S_S * v_P1 + a_P2_S_S * v_P2);

S_S(i+1,n) = S_S(i,n) + dS_S;

if S_S(i+1,n) < 0

S_S(i+1,n) = 0;

end

dS_O = dt * (Q_tr * (S_O(i,n-1) -  S_O(i,n)) / V_sec + a_P1_S_O * v_P1 + a_P3_S_O * v_P3 + K_LA(n) * (S_Os - S_O(i,n)));

S_O(i+1,n) = S_O(i,n) + dS_O;

if S_O(i+1,n) < 0

S_O(i+1,n) = 0;

end

if S_O(i+1,n) > 8

S_O(i+1,n) = 8;

end

dS_NO = dt * (Q_tr * (S_NO(i,n-1) -  S_NO(i,n)) / V_sec + a_P2_S_NO * v_P2 + a_P3_S_NO * v_P3);

S_NO(i+1,n) = S_NO(i,n) + dS_NO;

if S_NO(i+1,n) < 0

S_NO(i+1,n) = 0;

end

dS_NH = dt * (Q_tr * (S_NH(i,n-1) -  S_NH(i,n)) / V_sec + a_P1_S_NH * v_P1 + a_P2_S_NH * v_P2 + a_P3_S_NH * v_P3);

S_NH(i+1,n) = S_NH(i,n) + dS_NH;

if S_NH(i+1,n) < 0

S_NH(i+1,n) = 0;

end

end

if n == N_sec

v_P1 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (S_O(i,n)/(K_OH + S_O(i,n))) * X_BH;

v_P2 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (K_OH/(K_OH + S_O(i,n))) * (S_NO(i,n)/(K_NO + S_NO(i,n))) * eta_g * X_BH;

v_P3 = miu_A * (S_NH(i,n)/(K_NH + S_NH(i,n))) * (S_O(i,n)/(K_OA + S_O(i,n))) * X_BA;

v_N2O_dn(n) =miu_H * eta_g1 * (K_S_g1/(K_S_g1 + S_S(i,n))) * (S_O(i,n)/(K_OH_g1 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g1 + r_NO*S_NO(i,n))) * eta_g * X_BH;

v_N2O_nt(n) =miu_A * eta_g2 * (K_OA_g2/(K_OA_g2 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g2 + r_NO*S_NO(i,n))) * X_BA;

dS_S = dt * ((Q_tr * S_S(i,n-1) - Q_bf * S_S(i,n) - Q_in * S_S(i,n) + S_S_dosage(n)) / V_sec + a_P1_S_S * v_P1 + a_P2_S_S * v_P2);

S_S(i+1,n) = S_S(i,n) + dS_S;

if S_S(i+1,n) < 0

S_S(i+1,n) = 0;

end

dS_O = dt * ((Q_tr * S_O(i,n-1) - Q_bf * S_O(i,n) - Q_in * S_O(i,n)) / V_sec + a_P1_S_O * v_P1 + a_P3_S_O * v_P3 + K_LA(n) * (S_Os - S_O(i,n)));

S_O(i+1,n) = S_O(i,n) + dS_O;

if S_O(i+1,n) < 0

S_O(i+1,n) = 0;

end

if S_O(i+1,n) > 8

S_O(i+1,n) = 8;

end

dS_NO = dt * ((Q_tr * S_NO(i,n-1) - Q_bf * S_NO(i,n) - Q_in * S_NO(i,n)) / V_sec + a_P2_S_NO * v_P2 + a_P3_S_NO * v_P3);

S_NO(i+1,n) = S_NO(i,n) + dS_NO;

if S_NO(i+1,n) < 0

S_NO(i+1,n) = 0;

end

dS_NH = dt * ((Q_tr * S_NH(i,n-1) - Q_bf * S_NH(i,n) - Q_in * S_NH(i,n)) / V_sec + a_P1_S_NH * v_P1 + a_P2_S_NH * v_P2 + a_P3_S_NH * v_P3);

S_NH(i+1,n) = S_NH(i,n) + dS_NH;

if S_NH(i+1,n) < 0

S_NH(i+1,n) = 0;

end

end

end

end

S_NO_2 = S_NO;

for n_sensor_dosage = 3 : 25 % Secondly deploy NO3 sensor

zone_sensor_dosage = zeros(3, n_sensor_dosage);

zone_sensor_dosage(1, 1) = 2;

zone_sensor_dosage(2, 1) = S_NO_2(T_RUN, n_sensor_dosage(1, 1));

zone_sensor_dosage(1, n_sensor_dosage) = n_ANOXIC_AEROBIC;

zone_sensor_dosage(2, n_sensor_dosage) = S_NO_2(T_RUN, zone_sensor_dosage(1, n_sensor_dosage));

for i_sensor = 2 : n_sensor_dosage - 1

zone_sensor_dosage(1, i_sensor) = 2 + round((n_ANOXIC_AEROBIC  - 2)/(n_sensor_dosage - 1) * (i_sensor - 1));

zone_sensor_dosage(2, i_sensor) = S_NO_2(T_RUN, zone_sensor_dosage(1, i_sensor));

end

for i_sensor = 1 : n_sensor_dosage-1

zone_sensor_dosage(3, i_sensor) = -(zone_sensor_dosage(2, i_sensor+1) - zone_sensor_dosage(2, i_sensor))/(zone_sensor_dosage(1, i_sensor+1) - zone_sensor_dosage(1, i_sensor));

%             if zone_sensor_dosage(3, i_sensor)<=0

%                 zone_sensor_dosage(3, i_sensor)=exp(zone_sensor_dosage(3, i_sensor))/10;

%             end

end

[~,MaxiRow] = max(zone_sensor_dosage,[],2);

zone_sensor_dosage(4, MaxiRow(3)) = S_S_dosage_0/20;

for i_sensor = 1 : n_sensor_dosage-1

if zone_sensor_dosage(3, i_sensor) <=0

zone_sensor_dosage(4, i_sensor) = 0;

else

zone_sensor_dosage(4, i_sensor) = zone_sensor_dosage(4, MaxiRow(3))*sqrt((zone_sensor_dosage(3, i_sensor)/zone_sensor_dosage(3, MaxiRow(3)))) ;

end

end

S_S_dosage = zeros(1, N_sec); tag_S_S_dosage = 1;

for jj = 2 : n_ANOXIC_AEROBIC

S_S_dosage(jj) = zone_sensor_dosage(4, tag_S_S_dosage);

if jj == zone_sensor_dosage(1, tag_S_S_dosage + 1)

tag_S_S_dosage = tag_S_S_dosage + 1;

end

end

for i = 1 : dt : T_RUN - 1

for n = 2 : 1 : N_sec

if n == 2

v_P1 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (S_O(i,n)/(K_OH + S_O(i,n))) * X_BH;

v_P2 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (K_OH/(K_OH + S_O(i,n))) * (S_NO(i,n)/(K_NO + S_NO(i,n))) * eta_g * X_BH;

v_P3 = miu_A * (S_NH(i,n)/(K_NH + S_NH(i,n))) * (S_O(i,n)/(K_OA + S_O(i,n))) * X_BA;

v_N2O_dn(n) =miu_H * eta_g1 * (K_S_g1/(K_S_g1 + S_S(i,n))) * (S_O(i,n)/(K_OH_g1 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g1 + r_NO*S_NO(i,n))) * eta_g * X_BH;

v_N2O_nt(n) =miu_A * eta_g2 * (K_OA_g2/(K_OA_g2 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g2 + r_NO*S_NO(i,n))) * X_BA;

dS_S = dt * ((Q_in * S_S(i,n-1) + Q_bf * S_S(i,N_sec) - Q_tr * S_S(i,n) + S_S_dosage(n)) / V_sec + a_P1_S_S * v_P1 + a_P2_S_S * v_P2);

S_S(i+1,n) = S_S(i,n) + dS_S;

if S_S(i+1,n) < 0

S_S(i+1,n) = 0;

end

dS_O = dt * ((Q_in * S_O(i,n-1) + Q_bf * S_O(i,N_sec) - Q_tr * S_O(i,n)) / V_sec + a_P1_S_O * v_P1 + a_P3_S_O * v_P3 + K_LA(n) * (S_Os - S_O(i,n)));

S_O(i+1,n) = S_O(i,n) + dS_O;

if S_O(i+1,n) < 0

S_O(i+1,n) = 0;

end

if S_O(i+1,n) > 8

S_O(i+1,n) = 8;

end

dS_NO = dt * ((Q_in * S_NO(i,n-1) + Q_bf * S_NO(i,N_sec) - Q_tr * S_NO(i,n)) / V_sec + a_P2_S_NO * v_P2 + a_P3_S_NO * v_P3);

S_NO(i+1,n) = S_NO(i,n) + dS_NO;

if S_NO(i+1,n) < 0

S_NO(i+1,n) = 0;

end

dS_NH = dt * ((Q_in * S_NH(i,n-1) + Q_bf * S_NH(i,N_sec) - Q_tr * S_NH(i,n)) / V_sec + a_P1_S_NH * v_P1 + a_P2_S_NH * v_P2 + a_P3_S_NH * v_P3);

S_NH(i+1,n) = S_NH(i,n) + dS_NH;

if S_NH(i+1,n) < 0

S_NH(i+1,n) = 0;

end

end

if n > 2 && n <= n_ANOXIC_AEROBIC

v_P1 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (S_O(i,n)/(K_OH + S_O(i,n))) * X_BH;

v_P2 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (K_OH/(K_OH + S_O(i,n))) * (S_NO(i,n)/(K_NO + S_NO(i,n))) * eta_g * X_BH;

v_P3 = miu_A * (S_NH(i,n)/(K_NH + S_NH(i,n))) * (S_O(i,n)/(K_OA + S_O(i,n))) * X_BA;

v_N2O_dn(n) =miu_H * eta_g1 * (K_S_g1/(K_S_g1 + S_S(i,n))) * (S_O(i,n)/(K_OH_g1 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g1 + r_NO*S_NO(i,n))) * eta_g * X_BH;

v_N2O_nt(n) =miu_A * eta_g2 * (K_OA_g2/(K_OA_g2 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g2 + r_NO*S_NO(i,n))) * X_BA;

dS_S = dt * (Q_tr * (S_S(i,n-1) -  S_S(i,n) + S_S_dosage(n)) / V_sec + a_P1_S_S * v_P1 + a_P2_S_S * v_P2);

S_S(i+1,n) = S_S(i,n) + dS_S;

if S_S(i+1,n) < 0

S_S(i+1,n) = 0;

end

dS_O = dt * (Q_tr * (S_O(i,n-1) -  S_O(i,n)) / V_sec + a_P1_S_O * v_P1 + a_P3_S_O * v_P3 + K_LA(n) * (S_Os - S_O(i,n)));

S_O(i+1,n) = S_O(i,n) + dS_O;

if S_O(i+1,n) < 0

S_O(i+1,n) = 0;

end

if S_O(i+1,n) > 8

S_O(i+1,n) = 8;

end

dS_NO = dt * (Q_tr * (S_NO(i,n-1) -  S_NO(i,n)) / V_sec + a_P2_S_NO * v_P2 + a_P3_S_NO * v_P3);

S_NO(i+1,n) = S_NO(i,n) + dS_NO;

if S_NO(i+1,n) < 0

S_NO(i+1,n) = 0;

end

dS_NH = dt * (Q_tr * (S_NH(i,n-1) -  S_NH(i,n)) / V_sec + a_P1_S_NH * v_P1 + a_P2_S_NH * v_P2 + a_P3_S_NH * v_P3);

S_NH(i+1,n) = S_NH(i,n) + dS_NH;

if S_NH(i+1,n) < 0

S_NH(i+1,n) = 0;

end

end

if n > n_ANOXIC_AEROBIC && n <= N_sec

v_P1 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (S_O(i,n)/(K_OH + S_O(i,n))) * X_BH;

v_P2 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (K_OH/(K_OH + S_O(i,n))) * (S_NO(i,n)/(K_NO + S_NO(i,n))) * eta_g * X_BH;

v_P3 = miu_A * (S_NH(i,n)/(K_NH + S_NH(i,n))) * (S_O(i,n)/(K_OA + S_O(i,n))) * X_BA;

v_N2O_dn(n) =miu_H * eta_g1 * (K_S_g1/(K_S_g1 + S_S(i,n))) * (S_O(i,n)/(K_OH_g1 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g1 + r_NO*S_NO(i,n))) * eta_g * X_BH;

v_N2O_nt(n) =miu_A * eta_g2 * (K_OA_g2/(K_OA_g2 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g2 + r_NO*S_NO(i,n))) * X_BA;

dS_S = dt * (Q_tr * (S_S(i,n-1) -  S_S(i,n) + S_S_dosage(n)) / V_sec + a_P1_S_S * v_P1 + a_P2_S_S * v_P2);

S_S(i+1,n) = S_S(i,n) + dS_S;

if S_S(i+1,n) < 0

S_S(i+1,n) = 0;

end

dS_O = dt * (Q_tr * (S_O(i,n-1) -  S_O(i,n)) / V_sec + a_P1_S_O * v_P1 + a_P3_S_O * v_P3 + K_LA(n) * (S_Os - S_O(i,n)));

S_O(i+1,n) = S_O(i,n) + dS_O;

if S_O(i+1,n) < 0

S_O(i+1,n) = 0;

end

if S_O(i+1,n) > 8

S_O(i+1,n) = 8;

end

dS_NO = dt * (Q_tr * (S_NO(i,n-1) -  S_NO(i,n)) / V_sec + a_P2_S_NO * v_P2 + a_P3_S_NO * v_P3);

S_NO(i+1,n) = S_NO(i,n) + dS_NO;

if S_NO(i+1,n) < 0

S_NO(i+1,n) = 0;

end

dS_NH = dt * (Q_tr * (S_NH(i,n-1) -  S_NH(i,n)) / V_sec + a_P1_S_NH * v_P1 + a_P2_S_NH * v_P2 + a_P3_S_NH * v_P3);

S_NH(i+1,n) = S_NH(i,n) + dS_NH;

if S_NH(i+1,n) < 0

S_NH(i+1,n) = 0;

end

end

if n == N_sec

v_P1 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (S_O(i,n)/(K_OH + S_O(i,n))) * X_BH;

v_P2 = miu_H * (S_S(i,n)/(K_S + S_S(i,n))) * (K_OH/(K_OH + S_O(i,n))) * (S_NO(i,n)/(K_NO + S_NO(i,n))) * eta_g * X_BH;

v_P3 = miu_A * (S_NH(i,n)/(K_NH + S_NH(i,n))) * (S_O(i,n)/(K_OA + S_O(i,n))) * X_BA;

v_N2O_dn(n) =miu_H * eta_g1 * (K_S_g1/(K_S_g1 + S_S(i,n))) * (S_O(i,n)/(K_OH_g1 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g1 + r_NO*S_NO(i,n))) * eta_g * X_BH;

v_N2O_nt(n) =miu_A * eta_g2 * (K_OA_g2/(K_OA_g2 + S_O(i,n))) * (r_NO*S_NO(i,n)/(K_NO_g2 + r_NO*S_NO(i,n))) * X_BA;

dS_S = dt * ((Q_tr * S_S(i,n-1) - Q_bf * S_S(i,n) - Q_in * S_S(i,n) + S_S_dosage(n)) / V_sec + a_P1_S_S * v_P1 + a_P2_S_S * v_P2);

S_S(i+1,n) = S_S(i,n) + dS_S;

if S_S(i+1,n) < 0

S_S(i+1,n) = 0;

end

dS_O = dt * ((Q_tr * S_O(i,n-1) - Q_bf * S_O(i,n) - Q_in * S_O(i,n)) / V_sec + a_P1_S_O * v_P1 + a_P3_S_O * v_P3 + K_LA(n) * (S_Os - S_O(i,n)));

S_O(i+1,n) = S_O(i,n) + dS_O;

if S_O(i+1,n) < 0

S_O(i+1,n) = 0;

end

if S_O(i+1,n) > 8

S_O(i+1,n) = 8;

end

dS_NO = dt * ((Q_tr * S_NO(i,n-1) - Q_bf * S_NO(i,n) - Q_in * S_NO(i,n)) / V_sec + a_P2_S_NO * v_P2 + a_P3_S_NO * v_P3);

S_NO(i+1,n) = S_NO(i,n) + dS_NO;

if S_NO(i+1,n) < 0

S_NO(i+1,n) = 0;

end

dS_NH = dt * ((Q_tr * S_NH(i,n-1) - Q_bf * S_NH(i,n) - Q_in * S_NH(i,n)) / V_sec + a_P1_S_NH * v_P1 + a_P2_S_NH * v_P2 + a_P3_S_NH * v_P3);

S_NH(i+1,n) = S_NH(i,n) + dS_NH;

if S_NH(i+1,n) < 0

S_NH(i+1,n) = 0;

end

end

end

end

R(nn, 1) = nn;

R(nn, 2) = S_S(T_RUN, N_sec);

R(nn, 3) = 0;

for jj = n_ANOXIC_AEROBIC + 1 : N_sec

R(nn, 3) = R(nn, 3) + S_O(T_RUN, jj)/(N_sec - n_ANOXIC_AEROBIC);

end

R(nn, 4) = 0;

for jj = n_ANOXIC_AEROBIC + 1 : N_sec

R(nn, 4) = R(nn, 4) + K_Qg / (K_LA_max / (K_LA(jj) * 3600) - 1) / V_o * V_sec;

end

R(nn, 5) = S_O(T_RUN, N_sec);

R(nn, 6) = S_NO(T_RUN, N_sec);

R(nn, 7) = S_NH(T_RUN, N_sec);

R(nn, 8) = R(nn, 6) + R(nn, 7);

R(nn, 9) = 0;

for jj = 2 : N_sec

R(nn, 9) = R(nn, 9) + v_N2O_dn(jj) / (N_sec - 1);

end

R(nn, 10) = 0;

for jj = 2 : N_sec

R(nn, 10) = R(nn, 10) + v_N2O_nt(jj) / (N_sec - 1);

end

R(nn, 11) = 100 * (R(nn, 9)+ R(nn, 10)) * V / ((S_NO(1,1) + S_NH(1,1) - R(nn, 8)) * Q_in);

% [mini, Row_mini] = min(R);

R(nn, 12) = n_sensor_dosage + n_sensor;% total number of sensor

R(nn, 13) = n_sensor;%  number of sensor for aerobic NH4+

R(nn, 14) = 0;

for jj = 2 : n_ANOXIC_AEROBIC

R(nn, 14) =R(nn, 14)+ S_S_dosage(jj)*3.6*20 /(n_ANOXIC_AEROBIC-2+1);

end

nn = nn + 1;

end

end

% msgbox('Operation Mass Deploymeng Completed!');

load gong

sound(y,Fs)

Reference

1.	Henze, M., Gujer, W., Mino, T. & van Loosdrecht, M. C. M. Activated sludge models ASM1, ASM2, ASM2d and ASM3. (IWA Publishing, 2000).

2.	Kampschreur, M. J., Temmink, H., Kleerebezem, R., Jetten, M. S. & van Loosdrecht, M. C. Nitrous oxide emission during wastewater treatment. Water Res. 43, 4093–4103 (2009).

3.	Vasilaki, V., Massara, T. M., Stanchev, P., Fatone, F. & Katsou, E. A decade of nitrous oxide (N2O) monitoring in full-scale wastewater treatment processes: a critical review. Water Res. 161, 392–412 (2019).

4.	Martin, C. & Vanrolleghem, P. A. Analysing, completing, and generating influent data for WWTP modelling: a critical review. Environ. Model. Softw. 60, 188–201 (2014).

5.	Christoforidou, P., Bariamis, G., Iosifidou, M., Nikolaidou, E. & Samaras, P. Energy benchmarking and optimization of wastewater treatment plants in Greece. Environ. Sci. Proc. 2, 36 (2020).

6.	Ni, B.-J., Ye, L., Law, Y., Byers, C. & Yuan, Z. Mathematical Modeling of Nitrous Oxide (N2O) Emissions from Full-Scale Wastewater Treatment Plants. Environ. Sci. Technol. 47, 7795–7803 (2013).

7.	Rieger, L., Alex, J., Gujer, W. & Siegrist, H. Modelling of aeration systems at wastewater treatment plants. Water Sci. Technol. 53, 439–447 (2006).

8.	Tang, H. L. & Chen, H. Nitrification at full-scale municipal wastewater treatment plants: Evaluation of inhibition and bioaugmentation of nitrifiers. Bioresour. Technol. 190, 76–81 (2015).

9.	Liu, C., Li, S. & Zhang, F. The oxygen transfer efficiency and economic cost analysis of aeration system in municipal wastewater treatment plant. Energy Procedia 5, 2437–2443 (2011).

10.	Song, H. et al. Advanced treatment of low C/N ratio wastewater treatment plant effluent using a denitrification biological filter: Insight into the effect of medium particle size and hydraulic retention time. Environ. Technol. Innov. 24, 102044 (2021).