Appendix 1. DDcTV-CP algorithm

The DDcTV model can be formulated as

u*=argminuuTV ,     s.t.   g-Au2≤ϵ,       (A1)

where, ϵ  is a model parameter, referred to as the data tolerance parameter, which governs the acceptable noise level and system inconsistency in the reconstructed image. To balance the relative magnitude of data fidelity term and TV regularization term, we introduce two balance parameters for (A1) and formulate a new DDcTV model as

u*=argminu νuTV ,     s.t.   λg-Au2≤λϵ,      (A2)

where, λ and ν are the two balance parameters, which do not impact the solution of (A1) but may impact the convergence rate of the solving algorithm when solving (A2).

By use of the CP algorithm framework, we may derive the CP algorithm instance to solve (A2), which is shown in Algorithm A1.

Algorithm A1. Pseudocode for N steps of the DDcTV-CP algorithm.

INPUT: g, A, D ϵ; λ, b

1: νA=A2D2; ν=bνA

2: L=λAνD2; σ=1L, τ=1L, θ=1, n=0

3: u0=0;p0=0; q0=0; u0=0

4: Repeat

5: a=pn+σλ(Aun-g)

6: pn+1=maxa2-σλϵ,0×a/a2

7: c=qn+σνDun

8: qn+1=c/max1I,cmag

9: un+1=un-τλATpn+1-τνDTqn+1

10: un+1=un+1+θun+1-un

11: n=n+1

12: Until n≥N

OUTPUT: The designed solution uN .

In Algorithm A1, u,u ∈ RN, p, a ∈ RM, q, c ∈ R2N. In line 8, 1I ∈RN is a ‘1’ vector. In line 1 and 2, the calculation algorithm of A2, D2 and L is referred to ref. [18] of this paper.