## 16s
Cw: wild copies from marker i in DNA extract [copies].
V0: volume of spike-in solution added to pure spike-in DNA extraction [μL].
Cs0: spike-in copies from marker i in pure spike-in DNA extraction [copies].
V1: volume of spike-in necessary to get desired R [μL].
R: ratio of spike-in copies with respect to the total.
D0: dilution factor of spike-in DNA extract in qPCR.
D1: dilution factor of biological sample DNA extract in qPCR.
M: soil mass used in DNA extraction [g]
[10 empty] | For that given sample | Per gram of soil
well | sample | ct | Cw | Cs0 | D1 | D0 | V0 | R | M | V1 | V1 (g soil) | average | sd | min | max
A02 | mcs033_1/25 | 16.6628 | 2157.7826 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.25 | 3.5229 | 14.0916 | 2.3006 | 0.72203 | 1.1295 | 3.7883
A03 | mcs033_1/25 | 16.5376 | 2295.4482 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.25 | 3.7477 | 14.9907
A04 | mcs033_1/25 | 16.5158 | 2320.3139 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.25 | 3.7883 | 15.1531
B02 | mcs034_1/25 | 16.9705 | 1853.7515 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.257 | 3.0265 | 11.7764
B03 | mcs034_1/25 | 16.9614 | 1862.0183 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.257 | 3.04 | 11.8289
B04 | mcs034_1/25 | 16.9481 | 1874.3691 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.257 | 3.0602 | 11.9074
C02 | mcs035_1/25 | 18.0207 | 1103.7289 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.254 | 1.802 | 7.0945
C03 | mcs035_1/25 | 18.082 | 1070.8389 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.254 | 1.7483 | 6.8831
C04 | mcs035_1/25 | 18.1283 | 1046.6163 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.254 | 1.7088 | 6.7274
D02 | mcs036_1/25 | 17.5481 | 1393.7856 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.249 | 2.2756 | 9.1388
D03 | mcs036_1/25 | 17.4292 | 1478.0728 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.249 | 2.4132 | 9.6915
D05 | mcs036_1/25 | 17.498 | 1428.7116 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.249 | 2.3326 | 9.3678
E02 | mcs037_1/25 | 17.3881 | 1508.3117 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.251 | 2.4625 | 9.811
E03 | mcs037_1/25 | 17.3935 | 1504.3616 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.251 | 2.4561 | 9.7853
E04 | mcs037_1/25 | 17.4668 | 1450.8705 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.251 | 2.3688 | 9.4373
F02 | mcs038_1/25 | 17.8807 | 1182.7062 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.251 | 1.9309 | 7.693
F03 | mcs038_1/25 | 17.7589 | 1255.9912 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.251 | 2.0506 | 8.1697
F04 | mcs038_1/25 | 17.6563 | 1321.2703 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.251 | 2.1572 | 8.5943
G02 | mcs039_1/25 | 18.1894 | 1015.5222 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.248 | 1.658 | 6.6855
G03 | mcs039_1/25 | 18.3959 | 917.0702 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.248 | 1.4973 | 6.0373
G04 | mcs039_1/25 | 18.1722 | 1024.1739 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.248 | 1.6721 | 6.7424
H02 | mcs040_1/25 | 18.9669 | 691.7984 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.257 | 1.1295 | 4.3948
H03 | mcs040_1/25 | 18.7377 | 774.6637 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.257 | 1.2648 | 4.9212
H04 | mcs040_1/25 | 18.6427 | 811.885 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.257 | 1.3255 | 5.1577
A05 | mcs041_1/25 | 16.8126 | 2003.9956 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.252 | 3.2718 | 12.9835
A06 | mcs041_1/25 | 16.7616 | 2055.093 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.252 | 3.3553 | 13.3145
F05 | mcs041_1/25 | 16.6822 | 2137.227 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.252 | 3.4894 | 13.8466
B05 | mcs042_1/25 | 17.5214 | 1412.3044 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.253 | 2.3058 | 9.1138
B06 | mcs042_1/25 | 17.5913 | 1364.3591 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.253 | 2.2275 | 8.8044
F06 | mcs042_1/25 | 17.6243 | 1342.2863 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.253 | 2.1915 | 8.662
C05 | mcs043_1/25 | 18.1749 | 1022.7994 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.25 | 1.6699 | 6.6795
C06 | mcs043_1/25 | 18.2044 | 1008.0053 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.25 | 1.6457 | 6.5829
G05 | mcs043_1/25 | 18.1667 | 1026.966 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.25 | 1.6767 | 6.7067
D04 | mcs044_1/25 | 17.688 | 1300.736 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.251 | 2.1237 | 8.4608
D06 | mcs044_1/25 | 17.5616 | 1384.5325 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.251 | 2.2605 | 9.0058
G06 | mcs044_1/25 | 17.6482 | 1326.5532 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0.251 | 2.1658 | 8.6287
E05 | mcs046_1/25_ext- | 34.3744 | 0.34384 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0 | 0.00056137 | #DIV/0!
E06 | mcs046_1/25_ext- | 34.9051 | 0.26459 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0 | 0.00043198 | #DIV/0!
H05 | mcs046_1/25_ext- | 35.3889 | 0.20836 | 3125 | 64.1026 | 2.5641 | 10 | 0.02 | 0 | 0.00034018 | #DIV/0!
G01 | pcr- | NeuN | NeuN | [5 empty] | - |  | #VALUE!
A01 | std1_1 | 15.7833 | 3125 | [5 empty] | - |  | #VALUE!
B01 | std2_1/5 | 19.142 | 625 | [5 empty] | - |  | #VALUE!
C01 | std3_1/25 | 22.6465 | 125 | [5 empty] | - |  | #VALUE!
D01 | std4_1/125 outlier |  | 25 | [5 empty] | - |  | #VALUE!
E01 | std5_1/625 | 29.0637 | 5 | [5 empty] | - |  | #VALUE!
F01 | std6_1/625 | 32.0433 | 1 | [5 empty] | - |  | #VALUE!

## its
Cw: wild copies from marker i in DNA extract [copies].
V0: volume of spike-in solution added to pure spike-in DNA extraction [μL].
Cs0: spike-in copies from marker i in pure spike-in DNA extraction [copies].
V1: volume of spike-in necessary to get desired R [μL].
R: ratio of spike-in copies with respect to the total.
D0: dilution factor of spike-in DNA extract in qPCR.
D1: dilution factor of biological sample DNA extract in qPCR.
M: soil mass used in DNA extraction [g]
[10 empty] | For that given sample | Per gram of soil | if using a 10^7 cells/ul solution of Yarrowia
well | sample | ct | Cw | Cs0 | D1 | D0 | V0 | R | M | V1 | V1 (g soil) |  | average | sd | min | max
A08 | mcs033_1/25 | 19.3199 | 43326.1622 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.25 | 70.0221 | 280.0883 | 7.0022 | 4.6889 | 1.9029 | 1.2852 | 8.2005
A09 | mcs033_1/25 | 19.2644 | 44798.2144 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.25 | 72.4012 | 289.6046 | 7.2401
A10 | mcs033_1/25 | 19.2186 | 46050.8842 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.25 | 74.4257 | 297.7027 | 7.4426
B08 | mcs034_1/25 | 19.0575 | 50740.3632 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.257 | 82.0046 | 319.0842 | 8.2005
B09 | mcs034_1/25 | 19.15 | 47992.9538 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.257 | 77.5644 | 301.8069 | 7.7564
B10 | mcs034_1/25 | 19.0741 | 50235.8442 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.257 | 81.1892 | 315.9115 | 8.1189
C08 | mcs035_1/25 | 20.0158 | 28495.2172 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.254 | 46.0529 | 181.3105 | 4.6053
C09 | mcs035_1/25 | 19.7413 | 33615.8859 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.254 | 54.3287 | 213.8925 | 5.4329
C10 | mcs035_1/25 | 20.049 | 27930.7295 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.254 | 45.1406 | 177.7188 | 4.5141
D08 | mcs036_1/25 | 20.9068 | 16664.4093 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.249 | 26.9324 | 108.1622 | 2.6932
D09 | mcs036_1/25 | 20.8966 | 16767.2252 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.249 | 27.0985 | 108.8295 | 2.7099
D10 | mcs036_1/25 | 20.9167 | 16565.3843 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.249 | 26.7723 | 107.5194 | 2.6772
E08 | mcs037_1/25 | 19.7443 | 33556.2095 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.251 | 54.2323 | 216.0648 | 5.4232
E09 | mcs037_1/25 | 19.835 | 31772.2812 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.251 | 51.3491 | 204.5783 | 5.1349
E10 | mcs037_1/25 | 19.9878 | 28978.8897 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.251 | 46.8346 | 186.5919 | 4.6835
F08 | mcs038_1/25 | 19.8327 | 31816.5995 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.251 | 51.4208 | 204.8636 | 5.1421
F09 | mcs038_1/25 | 19.8068 | 32316.9044 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.251 | 52.2293 | 208.085 | 5.2229
F10 | mcs038_1/25 | 19.8353 | 31767.5291 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.251 | 51.3415 | 204.5477 | 5.1341
G08 | mcs039_1/25 | 20.1757 | 25879.3401 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.248 | 41.8252 | 168.65 | 4.1825
G09 | mcs039_1/25 | 20.1935 | 25603.5371 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.248 | 41.3795 | 166.8526 | 4.1379
G10 | mcs039_1/25 | 20.1617 | 26099.3647 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.248 | 42.1808 | 170.0838 | 4.2181
H08 | mcs040_1/25 | 22.1356 | 7951.939 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.257 | 12.8516 | 50.0063 | 1.2852
H09 | mcs040_1/25 | 22.0465 | 8390.2912 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.257 | 13.5601 | 52.7629 | 1.356
H10 | mcs040_1/25 | 22.1085 | 8082.5337 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.257 | 13.0627 | 50.8276 | 1.3063
A11 | mcs041_1/25 | 19.6122 | 36333.2058 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.252 | 58.7203 | 233.0172 | 5.872
A12 | mcs041_1/25 | 19.7041 | 34377.2447 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.252 | 55.5592 | 220.4729 | 5.5559
F11 | mcs041_1/25 | 19.3734 | 41951.6723 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.252 | 67.8007 | 269.0503 | 6.7801
B11 | mcs042_1/25 | 19.7568 | 33304.5659 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.253 | 53.8256 | 212.7493 | 5.3826
B12 | mcs042_1/25 | 19.9249 | 30097.765 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.253 | 48.6429 | 192.2642 | 4.8643
F12 | mcs042_1/25 | 19.7589 | 33261.2602 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.253 | 53.7556 | 212.4726 | 5.3756
C11 | mcs043_1/25 | 20.2133 | 25299.9463 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.25 | 40.8888 | 163.5552 | 4.0889
C12 | mcs043_1/25 | 20.2235 | 25145.1403 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.25 | 40.6386 | 162.5544 | 4.0639
G11 | mcs043_1/25 | 20.1979 | 25535.6669 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.25 | 41.2698 | 165.0791 | 4.127
D11 | mcs044_1/25 | 21.0723 | 15084.0543 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.251 | 24.3783 | 97.1246 | 2.4378
D12 | mcs044_1/25 | 21.1189 | 14666.4373 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.251 | 23.7033 | 94.4356 | 2.3703
G12 | mcs044_1/25 | 21.1968 | 13994.7605 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0.251 | 22.6178 | 90.1107 | 2.2618
E11 | mcs046_1/25 | 34.8605 | 3.7417 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0 | 0.0060471 | #DIV/0! | 0.00060471
E12 | mcs046_1/25 | 35.1902 | 3.0679 | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0 | 0.0049583 | #DIV/0! | 0.00049583
H11 | mcs046_1/25 | NeuN | NeuN | 3125 | 64.1026 | 2.5641 | 20 | 0.01 | 0 | #VALUE! | #VALUE! | #VALUE!
G07 | pcr - | NeuN | NeuN | [8 empty] | 0
F07 | std outlier | 34.3656 | 5.0403 | [8 empty] | 0
A07 | std1_1 | 23.6242 | 3125 | [8 empty] | 0
B07 | std2_1/5 | 26.4357 | 625 | [8 empty] | 0
C07 | std3_1/25 | 29.5508 | 125 | [8 empty] | 0
D07 | std4_1/125 | 30.6823 | 25 | [8 empty] | 0
E07 | std5_1/625 | 34.8688 | 5 | [8 empty] | 0