Supplemental Table 1. Comparison of the limit of detection of LAMP and nested PCR. from clinical samples

| Plasmodium falciparum strain | Parasitemia (dilutions by elution buffer) | Nested PCR | LAMP |  |
| --- | --- | --- | --- | --- |
|  | Parasites /μL |  |  |
| 1 | 2640 | Positive | Positive |
|  | 264 | Positive | Positive |
|  | 26 | Positive | Positive |
|  | 3 | Positive | Positive |
|  | 0.3 | Negative | Negative |
|  | 0.03 | Negative | Negative |
| 2 | 688 | Positive | Positive |
|  | 69 | Positive | Positive |
|  | 7 | Positive | Positive |
|  | 0.7 | Negative | Negative |
|  | 0.07 | Negative | Negative |
| 3 | 34240 | Positive | Positive |
|  | 3424 | Positive | Positive |
|  | 342 | Positive | Positive |
|  | 34 | Positive | Positive |
|  | 3 | Positive | Positive |
|  | 0.3 | Negative | Negative |
|  | 0.03 | Negative | Negative |
| 4 | 72600 | Positive | Positive |
|  | 7260 | Positive | Positive |
|  | 726 | Positive | Positive |
|  | 73 | Positive | Positive |
|  | 7 | Positive | Positive |
|  | 0.7 | Negative | Negative |
|  | 0.07 | Negative | Negative |
| 5 | 125240 | Positive | Positive |
|  | 12524 | Positive | Positive |
|  | 1252 | Positive | Positive |
|  | 125 | Positive | Positive |
|  | 12 | Positive | Positive |
|  | 1 | Negative | Negative |
|  | 0.1 | Negative | Negative |
|  | 0.01 | Negative | Negative |
| 6 | 72840 | Positive | Positive |
|  | 7284 | Positive | Positive |
|  | 728 | Positive | Positive |
|  | 72 | Positive | Positive |
|  | 7 | Positive | Positive |
|  | 0.7 | Positive | Negative |
|  | 0.07 | Negative | Negative |
| 7 | 1296 | Positive | Positive |
|  | 130 | Positive | Positive |
|  | 13 | Positive | Positive |
|  | 1 | Positive | Positive |
|  | 0.1 | Negative | Negative |
|  | 0.01 | Negative | Negative |
| 8 | 208 | Positive | Positive |
|  | 20 | Positive | Positive |
|  | 2 | Positive | Positive |
|  | 0.2 | Negative | Negative |
|  | 0.02 | Negative | Negative |
| 9 | 22280 | Positive | Positive |
|  | 2228 | Positive | Positive |
|  | 222 | Positive | Positive |
|  | 22 | Positive | Positive |
|  | 2 | Positive | Positive |
|  | 0.2 | Negative | Negative |
|  | 0.02 | Negative | Negative |