First submission to Scientific Reports – Nature 3/9/2021

Immunomodulator FTY720 Rejuvenates β-cell

and Ameliorates Cardiorenal Complications

in Nonhuman Primate Model of Diabetes

Yixin (Jim) Wang 1,*, Xiaoli Wang1, Annie An 1, Mingfa Zang 1, Ling Xu 1, Kefeng Gong 1,

Yong-Fu Xiao 1, Guoliang Yu 1, Zhongmin A. Ma 1,*

Crown Bioscience Inc., San Diego, CA1 and *Pegasus Bio LLC, Great Neck, NY 2

SUPPLEMENTS

Analytic method for measurement of plasma concentrations of FTY720

Plasma concentrations of FTY720 was analyzed by LC/MS-MS method with liquid chromatograph (LC, Agilent 1200) coupled with a tandem quadrupole mass spectrometer (MS, API4000, Singapore) equipped with electro spray ionization (ESI) interface, bin pump (G1312), column oven (G1316C), and CTC PAL auto sampler.  The chromatographic separations were achieved using Welch Xtimate C18 column (30 × 2.1 mm; 3µm) at ambient temperature. Lower limit quantification values for FTY720 was 1 ng/ml in the plasma.

The positive ionization modes were employed for the detection of FTY720. The ammonium acetate in water and in 90% MeOH (10 mM) were used as the mobile phase at a flow rate 0.6 mL/min. The main working parameters were set as follows; curtain gas (CUR) 10 L/min; collision gas (CAD) 5 L/min; ion spray voltage (IS) 5500 V; source temperature (TEM) 500◦C; and de-clustering potential (DP) 79 V; collision energy (CE) 20 V; entrance potential (EP) 10V; collision cell exit potential (CXP) 6 V; ultra-pure nitrogen gas was used as nebulizer gas (gas1) 60 L/min and heater gas (gas2) 50 L/min. Tolbutamide was selected as internal standard. MS acquisition of FTY720 and IS (tolbutamide) were performed in positive electron spray ionization multiple reaction monitoring (MRM) mode by monitoring the reaction m/z at 308.4 → 255.6 (FTY720), 271.1→ 155.1 (IS), respectively.

Supplement Figure 1.  Gait strategy of florescence activating cell sorter (FACS) analysis

The blood samples were performed by a flow cytometry with 5 lasers (Fortessa).  Total cells were firstly gated then followed by CD56 positive NK and NKT cells and CD3 positive and negative and cell populations.  CD4 vs CD8 cell populations were gated from CD3+ cells and CD11c+ DCs were gated from CD3- cells.  CD127 and CCR6 expression also been analysis on CD4 and CD8 T cells.