| Table 4- safety status of the hospital D |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| - Elements related to structural safety of the building |  |  |  |  |  |  |  |
| Total | Weighted contribution to module (%) |  |  | Number of Items |  |  |  |
|  | High | Average | Low | High | Average | Low |  |
| 25.00 | 0.00 | 25.00 | 0.00 | 0 | 3 | 0 | - Prior events affecting hospital safety |
| 75.00 | 6.00 | 28.50 | 40.50 | 2 | 5 | 8 | - Building integrity |
| 100 | 6.00 | 53.50 | 4050 | 2 | 8 | 8 | Total |
| - Elements related to non-structural safety |  |  |  |  |  |  |  |
| 23.00 | 4.65 | 9.29 | 9.06 | 7 | 5 | 6 | 2.1. Architectural safety |
| 10.00 | 0.00 | 5.00 | 5.00 | 0 | 2 | 2 | - Infrastructure protection, access and physical security |
| 50.00 | 15.10 | 14.63 | 20.28 | 19 | 16 | 18 | - Critical systems |
| 10.00 | 7.60 | 0.8 | 1.06 | 7 | 1 | 2 | - Electrical Systems |
| 5.00 | 0.25 | 1.90 | 2.85 | 1 | 3 | 4 | - Telecommunications systems |
| 10.00 | 0.00 | 0.80 | 9.20 | 0 | 1 | 5 | - water supply system |
| 7.50 | 1.88 | 2.25 | 3.38 | 1 | 2 | 2 | - fire protection |
| 2.50 | 2.13 | 0.38 | 0.00 | 4 | 1 | 0 | - waste management system |
| 5.00 | 1.00 | 4.00 | 0.00 | 2 | 3 | 0 | - Fuel storage system |
| 5.00 | 2.00 | 2.00 | 1.00 | 3 | 2 | 1 | - medical gases systems |
| 5.00 | 0.25 | 2.50 | 2.25 | 1 | 3 | 4 | - HVAC systems |
| 17.00 | 1.87 | 9.21 | 5.92 | 1 | 12 | 7 | - Equipment and supplies |
| 1.70 | 0.00 | 0.00 | 1.70 | 0 | 0 | 2 | - Office and storeroom furnishing and equipment (fixed and movable) |
| 15.30 | 1.87 | 9.21 | 4.22 | 1 | 12 | 5 | - Medical and laboratory equipment and supplies used for diagnosis and treatment |
| 100 | 21.62 | 38.13 | 40.25 | 22 | 35 | 33 | Total |
| - Emergency and disaster management |  |  |  |  |  |  |  |
| 15.00 | 7.95 | 4.05 | 3.00 | 3 | 3 | 2 | 3.1. Coordination of emergency and disaster management activities |
| 18.00 | 14.40 | 3.60 | 0.00 | 4 | 1 | 0 | - Hospital emergency and disaster response and recovery planning |
| 7.00 | 4.55 | 1.40 | 1.05 | 2 | 1 | 1 | - Communication and information management |
| 20.00 | 3.00 | 5.00 | 12.00 | 1 | 1 | 3 | - Human resources |
| 8.00 | 2.00 | 3.60 | 2.40 | 1 | 2 | 1 | - Logistics and finance |
| 25.00 | 11.75 | 8.25 | 5.00 | 3 | 4 | 2 | - Patient care and support services |
| 7.00 | 2.10 | 1.40 | 3.50 | 2 | 2 | 1 | - Evacuation, decontamination and security |
| 100 | 45.75 | 27.30 | 26.95 | 16 | 14 | 10 | Total |
| Calculation of hospital safety and vulnerability |  |  |  |  |  |  |  |
| Emergency and disaster management |  |  | Non- Structural safety |  | Structural safety |  | Automatic calculation of ADJUSTED (bias free) safety index |
| 0.55 |  |  | 0.34 |  | 0.24 |  |  |
| Emergency and disaster management vulnerability |  |  | Non- Structural vulnerability |  | Structural vulnerability |  | Automatic calculation of ADJUSTED (bias free) vulnerability index |
| 0.45 |  |  | 0.66 |  | 0.76 |  |  |
| Emergency and disaster management |  |  | Non- Structural safety |  | Structural safety |  | Automatic comparison of safety index with base recommendations |
| b |  |  | c |  | c |  |  |
| Overall Health Facility Status |  |  | Overall Safety Index |  |  |  | Automatic tabulation of overall safety index |
| C |  |  | 0.33 |  |  |  |  |