| Table 1- safety status of the hospital A |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| - Elements related to structural safety of the building |  |  |  |  |  |  |  |
| Total | Weighted contribution to module (%) |  |  | Number of Items |  |  |  |
|  | High | Average | Low | High | Average | Low |  |
| 25.00 | 12.50 | 12.50 | 0.00 | 2 | 1 | 0 | - Prior events affecting hospital safety |
| 75.00 | 31.50 | 39.00 | 4.50 | 7 | 7 | 1 | - Building integrity |
| 100 | 44.00 | 51.50 | 4.50 | 9 | 8 | 1 | Total |
| - Elements related to non-structural safety |  |  |  |  |  |  |  |
| 23.00 | 14.00 | 5.80 | 3.20 | 8 | 4 | 3 | 2.1. Architectural safety |
| 10.00 | 2.50 | 2.50 | 5.00 | 1 | 1 | 2 | - Infrastructure protection, access and physical security |
| 50.00 | 15.25 | 21.45 | 13.30 | 21 | 22 | 10 | - Critical systems |
| 10.00 | 5.90 | 2.30 | 1.80 | 6 | 2 | 2 | - Electrical Systems |
| 5.00 | 0.90 | 4.10 | 0.00 | 3 | 5 | 0 | - Telecommunications systems |
| 10.00 | 2.70 | 4.50 | 3.00 | 3 | 2 | 1 | - water supply system |
| 7.50 | 0.00 | 3.00 | 4.50 | 0 | 2 | 3 | - fire protection |
| 2.50 | 1.25 | 0.25 | 1.00 | 3 | 1 | 1 | - waste management system |
| 5.00 | 2.50 | 2.50 | 0.00 | 3 | 2 | 0 | - Fuel storage system |
| 5.00 | 1.00 | 1.00 | 3.00 | 1 | 2 | 3 | - medical gases systems |
| 5.00 | 1.00 | 4.00 | 0.00 | 2 | 6 | 0 | - HVAC systems |
| 17.00 | 4.94 | 5.47 | 6.59 | 4 | 8 | 7 | - Equipment and supplies |
| 1.70 | 0.00 | 0.85 | 0.85 | 0 | 1 | 1 | - Office and storeroom furnishing and equipment (fixed and movable) |
| 15.30 | 4.94 | 4.62 | 5.74 | 4 | 7 | 6 | - Medical and laboratory equipment and supplies used for diagnosis and treatment |
| 100 | 36.69 | 35.22 | 28.09 | 34 | 35 | 22 | Total |
| - Emergency and disaster management |  |  |  |  |  |  |  |
| 15.00 | 9.75 | 5.25 | 0.00 | 4 | 4 | 0 | 3.1. Coordination of emergency and disaster management activities |
| 18.00 | 6.66 | 9.90 | 1.44 | 2 | 2 | 1 | - Hospital emergency and disaster response and recovery planning |
| 7.00 | 1.75 | 4.20 | 1.05 | 1 | 2 | 1 | - Communication and information management |
| 20.00 | 0.00 | 20.00 | 0.00 | 0 | 5 | 0 | - Human resources |
| 8.00 | 1.60 | 4.00 | 2.40 | 1 | 2 | 1 | - Logistics and finance |
| 25.00 | 15.50 | 9.50 | 0.00 | 5 | 4 | 0 | - Patient care and support services |
| 7.00 | 7.00 | 0.00 | 0.00 | 5 | 0 | 0 | - Evacuation, decontamination and security |
| 100 | 42.26 | 52.85 | 4.89 | 18 | 19 | 3 | Total |
| Calculation of hospital safety and vulnerability |  |  |  |  |  |  |  |
| Emergency and disaster management |  |  | Non- Structural safety |  | Structural safety |  | Automatic calculation of ADJUSTED (bias free) safety index |
| 0.60 |  |  | 0.48 |  | 0.61 |  |  |
| Emergency and disaster management vulnerability |  |  | Non- Structural vulnerability |  | Structural vulnerability |  | Automatic calculation of ADJUSTED (bias free) vulnerability index |
| 0.40 |  |  | 0.52 |  | 0.39 |  |  |
| Emergency and disaster management |  |  | Non- Structural safety |  | Structural safety |  | Automatic comparison of safety index with base recommendations |
| b |  |  | b |  | b |  |  |
| Overall Health Facility Status |  |  | Overall Safety Index |  |  |  | Automatic tabulation of overall safety index |
| B |  |  | 0.57 |  |  |  |  |