| Table 2- safety status of the hospital B |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| - Elements related to structural safety of the building |  |  |  |  |  |  |  |
| Total | Weighted contribution to module (%) |  |  | Number of Items |  |  |  |
|  | High | Average | Low | High | Average | Low |  |
| 25.00 | 25.00 | 0.00 | 0.00 | 3 | 0 | 0 | - Prior events affecting hospital safety |
| 75.00 | 54.75 | 6.75 | 13.50 | 12 | 2 | 1 | - Building integrity |
| 100 | 79.75 | 6.75 | 13.50 | 15 | 2 | 1 | Total |
| - Elements related to non-structural safety |  |  |  |  |  |  |  |
| 23.00 | 16.80 | 3.00 | 3.20 | 10 | 2 | 3 | 2.1. Architectural safety |
| 10.00 | 0.00 | 7.50 | 2.50 | 0 | 3 | 1 | - Infrastructure protection, access and physical security |
| 50.00 | 26.45 | 15.80 | 7.75 | 34 | 13 | 6 | - Critical systems |
| 10.00 | 7.20 | 2.80 | 0.00 | 8 | 2 | 0 | - Electrical Systems |
| 5.00 | 3.50 | 1.25 | 0.25 | 6 | 1 | 1 | - Telecommunications systems |
| 10.00 | 3.50 | 3.50 | 3.00 | 4 | 1 | 1 | - water supply system |
| 7.50 | 3.75 | 3.75 | 0.00 | 2 | 3 | 0 | - fire protection |
| 2.50 | 2.50 | 0.00 | 0.00 | 5 | 0 | 0 | - waste management system |
| 5.00 | 0.00 | 3.50 | 1.50 | 0 | 4 | 1 | - Fuel storage system |
| 5.00 | 1.00 | 1.00 | 3.00 | 1 | 2 | 3 | - medical gases systems |
| 5.00 | 5.00 | 0.00 | 0.00 | 8 | 0 | 0 | - HVAC systems |
| 17.00 | 6.35 | 4.72 | 5.93 | 7 | 6 | 5 | - Equipment and supplies |
| 1.70 | 0.00 | 0.00 | 1.70 | 0 | 0 | 2 | - Office and storeroom furnishing and equipment (fixed and movable) |
| 15.30 | 6.35 | 4.72 | 4.23 | 7 | 6 | 3 | - Medical and laboratory equipment and supplies used for diagnosis and treatment |
| 100 | 49.60 | 31.02 | 19.38 | 51 | 24 | 15 | Total |
| - Emergency and disaster management |  |  |  |  |  |  |  |
| 15.00 | 12.00 | 3.00 | 0.00 | 6 | 2 | 0 | 3.1. Coordination of emergency and disaster management activities |
| 18.00 | 12.96 | 3.60 | 1.44 | 3 | 1 | 1 | - Hospital emergency and disaster response and recovery planning |
| 7.00 | 2.80 | 1.40 | 2.80 | 2 | 1 | 1 | - Communication and information management |
| 20.00 | 5.00 | 11.00 | 4.00 | 1 | 2 | 2 | - Human resources |
| 8.00 | 6.00 | 2.00 | 0.00 | 3 | 1 | 0 | - Logistics and finance |
| 25.00 | 10.00 | 6.25 | 8.75 | 4 | 3 | 2 | - Patient care and support services |
| 7.00 | 3.50 | 3.50 | 0.00 | 4 | 1 | 0 | - Evacuation, decontamination and security |
| 100 | 52.26 | 30.75 | 16.99 | 23 | 11 | 6 | Total |
| Calculation of hospital safety and vulnerability |  |  |  |  |  |  |  |
| Emergency and disaster management |  |  | Non- Structural safety |  | Structural safety |  | Automatic calculation of ADJUSTED (bias free) safety index |
| 0.63 |  |  | 0.60 |  | 0.82 |  |  |
| Emergency and disaster management vulnerability |  |  | Non- Structural vulnerability |  | Structural vulnerability |  | Automatic calculation of ADJUSTED (bias free) vulnerability index |
| 0.37 |  |  | 0.40 |  | 0.18 |  |  |
| Emergency and disaster management |  |  | Non- Structural safety |  | Structural safety |  | Automatic comparison of safety index with base recommendations |
| b |  |  | b |  | a |  |  |
| Overall Health Facility Status |  |  | Overall Safety Index |  |  |  | Automatic tabulation of overall safety index |
| A |  |  | 0.71 |  |  |  |  |