| Table 3- safety status of the hospital C |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| - Elements related to structural safety of the building |  |  |  |  |  |  |  |
| Total | Weighted contribution to module (%) |  |  | Number of Items |  |  |  |
|  | High | Average | Low | High | Average | Low |  |
| 25.00 | 6.25 | 18.75 | 0.00 | 1 | 2 | 0 | - Prior events affecting hospital safety |
| 75.00 | 3.00 | 54.75 | 17.25 | 1 | 10 | 4 | - Building integrity |
| 100 | 9.25 | 73.50 | 17.25 | 2 | 12 | 4 | Total |
| - Elements related to non-structural safety |  |  |  |  |  |  |  |
| 23.00 | 14.24 | 7.67 | 1.10 | 7 | 6 | 1 | 2.1. Architectural safety |
| 10.00 | 2.50 | 7.50 | 0.00 | 1 | 3 | 0 | - Infrastructure protection, access and physical security |
| 50.00 | 18.47 | 14.15 | 17.39 | 19 | 15 | 17 | - Critical systems |
| 10.00 | 0.80 | 3.00 | 6.20 | 1 | 2 | 7 | - Electrical Systems |
| 5.00 | 3.53 | 1.20 | 0.27 | 4 | 2 | 1 | - Telecommunications systems |
| 10.00 | 1.80 | 1.20 | 7.00 | 2 | 1 | 3 | - water supply system |
| 7.50 | 4.13 | 2.25 | 1.13 | 3 | 1 | 1 | - fire protection |
| 2.50 | 1.46 | 0.00 | 1.04 | 2 | 0 | 2 | - waste management system |
| 5.00 | 4.00 | 0.00 | 1.00 | 4 | 0 | 1 | - Fuel storage system |
| 5.00 | 2.75 | 2.00 | 0.25 | 3 | 2 | 1 | - medical gases systems |
| 5.00 | 0.00 | 4.50 | 0.50 | 0 | 7 | 1 | - HVAC systems |
| 17.00 | 2.07 | 13.49 | 1.45 | 1 | 11 | 2 | - Equipment and supplies |
| 1.70 | 0.00 | 1.70 | 0.00 | 0 | 2 | 0 | - Office and storeroom furnishing and equipment (fixed and movable) |
| 15.30 | 2.07 | 11.79 | 1.45 | 1 | 9 | 2 | - Medical and laboratory equipment and supplies used for diagnosis and treatment |
| 100 | 37.27 | 42.80 | 19.93 | 28 | 35 | 20 | Total |
| - Emergency and disaster management |  |  |  |  |  |  |  |
| 15.00 | 12.00 | 3.00 | 0.00 | 6 | 2 | 0 | 3.1. Coordination of emergency and disaster management activities |
| 18.00 | 18.00 | 0.00 | 0.00 | 5 | 0 | 0 | - Hospital emergency and disaster response and recovery planning |
| 7.00 | 3.85 | 3.15 | 0.00 | 2 | 2 | 0 | - Communication and information management |
| 20.00 | 15.00 | 5.00 | 0.00 | 4 | 1 | 0 | - Human resources |
| 8.00 | 2.00 | 6.00 | 0.00 | 1 | 3 | 0 | - Logistics and finance |
| 25.00 | 24.25 | 0.75 | 0.00 | 8 | 1 | 0 | - Patient care and support services |
| 7.00 | 7.00 | 0.00 | 0.00 | 5 | 0 | 0 | - Evacuation, decontamination and security |
| 100 | 82.10 | 17.90 | 0.00 | 31 | 9 | 0 | Total |
| Calculation of hospital safety and vulnerability |  |  |  |  |  |  |  |
| Emergency and disaster management |  |  | Non- Structural safety |  | Structural safety |  | Automatic calculation of ADJUSTED (bias free) safety index |
| 0.88 |  |  | 0.52 |  | 0.34 |  |  |
| Emergency and disaster management vulnerability |  |  | Non- Structural vulnerability |  | Structural vulnerability |  | Automatic calculation of ADJUSTED (bias free) vulnerability index |
| 0.12 |  |  | 0.48 |  | 0.66 |  |  |
| Emergency and disaster management |  |  | Non- Structural safety |  | Structural safety |  | Automatic comparison of safety index with base recommendations |
| a |  |  | b |  | c |  |  |
| Overall Health Facility Status |  |  | Overall Safety Index |  |  |  | Automatic tabulation of overall safety index |
| B |  |  | 0.50 |  |  |  |  |