Table 1. Instrumental ICP-MS and HPLC-ICP-MS operating parameters

| Total element determination by ICP-MS (Agilent 7700x) |  |
| --- | --- |
| Power | 1400 W |
| Nebulizer type | MicroMist |
| Plasma gas flow rate (Ar) | 15 L/min |
| Auxiliary gas flow rate (Ar) | 1 0.1 L/min (depending on daily optimization) |
| Nebulizer gas flow (Ar) | 1 0.1 L/min (depending on daily optimization) |
| Collision gas flow rate (He) | 4.3 mL/min |
| Sampling/skimmer cones | Nickel |
| Monitored isotopes | No gas mode: 111Cd, 114Cd, 202Hg, 206Pb, 207Pb, 208Pb |
|  | KED mode: 27Al , 49Ti, 51V, 52Cr, 55Mn, 59Co, 60Ni, 64-66Zn, 75As, 82Se |
|  | Internal standards: 45Sc, 89Y, 115In, 185Re, 209Bi |
| Arsenic speciation analysis by AE-HPLC coupled to ICP-MS (ThermoFisher Scientific iCAP Q) |  |
| ICP-MS parameters |  |
| Plasma power | 1450 W |
| Plasma gas flow | 15 L/min |
| Auxiliary gas flow | 0.9 ± 0.1 L/min (depending on daily optimization) |
| Nebulizer gas flow | 0.9 ± 0.1 mL/min (depending on daily optimization) |
| Isotopes/masses monitored (m/z ) | 75 (75As); 77 (40Ar37Cl) |
| Dwell time | 100 ms |
| HPLC parameters |  |
| Analytical column | IonPac AS7 (250 x 4 mm. 10 µm particles) |
| Guard column | IonPac AG7 (50 x 4 mm. 10 µm particles) |
| Injection volume | 100 µL |
| Flow rate | 1.35 mL/min |
| Mobile phase A | 0.5 mM HNO3 in 1% MeOH (pH = 3.8) |
| Mobile phase B | 500 mM HNO3 in 1% MeOH (pH = 1.4) |
| Gradient | 0 - 3 min: 99% A 3 - 5 min: 10% A 5 - 12 min: 80% A 12 - 12.5 min: 99% A |

Table 2. Levels of toxic total trace elements (mg/kg ± U, ww) measured by ICP-MS in the gonad of Paracentrotus lividus according to the sampling area.

| Zone | Por | PC | Cio | Cal | Rio | The | Cou | Car | Fri | Emb | CG | Can | Bas |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As | 8.47 ± 2.03 | 10.0 ± 2.4 | 3.62 ± 0.62 | 5.35 ± 1.29 | 3.62 ± 0.87 | 2.72 ± 0.65 | 5.42 ± 1.30 | 3.92 ± 0.94 | 6.26 ± 1.50 | 3.97 ± 0.67 | 4.12 ± 0.99 | 8.93 ± 2.14 | 3.65 ± 0.88 |
|  | 7.31 ± 1.75 | 8.61 ± 2.07 | 4.05 ± 0.97 | 7.47 ± 1.79 | 4.23 ± 1.02 | 3.21 ± 0.77 | 3.79 ± 0.91 | 3.50 ± 0.84 | 6.68 ± 1.60 | 3.70 ± 0.89 | 6.02 ± 1.44 | 7.96 ± 1.91 | 4.86 ± 1.17 |
|  | 8.89 ± 2.13 | 6.59 ± 1.58 | 4.77 ± 1.14 | 4.76 ± 1.14 | 4.16 ± 1.00 | 2.78 ± 0.47 | 4.57 ± 1.10 | 4.05 ± 0.97 | 6.10 ± 1.46 | 3.03 ± 0.73 | 5.74 ± 1.38 | 8.53 ± 2.05 | 4.11 ± 0.70 |
| Cd | 0.052 ± 0.010 | 0.052 ± 0.010 | 0.021 ± 0.003 | 0.078 ± 0.016 | 0.086 ± 0.017 | 0.011 ± 0.002 | 0.033 ± 0.007 | 0.043 ± 0.009 | 0.057 ± 0.011 | 0.030 ± 0.004 | 0.037 ± 0.007 | 0.062 ± 0.012 | 0.041 ± 0.008 |
|  | 0.052 ± 0.010 | 0.044 ± 0.009 | 0.026 ± 0.005 | 0.104 ± 0.021 | 0.089 ± 0.018 | 0.011 ± 0.002 | 0.032 ± 0.006 | 0.028 ± 0.006 | 0.077 ± 0.015 | 0.032 ± 0.006 | 0.050 ± 0.010 | 0.072 ± 0.014 | 0.054 ± 0.011 |
|  | 0.058 ± 0.012 | 0.041 ± 0.008 | 0.035 ± 0.007 | 0.064 ± 0.013 | 0.070 ± 0.014 | 0.013 ± 0.002 | 0.025 ± 0.005 | 0.027 ± 0.005 | 0.062 ± 0.012 | 0.026 ± 0.005 | 0.052 ± 0.010 | 0.059 ± 0.012 | 0.039 ± 0.006 |
| Hg | < 0.008 | 0.011 ± 0.003 | < 0.008 | 0.010 ± 0.003 | 0.016 ± 0.005 | < 0.008 | 0.032 ± 0.006 | 0.017 ± 0.005 | 0.011 ± 0.003 | < 0.008 | < 0.008 | 0.013 ± 0.004 | 0.013 ± 0.004 |
|  | < 0.008 | < 0.008 | 0.009 ± 0.003 | 0.015 ± 0.005 | 0.018 ± 0.005 | < 0.004 | 0.024 ± 0.007 | 0.012 ± 0.004 | 0.017 ± 0.005 | 0.009 ± 0.003 | 0.010 ± 0.003 | 0.012 ± 0.004 | 0.015 ± 0.005 |
|  | < 0.008 | < 0.008 | 0.009 ± 0.003 | < 0.008 | 0.019 ± 0.006 | < 0.004 | 0.031 ± 0.006 | 0.010 ± 0.003 | 0.011 ± 0.003 | < 0.008 | 0.011 ± 0.003 | 0.015 ± 0.005 | 0.014 ± 0.003 |
| Pb | 0.019 ± 0.003 | 0.019 ± 0.003 | 0.067 ± 0.008 | 0.033 ± 0.005 | 0.079 ± 0.013 | 0.027 ± 0.004 | 0.100 ± 0.016 | 0.094 ± 0.015 | 0.035 ± 0.006 | 0.058 ± 0.007 | 0.030 ± 0.005 | 0.018 ± 0.003 | 0.026 ± 0.004 |
|  | 0.018 ± 0.003 | 0.017 ± 0.003 | 0.074 ± 0.012 | 0.042 ± 0.007 | 0.081 ± 0.013 | 0.026 ± 0.004 | 0.112 ± 0.018 | 0.083 ± 0.013 | 0.060 ± 0.010 | 0.047 ± 0.008 | 0.045 ± 0.007 | 0.013 ± 0.002 | 0.033 ± 0.005 |
|  | 0.024 ± 0.004 | 0.014 ± 0.002 | 0.147 ± 0.024 | 0.032 ± 0.005 | 0.066 ± 0.011 | 0.024 ± 0.003 | 0.110 ± 0.018 | 0.084 ± 0.013 | 0.045 ± 0.007 | 0.035 ± 0.006 | 0.064 ± 0.010 | 0.019 ± 0.003 | 0.035 ± 0.004 |

Table 3. Levels (mg/kg ±  U, ww) of As species, including inorganic As and unknown species, in a selection of urchin samples.a

| Zone | As(III) | MA | DMA | As(V) | AsB | iAs | Unknown As species | EEb |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Por | 0.587 ± 0.188 | 0.143 ± 0.029 | 1.10 ± 0.35 | 0.007 ± 0.001 | 1.84 ± 0.41 | 0.594 ± 0.188 | 0.750 | 0.52 |
|  | 0.369 ± 0.118 | 0.185 ± 0.037 | 0.940 ± 0.301 | < 0.006 | 1.78 ± 0.39 | 0.369 ± 0.118 | 0.785 | 0.56 |
|  | 0.648 ± 0.207 | 0.129 ± 0.026 | 1.74 ± 0.56 | < 0.006 | 1.88 ± 0.42 | 0.648 ± 0.207 | 0.666 | 0.57 |
| PC | 1.02 ± 0.33 | 0.109 ± 0.022 | 2.22 ± 0.71 | < 0.006 | 1.92 ± 0.42 | 1.02 ± 0.33 | 0.598 | 0.58 |
|  | 0.799 ± 0.256 | 0.120 ± 0.024 | 1.28 ± 0.41 | < 0.003 | 1.93 ± 0.42 | 0.799 ± 0.256 | 0.464 | 0.53 |
|  | 0.305 ± 0.098 | 0.119 ± 0.024 | 0.497 ± 0.159 | < 0.003 | 1.72 ± 0.38 | 0.305 ± 0.098 | 0.685 | 0.50 |
| Cal | 0.362 ± 0.116 | 0.136 ± 0.027 | 0.883 ± 0.283 | < 0.003 | 1.46 ± 0.32 | 0.362 ± 0.116 | 0.432 | 0.61 |
|  | 0.598 ± 0.192 | 0.090 ± 0.018 | 1.08 ± 0.35 | < 0.006 | 1.28 ± 0.28 | 0.598 ± 0.192 | 0.589 | 0.49 |
|  | 0.417 ± 0.134 | 0.060 ± 0.012 | 0.569 ± 0.182 | < 0.003 | 1.57 ± 0.35 | 0.417 ± 0.134 | 0.331 | 0.62 |
| Rio | 0.242 ± 0.077 | 0.113 ± 0.023 | 0.436 ± 0.140 | < 0.003 | 1.63 ± 0.36 | 0.242 ± 0.077 | 0.261 | 0.74 |
|  | 0.217 ± 0.069 | 0.096 ± 0.019 | 0.335 ± 0.107 | < 0.003 | 1.98 ± 0.44 | 0.217 ± 0.069 | 0.269 | 0.68 |
|  | 0.221 ± 0.071 | 0.129 ± 0.026 | 0.362 ± 0.116 | < 0.006 | 2.14 ± 0.47 | 0.221 ± 0.071 | 0.221 | 0.74 |
| CG | 0.335 ± 0.107 | 0.065 ± 0.013 | 0.489 ± 0.157 | < 0.003 | 1.39 ± 0.31 | 0.335 ± 0.107 | 0.342 | 0.64 |
|  | 0.239 ± 0.076 | 0.155 ± 0.031 | 0.645 ± 0.207 | < 0.003 | 1.69 ± 0.37 | 0.239 ± 0.076 | 0.678 | 0.57 |
|  | 0.325 ± 0.104 | 0.243 ± 0.049 | 0.944 ± 0.302 | 0.020 ± 0.004 | 1.36 ± 0.30 | 0.345 ± 0.104 | 0.615 | 0.61 |
| Can | 0.389 ± 0.124 | 0.080 ± 0.016 | 0.844 ± 0.270 | 0.014 ± 0.003 | 3.98 ± 0.88 | 0.403 ± 0.124 | 0.371 | 0.64 |
|  | 0.420 ± 0.135 | 0.043 ± 0.009 | 1.02 ± 0.33 | 0.007 ± 0.001 | 4.42 ± 0.97 | 0.427 ± 0.135 | 0.274 | 0.78 |
|  | 0.450 ± 0.144 | 0.153 ± 0.031 | 1.16 ± 0.37 | 0.011 ± 0.002 | 3.47 ± 0.76 | 0.461 ± 0.144 | 0.267 | 0.65 |

a LOD = 0.003 mg/kg ; LOQ = 0.006 mg/kg ; b EE (extraction efficiency) = sum of identified As species / tAs