Table 2. Four limit conditions and the zero-gravity condition of the smart bed adjustment.

| Conditions | Angles | Icons |
| --- | --- | --- |
| Original condition | A0 (0°, 0°) |  |
| Back board in the highest position | A3 (60°, 0°) |  |
| Back and leg boards in the highest position | B2 (60°, 40°) |  |
| Leg board in the highest position | C3 (0°, 40°) |  |
| Officially recognised as zero-gravity condition | E (35°, 25°) |  |

Table 3.  Typical conditions of a smart bed

|  | BPDM | SCE |  | BPDM | SCE |  | BPDM | SCE |  | BPDM | SCE |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A0 | √ | √ | A3 | √ | √ |  | √ | - |  | √ | - |
|  | √ | - |  | √ | - | C1 | √ | √ | D1 | √ | √ |
| A1 | √ | √ | B1 | √ | √ |  | √ | - |  | √ | - |
|  | √ | - |  | √ | - | C2 | √ | √ | D2 | √ | √ |
| A2 | √ | √ | B2 | √ | √ |  | √ | - |  | √ | - |
|  | √ | - |  |  |  | C3 | √ | √ | E | √ | √ |

* BPDM = body pressure distribution measurement; SCE = subjective comfort evaluation.

Table 4. Subjective comfort evaluation questionnaire.

| Perceived comfort | Rating |
| --- | --- |
| Overall comfort |  |
| Comfort at the upper back area |  |
| Comfort at the lower back area |  |
| Comfort at the buttocks and thigh area |  |
| Comfort at the shank area |  |