Table S1 List of QTPP, CQAs & CPPs

| Sr no | QTPP (Quality target product profile) | (CQA) Critical quality attributes | (CPP) Critical process parameters |
| --- | --- | --- | --- |
| 1 | Mobile phase (org) composition | Resolution | Linearity |
| 2 | Type of organic phase | Tailing | Specificity |
| 3 | Stressor concentration | Retention time | LOD |
| 4 | Buffer pH | Peak purity | LOQ |
| 5 | Flow rate | Theoretical plates | Accuracy |
| 6 | Column type | Fronting | Precision |
| 7 | Injection volume | Area of peak |  |
| 8 | Column temperature | HETP |  |
| 10 | Column length |  |  |
| 12 | Peak shape |  |  |
| 13 | Peak purity |  |  |
| 14 | Peak modifier |  |  |

Table S2 Chromatographic factors and response variables for Plackett Burman Screening Design

| Factor | Name | Type | Low (-1) | High (+1) |
| --- | --- | --- | --- | --- |
| A | MP* (org) concentration | Numerical | 30 | 60 |
| B | pH | Numerical | 3.5 | 4.0 |
| C | FR* | Numerical | 0.8 mL/min | 1.0 mL/min |
| D | Column Temp | Numerical | 10°C | 30°C |
| E | Degradation sample | Numerical | 8 Hrs | 12 Hrs |
| F | Buffer type | Categoric | Ammonium formate (AF) | Ammonium Acetate (AA) |
| G | Wavelength | Numerical | 200 nm | 250 nm |
| H | Column length | Numerical | 150 mm | 250 mm |
| I | Organic phase | Categoric | Acetonitrile | Methanol |
| J | Column type | Categoric | C8 | C18 |

*MP = Mobile phase composition; FR = flow rate of mobile phase

Table S3 Response variable ANOVA result

| Response | Model | R2 | Adjusted R2 | Polynomial equation | P value |
| --- | --- | --- | --- | --- | --- |
| RS I | Quadratic | 0.747 | 0.654 | Y = +3.91 -1.72*A- 0.1910*B - 2.07*B² | < 0.00270 |
| RS II | Quadratic | 0.872 | 0.806 | Y = + 2.27 - 2.39*C + 4.42*C² | < 0.0300 |
| RS III | Quadratic | 0.00 | 0.00 | Not significant | 0.4210 |
| RS IV | Quadratic | 0.821 | 0.758 | Y = -0.1052 + 0.2389*D +0.8211*BD +1.63*D² | < 0.0391 |

Figure S1 Risk assessment for stability method of Lenvatinib

(i)	(ii)

(iii)

Figure S2 2D Contour plots for (i) RS I, (ii) RS II, (iii) RS IV