Supplemental Information

Table S1 Gradient Flow Method for LCMS

| Time (min) | Flow (mL/min) | %A (0.1% Formic Acid) | %B (Acetonitrile) |
| --- | --- | --- | --- |
| 0 | 0.35 | 70 | 30 |
| 2 | 0.35 | 70 | 30 |
| 3 | 0.35 | 70 | 30 |
| 4 | 0.35 | 50 | 50 |
| 5 | 0.35 | 50 | 50 |
| 7 | 0.35 | 30 | 70 |
| 9 | 0.35 | 30 | 70 |
| 10 | 0.35 | 50 | 50 |
| 11 | 0.35 | 70 | 30 |
| 12 | 0.35 | 70 | 30 |

Table S2 Experimental parameters of ESI- tandem mass spectrometry. Other operating parameters include a 500°C desolvation temperature, a desolvation gas flow of 800L/hr and a 0.07 MPa collision gas pressure

| Compound | Parent Ion | Daughter Ion | Cone (V) | Collision (V) |
| --- | --- | --- | --- | --- |
| MeP | 151 | 92 | 10 | 22 |
|  |  | 136 | 10 | 20 |
| EtP | 165 | 92 | 10 | 22 |
|  |  | 137 | 8 | 18 |
| PrP | 179 | 92 | 10 | 22 |
|  |  | 137 | 10 | 20 |
| BuP | 193 | 92 | 10 | 22 |
|  |  | 137 | 8 | 20 |
| BzP | 227 | 92 | 10 | 22 |
|  |  | 136 | 10 | 25 |
| MePOH | 167 | 108 | 10 | 25 |
|  |  | 152 | 10 | 25 |
| EtPOH | 181 | 108 | 12 | 25 |
|  |  | 153 | 10 | 30 |
| PHBA | 137 | 65 | 12 | 25 |
|  |  | 92 | 12 | 25 |
| DHBA | 153 | 109 | 12 | 25 |
| ClMeP | 185 | 126 | 15 | 30 |
|  |  | 170 | 10 | 25 |
| ClEtP | 199 | 127 | 15 | 30 |
|  |  | 170 | 15 | 30 |
| Cl2MeP | 219 | 132 | 20 | 35 |
|  |  | 160 | 15 | 29 |
| Cl2EtP | 233 | 161 | 20 | 35 |
|  |  | 205 | 15 | 30 |

Table S3 Recovery rates, LODs and LOQs for compounds of interest

| Compound | Percent Recovery (%) ± SD | LOD (ng/L) | LOQ (ng/L) |
| --- | --- | --- | --- |
| MeP | 100 ± 9.0 | 0.072 | 0.167 |
| EtP | 97 ± 9.6 | 0.047 | 0.115 |
| PrP | 97 ± 8.6 | 0.020 | 0.051 |
| BuP | 98 ± 8.2 | 0.004 | 0.011 |
| BzP | 92 ± 7.8 | 0.005 | 0.012 |
| PHBA | 98 ± 9.0 | 0.345 | 0.843 |
| DHBA | 97 ± 7.0 | 0.308 | 0.755 |
| MePOH | 94 ± 8.3 | 0.005 | 0.010 |
| EtPOH | 99 ± 8.2 | 0.015 | 0.035 |
| ClMeP | 95 ± 9.3 | 0.050 | 0.121 |
| ClEtP | 95 ± 9.8 | 0.012 | 0.030 |
| Cl2MeP | 92 ± 9.7 | 0.009 | 0.022 |
| Cl2EtP | 89 ± 9.6 | 0.017 | 0.040 |

Table S4 Conversion factor from ng/L to pM

| Compound | Molar Mass (g/mol) | Conversion Factor (pmol/ng) |
| --- | --- | --- |
| MeP | 152.2 | 6.572 |
| EtP | 166.2 | 6.018 |
| PrP | 180.2 | 5.549 |
| BuP | 194.2 | 5.149 |
| BzP | 228.2 | 4.381 |
| PHBA | 138.1 | 7.240 |
| DHBA | 154.1 | 6.488 |
| MePOH | 168.2 | 5.947 |
| EtPOH | 182.2 | 5.489 |
| ClMeP | 186.6 | 5.359 |
| ClEtP | 200.6 | 4.985 |
| Cl2MeP | 221.0 | 4.524 |
| Cl2EtP | 235.1 | 4.254 |

Fig S1 Analyte concentrations during spring by site along the Brazos River

Fig S2 Analyte concentrations during summer by site along the Brazos River

Fig S3 Analyte concentrations during fall by site along the Brazos River

Fig S4 Analyte concentrations during winter by site along the Brazos River

a

b

c

d

e

f

g

h

Fig S5 Analyte concentrations mapped by site along the Brazos River during spring. a. MeP. b. PrP. c.BuP. d. BzP. e. PHBA. f. DHBA. g. Cl2MeP. h. Cl2EtP

aa

b

c

d

e

f

g

h

Fig S6 Analyte concentrations mapped by site along the Brazos River during summer. a. MeP. b. PrP. c.BuP. d. BzP. e. PHBA. f. DHBA. g. Cl2MeP. h. Cl2EtP

a

b

c

d

e

f

g

h

Fig S7 Analyte concentrations mapped by site along the Brazos River during fall. a. MeP. b. PrP. c. BuP. d. BzP. e. PHBA. f. DHBA. g. Cl2MeP. h. Cl2EtP

a

b

c

d

e

f

g

h

Fig S8 Analyte concentrations mapped by site along the Brazos River during Winter. a. MeP. b. PrP. c. BuP. d. BzP. e. PHBA. f. DHBA. g. Cl2MeP. h. Cl2EtP

Table S5 P-Values between yearly analyte concentrations between individual sites

| Sites | MeP | EtP | PrP | BuP | BzP | PHBA | DHBA | MePOH | EtPOH | ClMeP | Cl2MeP | ClEtP | Cl2EtP |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 and 2 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 1 and 3 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.721 | 1.00 | 1.00 | 0.004 | 1.00 | 1.00 | 1.00 |
| 1 and 4 | <0.001 | 1.00 | 1.00 | 0.382 | 0.446 | 0.351 | 1.00 | 1.00 | 1.00 | 1.00 | 0.004 | 1.00 | 1.00 |
| 1 and 5 | 0.017 | 0.020 | 0.005 | 1.00 | 1.00 | <0.001 | 0.060 | 1.00 | 0.022 | <0.001 | 1.00 | <0.001 | 1.00 |
| 1 and 6 | 0.053 | 0.0554 | 1.00 | <0.001 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.089 | <0.001 | 1.00 | 0.269 |
| 1 and 7 | <0.001 | 1.00 | 0.053 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.297 | 1.00 | 1.00 | 1.00 | 1.00 |
| 1 and 8 | <0.001 | 1.00 | 1.00 | 1.00 | 0.962 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.006 | 1.00 | 0.732 |
| 2 and 3 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.759 | 1.00 | 1.00 | 1.00 |
| 2 and 4 | <0.001 | 1.00 | 1.00 | 1.00 | 1.00 | 0.018 | 1.00 | 1.00 | 1.00 | 1.00 | <0.001 | 1.00 | 0.0395 |
| 2 and 5 | <0.001 | 0.297 | 0.001 | 1.00 | 1.00 | <0.001 | <0.001 | 1.0 | 1.00 | <0.001 | 1.00 | <0.001 | 1.00 |
| 2 and 6 | 0.021 | 0.659 | 1.00 | <0.001 | 1.00 | 0.881 | 1.00 | 1.00 | 1.00 | 1.00 | <0.001 | 1.00 | 0.005 |
| 2 and 7 | <0.001 | 1.00 | 0.016 | 1.00 | 1.00 | 0.490 | 0.025 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 2 and 8 | <0.001 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.001 | 1.00 | 0.022 |
| 3 and 4 | <0.001 | 1.00 | 0.030 | 0.855 | 1.00 | 0.031 | 1.00 | 1.00 | 1.00 | 0.052 | 0.032 | 1.00 | 0.036 |
| 3 and 5 | 0.008 | 1.00 | 0.006 | 1.00 | 1.00 | <0.001 | <0.001 | 1.0 | 1.00 | 0.784 | 1.00 | 0.058 | 1.00 |
| 3 and 6 | 0.3645 | 1.00 | 1.00 | <0.001 | 1.00 | 1.00 | 0.463 | 1.00 | 1.00 | 1.00 | 0.009 | 1.00 | 0.0711 |
| 3 and 7 | <0.001 | 1.00 | 0.066 | 1.00 | 1.00 | 0.738 | 0.121 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 3 and 8 | <0.001 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.002 | 0.047 | 1.00 | 0.223 |
| 4 and 5 | 1.00 | 0.0554 | 1.00 | 1.00 | 0.104 | 1.00 | 0.003 | 1.00 | 1.00 | <0.001 | 0.007 | <0.001 | 0.030 |
| 4 and 6 | 0.041 | 0.142 | 0.015 | <0.001 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.627 | 1.00 | 1.00 | 1.00 |
| 4 and 7 | 1.00 | 1.00 | 1.00 | 1.00 | 0.223 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.002 | 1.00 | 0.323 |
| 4 and 8 | 1.00 | 1.00 | 0.137 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 5 and 6 | 1.00 | 1.00 | <0.001 | <0.001 | 1.00 | 0.025 | 0.104 | 1.00 | 0.012 | 0.070 | 0.001 | 0.073 | 0.004 |
| 5 and 7 | 1.00 | 0.303 | 1.00 | 1.00 | 1.00 | 0.055 | 0.405 | 1.00 | 1.00 | 0.002 | 1.00 | 0.076 | 1.00 |
| 5 and 8 | 1.00 | 1.00 | <0.001 | 1.00 | 0.256 | 0.013 | <0.001 | 0.587 | 0.649 | <0.001 | 0.011 | <0.001 | 0.016 |
| 6 and 7 | 0.722 | 0.672 | <0.001 | <0.001 | 1.00 | 1.000 | 1.00 | 1.00 | 0.182 | 1.000 | <0.001 | 1.00 | 0.062 |
| 6 and 8 | 0.045 | 0.013 | 1.000 | <0.001 | 1.00 | 1.00 | 1.00 | 0.506 | 1.00 | 0.046 | 1.00 | 1.00 | 1.000 |
| 7 and 8 | 1.00 | 1.00 | 0.002 | 1.00 | 0.512 | 1.00 | 0.535 | 1.00 | 1.00 | 0.722 | 0.004 | 1.00 | 0.197 |

Table S6 P-values between individual seasons

|  | P-Value |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Seasons | MeP | EtP | PrP | BuP | BzP | PHBA | DHBA | MePOH | EtPOH | ClMeP | Cl2MeP | ClEtP | Cl2EtP |
| Spring-Summer | 1.00 | 1.00 | 0.551 | 0.546 | 0.019 | 0.317 | 1.00 | 0.395 | 1.00 | 1.00 | 1.00 | 0.136 | 1.00 |
| Spring-Fall | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.353 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| Spring-Winter | 1.00 | 1.00 | 0.914 | 1.00 | 1.00 | 0.544 | 0.115 | 0.379 | 0.519 | 1.00 | 1.00 | 0.044 | 1.00 |
| Summer-Fall | 1.00 | 1.00 | 1.00 | 0.116 | 0.064 | 0.872 | 1.00 | 1.00 | 1.000 | 1.00 | 0.965 | 1.00 | 1.00 |
| Summer-Winter | 1.00 | 1.00 | 0.016 | 0.151 | 0.592 | 0.721 | 0.323 | 1.00 | 0.083 | 1.00 | 1.00 | 1.00 | 0.513 |
| Fall-Winter | 1.00 | 1.00 | 0.178 | 1.000 | 1.000 | 0.817 | 0.023 | 1.00 | 0.155 | 1.00 | 1.00 | 0.452 | 1.00 |

Table S7 P-values between sites during the spring

|  | P-Values |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sites | MeP | EtP | PrP | BuP | BzP | PHBA | DHBA | MePOH | EtPOH | ClMeP | Cl2MeP | ClEtP | Cl2EtP |
| 1 and 2 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 1 and 3 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 1 and 4 | 0.009 | 1.00 | 0.926 | 0.178 | 1.00 | 1.00 | 1.00 | 1.0 | 1.00 | 1.00 | 0.296 | 1.00 | 0.130 |
| 1 and 5 | 0.310 | 1.00 | 0.975 | 1.00 | 1.00 | 0.223 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 1 and 6 | 1.00 | 1.00 | 0.526 | 0.002 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.146 | 1.00 | 1.00 |
| 1 and 7 | 0.978 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.573 | 1.00 | 1.00 |
| 1 and 8 | 1.00 | 1.00 | 0.447 | 0.080 | 1.00 | 1.00 | 1.00 | 1.00 | 0.905 | 1.00 | 0.206 | 1.00 | 1.00 |
| 2 and 3 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 2 and 4 | 0.011 | 1.00 | 0.803 | 0.439 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.331 | 1.00 | 0.023 |
| 2 and 5 | 0.415 | 1.00 | 1.00 | 1.00 | 1.00 | 0.694 | 0.034 | 1.00 | 1.00 | 1.00 | 0.136 | 1.00 | 0.391 |
| 2 and 6 | 0.141 | 1.00 | 1.00 | 0.010 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.057 | 1.00 | 0.036 |
| 2 and 7 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.520 | 1.00 | 1.00 |
| 2 and 8 | 1.00 | 1.00 | 1.00 | 0.212 | 1.00 | 1.00 | 1.00 | 1.00 | 0.155 | 1.00 | 0.020 | 1.00 | 0.541 |
| 3 and 4 | 0.006 | 1.00 | 0.754 | 0.116 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.601 | 1.00 | 0.034 |
| 3 and 5 | 0.174 | 1.00 | 0.116 | 1.00 | 1.00 | 1.00 | 0.003 | 1.00 | 1.00 | 1.00 | 0.037 | 1.00 | 0.407 |
| 3 and 6 | 0.096 | 1.00 | 0.242 | 0.001 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.192 | 1.00 | 0.386 |
| 3 and 7 | 0.652 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.260 | 1.00 | 1.00 |
| 3 and 8 | 0.906 | 1.00 | 0.243 | 0.050 | 1.00 | 1.00 | 1.00 | 1.00 | 1.000 | 0.779 | 0.458 | 1.00 | 0.159 |
| 4 and 5 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.360 | 1.00 | 0.135 |
| 4 and 6 | 0.130 | 1.00 | 0.568 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.643 | 1.00 | 0.142 |
| 4 and 7 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.081 |
| 4 and 8 | 0.595 | 1.00 | 0.475 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.550 |
| 5 and 6 | 1.00 | 1.00 | 0.170 | 0.085 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.020 | 1.00 | 1.00 |
| 5 and 7 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.420 |
| 5 and 8 | 1.00 | 1.00 | 0.517 | 0.744 | 1.00 | 1.00 | 0.055 | 1.00 | 0.679 | 1.00 | 0.575 | 1.00 | 0.436 |
| 6 and 7 | 1.00 | 1.00 | 0.365 | 0.880 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.793 | 1.00 | 0.391 |
| 6 and 8 | 0.379 | 1.00 | 1.00 | 1.00 | 0.780 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.452 |
| 7 and 8 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.529 |

Table S8 P-values between sites during the summer

|  | P-Values |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sites | MeP | EtP | PrP | BuP | BzP | PHBA | DHBA | MePOH | EtPOH | ClMeP | Cl2MeP | ClEtP | Cl2EtP |
| 1 and 2 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 1 and 3 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.422 | 1.00 | 0.074 | 1.00 | 1.00 | 1.00 |
| 1 and 4 | 0.222 | 0.202 | 0.112 | 0.034 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.039 | 0.488 | 0.134 | 1.00 |
| 1 and 5 | 0.248 | 0.692 | 0.080 | 1.00 | 1.00 | 1.00 | 0.177 | 1.00 | 1.00 | 1.00 | 0.339 | 1.00 | 1.00 |
| 1 and 6 | 0.302 | 0.123 | 1.00 | <0.001 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.307 | 1.00 | 1.00 |
| 1 and 7 | 0.375 | 0.445 | 0.912 | 1.00 | 0.036 | 1.00 | 1.00 | 1.00 | 0.898 | 0.280 | 0.409 | 0.188 | 0.224 |
| 1 and 8 | 0.243 | 0.455 | 0.071 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.177 | 0.623 | 0.200 | 1.00 |
| 2 and 3 | 1.00 | 0.542 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.253 | 1.00 | 1.00 | 1.00 |
| 2 and 4 | 0.245 | 0.078 | 0.080 | 0.075 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.107 | 0.306 | 0.037 | 1.00 |
| 2 and 5 | 0.881 | 0.088 | 0.009 | 1.00 | 1.00 | 1.00 | 0.102 | 1.00 | 1.00 | 1.00 | 0.880 | 1.00 | 1.00 |
| 2 and 6 | 0.339 | 0.052 | 0.590 | 0.001 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.101 | 1.00 | 1.00 |
| 2 and 7 | 0.440 | 0.578 | 0.159 | 1.00 | 0.136 | 1.00 | 1.00 | 1.00 | 1.00 | 0.645 | 1.00 | 0.054 | 1.00 |
| 2 and 8 | 0.267 | 0.058 | 0.495 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.426 | 0.727 | 0.058 | 1.00 |
| 3 and 4 | 0.196 | 0.231 | 0.109 | 0.133 | 0.975 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.104 | 0.171 | 1.00 |
| 3 and 5 | 0.812 | 1.00 | 0.046 | 1.00 | 1.00 | 1.00 | 0.027 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.201 |
| 3 and 6 | 0.260 | 1.00 | 1.00 | 0.001 | 1.00 | 1.00 | 0.361 | 1.00 | 1.00 | 1.00 | 0.871 | 1.00 | 1.00 |
| 3 and 7 | 0.306 | 1.00 | 0.245 | 1.00 | 0.670 | 1.00 | 1.00 | 0.532 | 1.00 | 1.00 | 1.00 | 0.239 | 0.010 |
| 3 and 8 | 0.215 | 1.00 | 0.069 | 1.00 | 1.00 | 1.0 | 1.00 | 1.00 | 1.00 | 1.00 | 0.782 | 0.254 | 1.00 |
| 4 and 5 | 1.00 | 0.092 | 1.00 | 0.198 | 1.00 | 1.00 | 0.072 | 1.00 | 1.00 | 0.866 | 1.00 | 1.00 | 1.00 |
| 4 and 6 | 0.668 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.470 | 1.00 | 1.00 | 0.388 | 1.00 | 0.361 | 1.00 |
| 4 and 7 | 0.292 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.956 | 1.00 | 0.083 | 1.00 | 0.522 | 1.00 | 0.068 |
| 4 and 8 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 5 and 6 | 1.00 | 1.00 | 0.145 | 0.003 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.135 |
| 5 and 7 | 0.112 | 1.00 | 1.00 | 1.00 | 0.288 | 1.00 | 1.00 | 1.00 | 0.907 | 1.00 | 1.00 | 1.00 | 1.00 |
| 5 and 8 | 0.777 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.132 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 6 and 7 | 0.093 | 0.409 | 0.522 | 0.337 | 0.623 | 1.00 | 1.00 | 1.00 | 0.117 | 1.00 | 0.365 | 0.491 | 0.020 |
| 6 and 8 | 0.707 | 1.00 | 0.521 | 1.00 | 1.000 | 1.00 | 0.775 | 1.00 | 1.00 | 1.00 | 1.00 | 0.519 | 0.787 |
| 7 and 8 | 0.272 | 1.00 | 1.00 | 1.00 | 0.675 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |

Table S9 P-values between sites during the fall

|  | P-Values |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sites | MeP | EtP | PrP | BuP | BzP | PHBA | DHBA | MePOH | EtPOH | ClMeP | Cl2MeP | ClEtP | Cl2EtP |
| 1 and 2 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 1 and 3 | 1.00 | 0.786 | 1.00 | 1.00 | 0.816 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 1 and 4 | 0.028 | 1.00 | 1.00 | 1.00 | 0.035 | 1.00 | 1.00 | 1.00 | 1.00 | 0.111 | 0.041 | 0.621 | 1.00 |
| 1 and 5 | 0.412 | 1.00 | 1.00 | 1.00 | 1.00 | 0.140 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 1 and 6 | 1.00 | 1.00 | 0.219 | <0.001 | 0.067 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.004 | 1.00 | 0.193 |
| 1 and 7 | 0.048 | 0.344 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 1 and 8 | 1.00 | 1.00 | 1.00 | 0.962 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.309 | 0.856 | 1.00 |
| 2 and 3 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 2 and 4 | 0.009 | 1.00 | 1.00 | 1.00 | 0.869 | 1.00 | 1.00 | 1.00 | 1.00 | 0.598 | <0.001 | 1.00 | 1.00 |
| 2 and 5 | 0.161 | 1.00 | 0.155 | 1.00 | 1.00 | 0.001 | 0.377 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 2 and 6 | 1.00 | 0.137 | 1.00 | <0.001 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | <0.001 | 1.00 | 0.034 |
| 2 and 7 | 0.020 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 2 and 8 | 1.00 | 1.00 | 1.00 | 0.992 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.008 | 1.00 | 1.00 |
| 3 and 4 | 0.018 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.143 | 0.045 | 1.00 | 1.00 |
| 3 and 5 | 0.334 | 1.00 | 0.026 | 1.00 | 0.216 | 0.464 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 3 and 6 | 0.112 | 0.082 | 1.00 | 0.001 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.052 | 1.00 | 0.213 |
| 3 and 7 | 0.039 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 3 and 8 | 0.169 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 4 and 5 | 1.00 | 1.00 | 0.386 | 1.00 | 0.009 | 1.00 | 1.00 | 1.00 | 1.00 | 0.076 | 1.00 | 0.634 | 1.00 |
| 4 and 6 | 1.00 | 1.00 | 1.00 | 0.984 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.438 | 1.00 | 1.00 | 1.00 |
| 4 and 7 | 1.00 | 1.00 | 1.00 | 1.00 | 0.359 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 4 and 8 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 5 and 6 | 1.00 | 1.00 | <0.001 | <0.001 | 0.012 | 0.039 | 0.413 | 1.00 | 1.00 | 1.00 | 0.239 | 1.00 | 0.013 |
| 5 and 7 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 5 and 8 | 1.00 | 1.00 | 0.682 | 0.728 | 0.941 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.872 | 1.00 |
| 6 and 7 | 1.00 | 0.050 | 0.054 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 6 and 8 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 7 and 8 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |

Table S10 P-values between sites during the winter

|  | P-Values |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sites | MeP | EtP | PrP | BuP | BzP | PHBA | DHBA | MePOH | EtPOH | ClMeP | Cl2MeP | ClEtP | Cl2EtP |
| 1 and 2 | 1.00 | 0.538 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.050 | 1.00 | 1.00 | 1.00 |
| 1 and 3 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.706 | 1.00 | 0.465 | 1.00 | 1.00 | 1.00 |
| 1 and 4 | 0.022 | 0.255 | 0.049 | 1.00 | 0.230 | 1.00 | 1.00 | 1.00 | 1.00 | 0.656 | 0.051 | 1.00 | 0.159 |
| 1 and 5 | 0.137 | 1.00 | 0.629 | 1.00 | 1.00 | 0.118 | 1.00 | 0.960 | 1.00 | 0.465 | 1.00 | 1.00 | 0.442 |
| 1 and 6 | 0.152 | 1.00 | 1.00 | 0.012 | 0.457 | 1.00 | 1.00 | 1.00 | 1.00 | 0.460 | 0.029 | 1.00 | 0.086 |
| 1 and 7 | 1.00 | 0.010 | 0.069 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.042 | 1.00 | 1.00 | 0.130 |
| 1 and 8 | 0.406 | 0.010 | 1.00 | 1.00 | 0.452 | 1.00 | 1.00 | 1.00 | 1.00 | 0.043 | 0.028 | 1.00 | 0.403 |
| 2 and 3 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.540 |
| 2 and 4 | 0.038 | 1.00 | 1.00 | 1.00 | 1.00 | 0.289 | 1.00 | 1.00 | 1.00 | 1.00 | 0.150 | 1.00 | 0.024 |
| 2 and 5 | 0.067 | 1.00 | 1.00 | 1.00 | 0.978 | 0.045 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 2 and 6 | 0.030 | 1.00 | 1.00 | 0.228 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.114 | 1.00 | 0.153 |
| 2 and 7 | 0.593 | 1.00 | 0.225 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.542 | 0.204 |
| 2 and 8 | 0.071 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.092 | 0.543 | 0.070 |
| 3 and 4 | 0.018 | 1.00 | 1.00 | 0.499 | 0.700 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.024 | 0.273 | 0.015 |
| 3 and 5 | 0.102 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.617 | 0.383 |
| 3 and 6 | 0.042 | 1.00 | 0.422 | 0.019 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.024 | 1.00 | 0.022 |
| 3 and 7 | 0.075 | 0.178 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.075 | 0.105 |
| 3 and 8 | 0.090 | 0.187 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.044 | 0.075 | 0.016 |
| 4 and 5 | 1.00 | 0.555 | 1.00 | 0.956 | 0.036 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.395 |
| 4 and 6 | 0.041 | 1.00 | 0.059 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.991 | 1.00 |
| 4 and 7 | 1.00 | 1.00 | 0.495 | 0.814 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 4 and 8 | 0.555 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |
| 5 and 6 | 1.00 | 0.415 | 0.210 | 0.053 | 0.058 | 0.547 | 1.00 | 1.00 | 1.00 | 1.00 | 0.796 | 1.00 | 0.362 |
| 5 and 7 | 1.00 | 0.029 | 1.00 | 1.00 | 0.512 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.286 | 1.00 | 0.856 |
| 5 and 8 | 0.846 | 0.034 | 1.00 | 1.00 | 0.081 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.780 | 1.00 | 0.193 |
| 6 and 7 | 1.00 | 1.00 | 0.022 | 0.081 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.327 | 1.00 |
| 6 and 8 | 1.00 | 1.00 | 1.00 | 0.031 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 0.327 | 1.00 |
| 7 and 8 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 |