Supplemental Information
for

Valorization of cigarette butts for top value-added chemicals:

Levulinic Acid
Amelita G. Laurenza,1 Onofrio Losito,2 Michele Casiello,2 Caterina Fusco,3 Angelo Nacci,2,3 Vincenzo Pantone1 and Lucia D’Accolti2,3* 
1 Ambra SRL Via Mitilini 11 Pomarico, Matera, 75016, Italy

2 Dipartimento di Chimica, Università degli Studi di Bari “A. Moro”, Via Orabona 4, 70126 Bari, Italy.

3 CNR – Istituto di Chimica dei Composti Organometallici (ICCOM), Bari section, via Orabona 4, 70126 Bari, Italy

E-mail: lucia.daccolti@uniba.it
 (Xpages, including this cover)

Table of Contents

1. Calibration curve 


p. S 2

2. FTIR-ATR spectrum of Humins

p. S 3
3. GC/MS analysis of Reaction 

p. S 4-5
Calibration curve is obtained by preparing different solution of Levulinic acid at different concentration, weighting different amounts of Levulinic acid by using an analytical balance. Thus, on the x axis is reported the concentration of standard solution ( % W/W) while on the y axis is reported the peak area of the GC-spectra associated to Levulinic acid signal for each concentration. Knowing the peak area associated to Levulinic acid obtained by the experiments is possible to date back the concentration ( %W/W) by using the equation associated to the calibration curve.
[image: image1.png]A Jclw/m)
STD1,1[15738782] 0,984
STD1,2|15552728] 0,984
STD 1,3 [15289478] 0,984
sTD 2,1 7493909 | 0,5195
STD2,1| 7027383 | 0,5195
sTD2,3| 7104758 | 0,5195
sTD4,111703311] 0,7525
STD4,2|11589283] 0,7525
STD4,3|11362738] 0,7525
STD3,3| 3834648 | 0,2613
sTD3,2] 3583892 | 0,2613
sTD3,1 3934418 | 0,2613
Calibration curve
18000000
16000000 ¥=16.450.596 8177~ 834.827,8423
R*=09936

14000000

12000000

L

10000000

5000000 3

6000000

4000000 .

2000000

o
o 02 04 05 08

12




Figure S1. Calibration curve for conversion on Levulinic Acid

[image: image2.png]%T

95

904

854

801

751

701

65

607
554

3217.80cm-1

1603.11cm-1

1229.49cm-1

53
4000

3500

3000

2500

cm-1

2000

1500 1000 500400




Figure S2. FTIR-ATR of Humin from Smoked filter

[image: image3.emf]
Figure S3. GC/MS analysis of reaction CB unsmoked with CH3COOH (entry 15 Table 1 of paper) Programm 50°Cx1min rate 25°C/min, to 250x20 min.
[image: image4.emf]
[image: image5.emf]
Figure S4. MS spectrum of oreaction CB unsmoked with CH3COOH (entry 15 Table 1 of paper) cf. NIST data base.
1
S 1

