Supporting Information

for

Dispel some mist on circulating biopterins: measurement, physiological interval and pathophysiological implication

Hai-Bo Wang a†, Xuan Xiao a†, Wen Dai a†, Yan Cui a†, Wan-Man Li a,b†, Rui Peng a, Liu Hu c, Shao-Ting Wang a*

a Department of Clinical Laboratory, Institute of Translational Medicine, Renmin Hospital of Wuhan University, Wuhan 430060, China

b Medical Laboratory, Liuzhou Municipal Liutie Central Hospital, Liuzhou 545000, China

c Physical Examination Center, Renmin Hospital of Wuhan University, Wuhan 430060, China

† These authors contributed equally to the present work.

* To whom correspondence should be addressed:

E-mail address: shaotingw@whu.edu.cn

Tel.:+86-27-88041911; fax: +86-27-88041911

CHEMICALS AND REAGENTS

The standards of B (B2517-5mg), BH2 (37272-10mg), BH4 (T4425-5mg), benzoyl chloride (BC, 259950-100mL), the deuterated-BC (BC-d5, 366048-1g) and 1,4-dithioerythritol (DTE, D8255-5g) were purchased from Sigma-Aldrich (Beijing, China). The deuterated-B (B-d3, sc-217761-0.5mg) was purchased from Santa Cruz Biotechnology (Dallas, U.S.A). The ammonium carbonate (10001418-500g) was obtained from Sinopharm Chemical Reagent (Shanghai, China). Formic acid and acetonitrile (ACN) were of HPLC grade from Fischer Scientific (New Jersy, United States). The water used throughout the study was purified by a Milli-Q apparatus (Millipore, Bedford, MA).

APPARATUS AND PARAMETERS

The LC-MS/MS detection was carried out on a Shimadzu LC-30AD-CL system coupled with a triple quadrupole spectrometer of Shimadzu MS-8050-CL. A Synergi 2.5 μm Hydro-RP 100 Å (100 × 2 mm) column was used for LC separation. The mobile phase A and B were formic acid in water (0.2% v/v) with ammonium acetate (5 mmol/L) and formic acid in methanol (0.2% v/v) with ammonium acetate (5 mmol/L), respectively. The gradient was set as 0-3 min 0% B, 3-3.1 min 0-30% B, 3.1-5.4 min 30% B, 5.4-5.5 min 30-0% B, 5.5-7.5 min 0% B. The flow rate and column temperature were set as 0.45 mL/min and 40 °C. The injecting volume was 20 μL. To diminish contamination, LC fluid for the first 1.7 min was discarded by using an exchange value. The auto-sampler was set at 4 °C for sample storage before injection. For MS detection, all the targets were analyzed with electrospray ionization (ESI) source under positive ion mode. The multiple reaction monitoring parameters are listed in Table for “APPARATUS AND PARAMETERS”. The ESI parameters were as follows: DL temperature (275 °C), heat block temperature (450 °C), nebulizing gas (3 L/min), drying gas (10 L/min), heating gas (10 L/min) and interface temperature (400 °C). Data acquisition and processing were performed with Lab Solution 5.53 SP2 software.

Table S1. MS parameters of all the biopterins.

| Targets and internal standards | Precursor ion (m/z) | Product ion (m/z) | Collision Energy (eV) |
| --- | --- | --- | --- |
| BH4-BC | 346.2 | 166.0 | -21 |
| BH4-BC-d5 | 351.2 | 166.0 | -21 |
| BH2 | 240.2 | 165.2 | -20 |
| B | 238.2 | 178.2 | -20 |
| B-d3 | 241.1 | 178.2 | -20 |

STOCK SOLUTIONS, CALIBRATORS, QUALITY CONTROLS AND IS-WORKING-SOLUTION

DTE stock solution was prepared as 10% (w/w) in water for further dilution. Stock solutions of BH4 (1 μg/mL) was prepared in water with 0.2% DTE (w/w). Stock solutions of B and BH2 (1 μg/mL) were prepared in pure water. The blank matrix was prepared by dissolving bovine serum albumin (BSA, 4 g) in normal saline (100 mL). Further dilution for eight levels of calibrators and four levels of quality controls (High-, Medium-, Low-, and LLOQ-QC) was performed by using blank matrix with 0.2% DTE (w/w) in ice-water bath. The detailed information is shown in Table for “STOCK SOLUTIONS, CALIBRATORS, QUALITY CONTROLS AND IS-WORKING-SOLUTION”. In brief, the concentration ranges were 0.05-10.00 ng/mL for BH4; 0.25-5.00 ng/mL for BH2 and 0.50-5.00 ng/mL for B. The lower limit of quantification (LLOQ) was evaluated at 0.05, 0.25 and 0.50 ng/mL for BH4, BH2 and B, respectively, which was identical with the concentration level in the first calibrator. Specifically, an internal standard (IS) mixture was prepared in ACN (as IS-working-solution). Such IS-working-solution contained BH4-BC-d5 (0.50 ng/mL, prepared according to our previous work [25]) and B-d3 (1.00 ng/mL). BH4-BC-d5 was used as IS for quantification of BH4, while B-d3 was used as IS for quantification of both BH2 and B. Both blank matrix and IS-working-solution were analyzed by the established LC-MS/MS protocol to exclude false-positive contamination of biopterins. All the prepared stock solutions, calibrations, QC samples and IS-working solution were stored at -80 °C before use.

Table S2. The detailed concentrations of calibrators and QC samples for all the targets.

| Target | Concentration of calibrator (ng/mL) |  |  |  |  |  |  |  | Concentration of QC (ng/mL) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Calibrator 1 | Calibrator 2 | Calibrator 3 | Calibrator 4 | Calibrator 5 | Calibrator 6 | Calibrator 7 | Calibrator 8 | LLOQ-QC | Low-QC | Medium-QC | High-QC |
| BH4 | 0.05 | 0.10 | 0.20 | 0.50 | 1.00 | 2.00 | 5.00 | 10.00 | 0.05 | 0.50 | 2.00 | 10.00 |
| BH2 | 0.25 | 0.50 | 0.80 | 1.25 | 2.00 | 2.50 | 4.00 | 5.00 | 0.25 | 0.50 | 2.00 | 5.00 |
| B | 0.50 | 0.75 | 1.00 | 1.25 | 2.00 | 2.50 | 4.00 | 5.00 | 0.50 | 1.00 | 2.00 | 5.00 |

METHOD VALIDATION

The developed method was validated according to the guidelines for bio-analytical method validation from European Medicines Agency, Food and Drug Administration and Clinical and Laboratory Standards Institute. All the determinations were performed by triplicate unless expressly stated.

The calibration was built by the linear least squares regression model utilizing peak area ratios of targets to IS versus the nominal spiked concentrations. The linearity was evaluated by the coefficient of determination (R2). The method sensitivity was reflected by the LLOQ level. The carry-over effect was studied by detecting the blank matrix after three injections of upper limit of calibrators. The residual signal should be no more than 15% of LLOQ. The specificity of IS was evaluated by analyzing six individually different plasma samples, which were pretreated with either pure ACN or IS-working-solution. The resulted false IS responses in the former group should not exceed 5% of the IS responses in the latter group. The matrix effect (with IS-normalization) was evaluated by detecting three groups of samples. GROUP-I was pure water spiked with BH4, BH2 and B (10 ng/mL for each). GROUP-II was ten plasma samples from different donors (five males and five females). GROUP-III was plasma samples in GROUP-II spiked with the same concentration of targets as GROUP-I. The difference between GROUP-III to GROUP-II was compared with the corresponding result from GROUP-I. The consistency should be within 85-115% for all the ten samples. Accuracy was determined as apparent recovery (dividing the measured concentrations to the spiked values) by analyzing all the four levels of QC samples in one day (n=6, intra-day) and in six consecutive days (n=6, inter-day). The results should be within 80-120% for LLOQ-QC and 85-115% for others. And precision was calculated as the CV of those measurements, which should be lower than 20% for LLOQ-QC and 15% for others. Stability was investigated by using Medium-QC. Samples after pretreatment were kept in auto-sampler for different period of time (0, 1, 4 and 12 hours) before injecting for LC-MS/MS analysis. The apparent recovery should be within 85-115%.

THE RESULTS OF METHOD VALIDATION

The retention time, linear range and regression of all the targets are shown in Table for “RETENTION TIME AND CALIBRATION”. The coefficient of determination (R2) was at least 0.9985. The sensitivity (as LLOQ) was determined at 0.05 ng/mL for BH4, 0.25 ng/mL for BH2 and 0.50 ng/mL for B. The representative LC-MS/MS chromatograms of LLOQ-QC are shown as Figure “LC-MS/MS chromatograms at LLOQ”.. At this level, the signal of all the analytes was at least ten times higher than the signal from blank sample. The carryover effect was found neglectable (less than 5 %) for all the biopterins. When pure ACN was used instead of IS-working-solution, no false responses for both BH4-BC-d5 and B-d3 could be observed in all the six samples, which indicated the good detecting specificity of IS. After IS-normalization, the quantification performance would not be compromised by interferences from plasma. The consistency from ten different sample matrixes was observed ranging from 85.7 to 113.1%. The intra- and inter-day accuracy and precision are shown in Table “ACCURACY AND PRECISION”. In all cases, the accuracy was calculated among 86.0-114.2% with precision less than 15.9%. Before injection, all the targets could be well preserved (with the apparent recovery of 86.9-105.5%) for at least 12 hours in auto-sampler at 4 oC, which was adequate for routine clinical usages.

Table S3. The retention time, calibration linearity and LLOQ for BH4, BH2 and B in the developed method.

| Target | Retention time (min) | Linear range (ng/mL) | Calibration linearity |  |  | LLOQ (ng/mL) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Slope | Intercept | R2 |  |
| BH4 | 5.67 | 0.05-10.00 | 0.5541 | 0.0251 | 09992 | 0.05 |
| BH2 | 2.30 | 0.25-5.00 | 0.7979 | 0.0877 | 09993 | 0.25 |
| B | 2.56 | 0.50-5.00 | 0.2988 | 0.0062 | 09985 | 0.50 |

Table S4. The method accuracies (as apparent recoveries) and precisions (as CV) for four concentration levels

| Target | Apparent recoveries, % (CV, %) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Intra-day (n=6) |  |  |  |  |  |  |  | Inter-day (n=6) |  |  |  |  |  |  |  |
|  | High-level |  | Medium-level |  | Low-level |  | LLOQ-level |  | High-level |  | Medium-level |  | Low-level |  | LLOQ-level |  |
| BH4 | 92.4 | (8.1) | 98.2 | (8.9) | 90.1 | (4.4) | 92.9 | (7.8) | 104.8 | (2.2) | 91.1 | (10.2) | 100.2 | (8.1) | 89.2 | (7.4) |
| BH2 | 94.1 | (5.9) | 94.1 | (10.7) | 102.3 | (9.5) | 86.0 | (11.2) | 99.5 | (4.1) | 93.0 | (7.7) | 88.2 | (9.0) | 107.8 | (12.4) |
| B | 103.2 | (9.1) | 90.5 | (12.4) | 111.7 | (8.7) | 114.2 | (13.7) | 90.0 | (9.7) | 107.3 | (10.7) | 86.9 | (8.9) | 112.1 | (15.9) |

Figure S1. LC-MS/MS chromatograms of (A) BH4 (as BH4-BC); (B) BH2; (C) B; (D) IS for BH4 (as BH4-BC-d5); (E) IS for BH2 and B (as B-d3) in spiked blank matrix at LLOQ level.

Table S5. The detailed results of the detected biopterins and biochemical indexes from all the enrolled participators.

| Sample number | BH4 | BH2 | BH4/BH2 | Total biopterins | Gender | BMI | Age | ALT | Cr | Urea | UA | AST | eGFR | DBIL | TBIL |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1.67 | 2.60 | 0.64 | 4.27 | Male | 25.52 | 83 | 14 | 69 | 7.86 | 370 | 27 | 83.53 | 9.4 | 21.9 |
| 2 | 2.15 | 2.52 | 0.85 | 4.67 | Male | 26.94 | 71 | 51 | 107 | 4.78 | 417 | 46 | 60.01 | 5 | 14.4 |
| 3 | 2.50 | 1.70 | 1.47 | 4.20 | Male | 24.51 | 63 | 67 | 83 | 5.19 | 521 | 49 | 86.1 | 5.6 | 17.4 |
| 4 | 3.32 | 1.57 | 2.11 | 4.89 | Male | NA | 71 | 28 | 71 | 5.32 | 288 | 32 | 89.61 | 7.4 | 18.6 |
| 5 | 1.79 | 2.45 | 0.73 | 4.24 | Female | NA | 86 | 27 | 48 | 5.6 | 285 | 37 | 85.43 | 3.6 | 11.3 |
| 6 | 2.75 | 2.17 | 1.27 | 4.92 | Female | 37.58 | 52 | 19 | 57 | 5.98 | 451 | 30 | 102.45 | 3.2 | 10.6 |
| 7 | 3.44 | 1.63 | 2.11 | 5.07 | Male | 26.93 | 71 | 24 | 71 | 5.67 | 341 | 29 | 89.44 | 5.2 | 18 |
| 8 | 2.71 | 1.09 | 2.48 | 3.80 | Male | 23.04 | 80 | 13 | 61 | 5.5 | 363 | 17 | 89.32 | 6 | 16.8 |
| 9 | 3.91 | 1.66 | 2.35 | 5.58 | Male | 30.12 | 66 | 28 | 72 | 4.99 | 423 | 25 | 92.53 | 6.3 | 15.7 |
| 10 | 3.41 | 1.68 | 2.03 | 5.09 | Male | 26.77 | 42 | 28 | 76 | 3.75 | 442 | 21 | 107.18 | 3 | 10.5 |
| 11 | 1.33 | 1.59 | 0.84 | 2.92 | Male | 25.38 | 86 | 16 | 101 | 7.16 | 547 | 26 | 57.97 | 5.9 | 15.4 |
| 12 | 3.08 | 1.29 | 2.39 | 4.37 | Female | 29.09 | 79 | 15 | 80 | 7.19 | 304 | 26 | 60.64 | 6.7 | 18.6 |
| 13 | 2.11 | 1.45 | 1.45 | 3.57 | Male | 25.03 | 85 | 9 | 64 | 6.87 | 299 | 29 | 84.86 | 2.1 | 6.2 |
| 14 | 2.79 | 1.50 | 1.86 | 4.28 | Male | 23.88 | 78 | 16 | 84 | 4.7 | 346 | 29 | 76.44 | 7.3 | 27.9 |
| 15 | 3.43 | 1.41 | 2.43 | 4.83 | Male | 24.34 | 74 | 21 | 76 | 5.43 | 362 | 27 | 85.32 | 6.7 | 18.9 |
| 16 | 3.90 | 1.21 | 3.23 | 5.10 | Female | 31.31 | 70 | 37 | 52 | 5.8 | 312 | 32 | 92.77 | 3.5 | 10.4 |
| 17 | 2.25 | 1.29 | 1.75 | 3.54 | Male | 24.12 | 73 | 28 | 77 | 4.83 | 353 | 25 | 85.53 | 6 | 22.5 |
| 18 | 2.57 | 1.74 | 1.48 | 4.31 | Male | 32.52 | 71 | 18 | 71 | 4.47 | 443 | 26 | 89.86 | 4.5 | 14.1 |
| 19 | 3.23 | 1.49 | 2.17 | 4.72 | Male | 24.49 | 29 | 39 | 76 | 6.94 | 414 | 24 | 116.75 | NA | NA |
| 20 | 2.87 | 1.40 | 2.04 | 4.27 | Male | 27.93 | 70 | 26 | 61 | 3.77 | 354 | 29 | 95.74 | 4.3 | 13.3 |
| 21 | 3.13 | 1.78 | 1.76 | 4.91 | Female | 32.98 | 68 | 30 | 52 | 4.14 | 257 | 30 | 94.27 | 3.6 | 12.5 |
| 22 | 3.65 | 1.55 | 2.35 | 5.20 | Male | 22.4 | 67 | 16 | 89 | 4.52 | 330 | 27 | 77.38 | 6.2 | 20.4 |
| 23 | 3.80 | 0.89 | 4.28 | 4.69 | Female | 20.31 | 26 | 8 | 54 | 3.74 | 254 | 17 | 125.12 | NA | NA |
| 24 | 3.47 | 1.76 | 1.98 | 5.23 | Male | 25.47 | 55 | 51 | 75 | 5.36 | 390 | 42 | 97.91 | 4.7 | 17.8 |
| 25 | 3.06 | 1.30 | 2.35 | 4.37 | Male | 24.38 | 57 | 29 | 100 | 6.18 | 450 | 25 | 71.72 | 2.6 | 8.4 |
| 26 | 2.59 | 0.87 | 2.97 | 3.46 | Male | 25.43 | 42 | 12 | 56 | 3.63 | 290 | 16 | 121.2 | 3 | 9.1 |
| 27 | 1.50 | 0.82 | 1.83 | 2.33 | Female | 21.34 | 32 | 29 | 41 | 4.54 | 208 | 28 | 131.15 | NA | NA |
| 28 | 2.81 | 1.36 | 2.07 | 4.17 | Male | 23.39 | 43 | 22 | 74 | 4.21 | 446 | 20 | 107.56 | NA | 18.6 |
| 29 | 2.84 | 1.54 | 1.85 | 4.38 | Male | 26.92 | 76 | 21 | 123 | 4.63 | 412 | 26 | 48.97 | 4.9 | 15 |
| 30 | 1.35 | 0.95 | 1.41 | 2.30 | Male | 19.94 | 85 | NA | 63 | 4.97 | 304 | 21 | 85.07 | 5.9 | 17.1 |
| 31 | 2.62 | 1.23 | 2.13 | 3.85 | Male | 23.05 | 85 | 19 | 84 | 5.52 | 411 | 28 | 73.15 | 3.9 | 14.6 |
| 32 | 2.46 | 1.14 | 2.17 | 3.60 | Female | NA | 80 | 9 | 71 | 5.66 | 251 | 15 | 69.4 | 2.2 | 7.6 |
| 33 | 2.71 | 1.00 | 2.71 | 3.71 | Male | 28.96 | 72 | 15 | 52 | 4.56 | 377 | 20 | 101.33 | 4 | 9.9 |
| 34 | 2.21 | 1.05 | 2.10 | 3.26 | Male | NA | 60 | 33 | 72 | 5.6 | 420 | 23 | 96.24 | NA | NA |
| 35 | 2.23 | 0.98 | 2.27 | 3.21 | Male | 22.89 | 61 | 12 | 72 | 6.18 | 444 | 22 | 95.7 | 4.1 | 15.2 |
| 36 | 3.94 | 1.34 | 2.93 | 5.28 | Male | 24.61 | 66 | 35 | 73 | 4.28 | 317 | 24 | 92.03 | 4.3 | 12.3 |
| 37 | 2.96 | 1.16 | 2.55 | 4.11 | Male | 25.77 | 60 | 49 | 66 | 8.05 | 246 | 30 | 100.08 | 4.2 | 14.6 |
| 38 | 2.50 | 1.74 | 1.44 | 4.24 | Male | 27.79 | 61 | 16 | 79 | 4.26 | 426 | 21 | 92.27 | 2.3 | 9.4 |
| 39 | 2.07 | 1.60 | 1.29 | 3.67 | Male | NA | 71 | 15 | 212 | 9.88 | 382 | 12 | 26.23 | 3.5 | 10.1 |
| 40 | 3.45 | 1.29 | 2.67 | 4.75 | Male | 25.56 | 86 | 15 | 117 | 8.32 | 253 | 20 | 48.65 | 4.3 | 13.6 |
| 41 | 2.29 | 1.31 | 1.74 | 3.61 | Male | 24.2 | 68 | 23 | 80 | 5.3 | 408 | 24 | 87.29 | 6.2 | 19.9 |
| 42 | 3.42 | 1.19 | 2.87 | 4.61 | Male | 25.93 | 31 | 40 | 69 | 4.36 | 443 | 29 | 119.79 | NA | NA |
| 43 | 2.69 | 1.51 | 1.78 | 4.20 | Male | 26.64 | 78 | 18 | 119 | 7.9 | 512 | 21 | 50.37 | 3.3 | 11.6 |
| 44 | 2.52 | 1.06 | 2.38 | 3.58 | Male | 24.77 | 76 | 36 | 92 | 7.64 | 492 | 26 | 69.78 | 4.4 | 14 |
| 45 | 2.12 | 1.56 | 1.36 | 3.67 | Male | 22.11 | 79 | 13 | 120 | 5.51 | 362 | 29 | 49.49 | 4.8 | 16.9 |
| 46 | 2.38 | 0.87 | 2.75 | 3.25 | Male | 22.13 | 86 | 32 | 53 | 5.38 | 379 | 32 | 91.27 | 5.1 | 15.2 |
| 47 | 1.31 | 1.47 | 0.89 | 2.78 | Male | NA | 65 | 59 | 43 | 4.09 | 509 | 167 | 114.57 | 4.7 | 11.8 |
| 48 | 3.05 | 1.01 | 3.02 | 4.06 | Male | 26.64 | 75 | 15 | 67 | 4.51 | 284 | 21 | 88.98 | 3.1 | 12.5 |
| 49 | 2.79 | 1.01 | 2.76 | 3.80 | Female | 22.8 | 70 | 15 | 56 | 5.6 | 272 | 21 | 90.52 | 3.5 | 13 |
| 50 | 3.55 | 0.87 | 4.06 | 4.43 | Female | 24.02 | 71 | 20 | 66 | 6.03 | 238 | 22 | 80.59 | 6.3 | 24.2 |
| 51 | 2.95 | 0.99 | 2.98 | 3.94 | Female | 20.29 | 31 | 12 | 45 | 5.11 | 203 | 17 | 127.91 | 3.4 | 12 |
| 52 | 2.81 | 1.40 | 2.00 | 4.22 | Male | 25.5 | 61 | 32 | 52 | 5.41 | 383 | 26 | 109.58 | 7.3 | 22.6 |
| 53 | 1.40 | 0.95 | 1.47 | 2.35 | Male | NA | 91 | 15 | 112 | 12.89 | 477 | 21 | 49.46 | 4.3 | 13.1 |
| 54 | 2.62 | 0.99 | 2.65 | 3.60 | Male | 24.31 | 55 | 29 | 80 | 4.28 | 463 | 25 | 95.66 | 3.3 | 12 |
| 55 | 2.18 | 1.12 | 1.95 | 3.30 | Female | 31.4 | 74 | 20 | 46 | 8.02 | 234 | 17 | 94.03 | 3.4 | 11.8 |
| 56 | 4.81 | 1.12 | 4.31 | 5.92 | Female | 23.83 | 76 | 15 | 115 | 8.68 | 211 | 28 | 40 | 2.4 | 6.9 |
| 57 | 1.19 | 0.75 | 1.58 | 1.94 | Male | NA | 85 | 37 | 93 | 6.8 | 475 | 28 | 64.32 | 5 | 14 |
| 58 | 2.27 | 1.19 | 1.90 | 3.46 | Male | 27.25 | 70 | 23 | 70 | 5.41 | 412 | 18 | 90.89 | 7.7 | 29.1 |
| 59 | 2.86 | 0.75 | 3.81 | 3.61 | Female | 21.75 | 34 | 11 | 54 | 3.37 | 279 | 23 | 118.54 | NA | NA |
| 60 | 3.26 | 1.35 | 2.42 | 4.60 | Male | NA | 49 | 36 | 86 | 3.95 | NA | 29 | 91.43 | NA | NA |
| 61 | 2.70 | 0.96 | 2.82 | 3.65 | Female | 26.06 | 59 | 25 | 51 | 3.35 | 329 | 23 | 100.82 | 3.7 | 14.3 |
| 62 | 2.18 | 0.98 | 2.24 | 3.16 | Female | 31.38 | 35 | 18 | 49 | 5.22 | 309 | 13 | 121.07 | NA | NA |
| 63 | 1.53 | 0.85 | 1.81 | 2.38 | Male | 26.03 | 73 | 19 | 121 | 6.44 | 427 | 22 | 51.18 | 6 | 17 |
| 64 | 2.60 | 1.13 | 2.30 | 3.73 | Male | 26.03 | 23 | 16 | 62 | 4.75 | 448 | 13 | 132.86 | 3.6 | 13.3 |
| 65 | 3.38 | 0.89 | 3.79 | 4.27 | Female | NA | 40 | 14 | 50 | 5.61 | 315 | NA | 116 | NA | NA |
| 66 | 4.52 | 1.70 | 2.66 | 6.22 | Female | 25.97 | 46 | 19 | 75 | 6.54 | 272 | 20 | 82.25 | 2.3 | 8.9 |
| 67 | 2.87 | 0.71 | 4.07 | 3.58 | Male | 24.47 | 69 | NA | 71 | 4.48 | 358 | 23 | 90.91 | NA | 18.9 |
| 68 | 2.76 | 1.17 | 2.36 | 3.92 | Female | 28.31 | 66 | 14 | 58 | 5.45 | 448 | 19 | 92.33 | 4.1 | 12.3 |
| 69 | 2.50 | 0.79 | 3.19 | 3.29 | Female | 23.83 | 148 | 32 | 61 | 5.08 | 290 | 30 | 96.58 | 3.6 | 13.6 |
| 70 | 2.22 | 1.14 | 1.96 | 3.36 | Male | 20.15 | 75 | 21 | 83 | 5.54 | 361 | 27 | 79.38 | 9.4 | 24.2 |
| 71 | 3.97 | 1.42 | 2.80 | 5.39 | Female | 24.87 | 43 | 23 | 57 | 3.76 | 373 | 23 | 108.76 | 6.1 | 19.8 |
| 72 | 4.23 | 1.59 | 2.67 | 5.82 | Female | 25.99 | 70 | 17 | 43 | 3.98 | 218 | 20 | 98.96 | 2.3 | 10.5 |
| 73 | 3.32 | 1.44 | 2.30 | 4.77 | Female | 22.58 | 47 | 16 | 64 | 5.58 | 269 | 27 | 99.14 | 4.1 | 15.4 |
| 74 | 3.96 | 1.27 | 3.13 | 5.22 | Male | 22.06 | 70 | 14 | 81 | 4.96 | 363 | 23 | 84.6 | 3.6 | 11.5 |
| 75 | 3.84 | 1.74 | 2.21 | 5.58 | Male | 26.85 | 34 | 70 | 76 | 3.76 | 440 | 36 | 113.35 | NA | NA |
| 76 | 3.32 | 2.61 | 1.27 | 5.92 | Female | NA | 35 | 12 | 56 | 3.68 | 290 | 17 | 115.86 | NA | NA |
| 77 | 3.45 | 1.60 | 2.16 | 5.06 | Male | 25.2 | 65 | 27 | 57 | 5.12 | 253 | 24 | 102.49 | 3 | 8.6 |
| 78 | 2.38 | 1.40 | 1.70 | 3.78 | Female | 21.15 | 35 | 16 | 61 | 3.48 | 216 | 16 | 112.55 | 3.9 | 14.4 |
| 79 | 2.91 | 1.89 | 1.54 | 4.80 | Female | 27.05 | 46 | 18 | 42 | 5.47 | 304 | 19 | 117.77 | 2 | 6.5 |
| 80 | 2.54 | 1.54 | 1.65 | 4.09 | Female | 21.03 | 46 | 12 | 54 | 3.99 | 233 | 15 | 109.07 | 2.2 | 8 |
| 81 | 3.77 | 1.39 | 2.71 | 5.15 | Male | 20.48 | 65 | 24 | 71 | 5.22 | 290 | 18 | 93.23 | 4.8 | 16.6 |
| 82 | 2.96 | 1.74 | 1.70 | 4.70 | Male | 16.82 | 13 | 10 | 55 | 2.77 | 381 | 21 | NA | NA | NA |
| 83 | 4.17 | 1.45 | 2.89 | 5.62 | Male | 22.99 | 34 | 34 | 63 | 4.99 | 349 | 29 | 122.48 | 4.5 | 13.2 |
| 84 | 4.48 | 1.94 | 2.31 | 6.42 | Male | 24.77 | 67 | 30 | 83 | 4.44 | 421 | 22 | 84.16 | 6.3 | 15.5 |
| 85 | 3.63 | 1.38 | 2.63 | 5.01 | Female | 19.21 | 32 | 10 | 56 | 3.95 | 222 | 22 | 118.82 | 3.7 | 11.4 |
| 86 | 3.67 | 3.46 | 1.06 | 7.13 | Male | NA | 30 | 250 | 83 | 4.18 | 586 | 82 | 108.65 | 3.3 | 9.9 |
| 87 | 2.96 | 1.84 | 1.62 | 4.80 | Female | NA | 37 | 12 | 47 | 4.2 | 232 | 18 | 121.45 | 3.2 | 10.8 |
| 88 | 2.63 | 2.68 | 0.98 | 5.31 | Male | 30.16 | 48 | 39 | 86 | 5.95 | 497 | 29 | 92.14 | 5.4 | 14.7 |
| 89 | 3.48 | 2.09 | 1.67 | 5.57 | Male | 25.76 | 33 | 24 | 71 | 4.85 | 337 | 20 | 117.04 | 3.5 | 11.6 |
| 90 | 2.89 | 2.00 | 1.45 | 4.89 | Male | 28.7 | 46 | 16 | 62 | 5.19 | 330 | 16 | 113.25 | 4.5 | 16.3 |
| 91 | 4.43 | 1.46 | 3.03 | 5.90 | Female | 19.52 | 59 | 11 | 56 | 3.75 | 228 | 20 | 98.23 | 2.4 | 10.4 |
| 92 | 4.04 | 1.41 | 2.86 | 5.45 | Male | 27.34 | 46 | 21 | 67 | 4.5 | 413 | 19 | 109.45 | 2.8 | 9.5 |
| 93 | 4.64 | 1.77 | 2.63 | 6.41 | Male | 25.83 | 50 | 17 | 72 | 5.75 | 353 | 13 | 103.38 | 2.3 | 7.7 |
| 94 | 4.71 | 1.24 | 3.82 | 5.95 | Female | 20.18 | 27 | NA | 51 | 2.69 | 290 | 14 | 126.28 | NA | NA |
| 95 | 3.06 | 1.51 | 2.03 | 4.57 | Male | 22.7 | 48 | 20 | 84 | 6.28 | 345 | 20 | 94.79 | 3.3 | 12.3 |
| 96 | 2.82 | 2.27 | 1.24 | 5.09 | Male | 30.83 | 37 | 19 | 65 | 7 | 438 | 15 | 117.69 | 2.8 | 11.6 |
| 97 | 4.43 | 2.75 | 1.61 | 7.18 | Male | 28.31 | 38 | 26 | 81 | 5.49 | 552 | 19 | 106.22 | 7.2 | 21.1 |
| 98 | 3.68 | 1.90 | 1.94 | 5.58 | Male | 22.96 | 37 | 15 | 81 | 4.04 | 335 | 17 | 106.97 | 5.4 | 16.7 |
| 99 | 3.80 | 1.57 | 2.43 | 5.37 | Male | 26.06 | 37 | NA | 70 | 4 | 422 | 14 | 114.55 | 5.2 | 17.2 |
| 100 | 2.93 | 1.72 | 1.70 | 4.65 | Male | 23.02 | 35 | 23 | 73 | 4.82 | 428 | 26 | 114.47 | NA | 9.9 |
| 101 | 4.53 | 2.43 | 1.86 | 6.96 | Male | NA | 49 | 18 | 106 | 6.43 | 417 | 22 | 71.02 | 3.2 | 12.3 |
| 102 | 3.43 | 2.07 | 1.66 | 5.50 | Female | 26.75 | 48 | 18 | 69 | 5.52 | 325 |  | 89.77 | NA | NA |
| 103 | 4.21 | 1.20 | 3.49 | 5.41 | Male | 23.37 | 76 | 18 | 76 | 5.17 | 343 | 19 | 84.04 | 4 | 15.9 |
| 104 | 4.27 | 1.41 | 3.02 | 5.68 | Male | 21.71 | 53 | 17 | 63 | 6.31 | 304 | 19 | 106.48 | 5.8 | 19.2 |
| 105 | 5.22 | 1.67 | 3.13 | 6.89 | Male | 24.97 | 49 | 13 | 68 | 5.1 | 247 | 19 | 106.25 | 6.3 | 23.3 |
| 106 | 3.80 | 2.43 | 1.57 | 6.22 | Male | 27.53 | 62 | 29 | 77 | 3.81 | 384 | 26 | 92.4 | 7.2 | 25.1 |
| 107 | 3.69 | 3.15 | 1.17 | 6.84 | Male | 31.44 | 41 | 50 | 80 | 6.2 | 479 | 25 | 105.23 | 9.4 | 26.7 |
| 108 | 3.69 | 2.23 | 1.66 | 5.92 | Male | 25.76 | 49 | 50 | 87 | 4.48 | 435 | 35 | 90.21 | 7 | 20.4 |
| 109 | 4.40 | 1.31 | 3.36 | 5.71 | Female | NA | 29 | NA | 51 | 3.5 | NA | 12 | 124.82 | NA | NA |
| 110 | 3.38 | 1.63 | 2.08 | 5.01 | Female | 20.51 | 37 | 19 | 58 | 3.18 | 213 | 22 | 112.93 | 6.4 | 17.9 |
| 111 | 4.91 | 2.03 | 2.42 | 6.94 | Male | 24.27 | 58 | 19 | 76 | 4.66 | 371 | 21 | 95.34 | 4.2 | 14.8 |
| 112 | 4.73 | 2.00 | 2.37 | 6.73 | Female | 22.59 | 65 | 23 | 69 | 5.16 | 290 | 18 | 79.66 | 4.6 | 14.6 |
| 113 | 4.85 | 1.63 | 2.98 | 6.48 | Male | 20.61 | 75 | 24 | 43 | 5.46 | 234 | 24 | 107.35 | 6.6 | 25.2 |
| 114 | 3.67 | 2.03 | 1.81 | 5.70 | Male | 26.52 | 40 | 43 | 89 | 5.66 | 332 | 29 | 93.51 | NA | 14.4 |
| 115 | 4.11 | 1.73 | 2.38 | 5.84 | Female | 30.57 | 72 | 83 | 59 | 3.35 | 302 | 54 | 87.66 | 4.2 | 12.6 |
| 116 | 3.87 | 1.28 | 3.03 | 5.14 | Male | 25 | 75 | 10 | 59 | 3.34 | 309 | 17 | 93.76 | 3.1 | 10.4 |
| 117 | 4.92 | 1.49 | 3.31 | 6.40 | Male | 26.46 | 43 | 20 | 78 | 4.48 | 368 | 19 | 104.88 | 3.7 | 10.3 |
| 118 | 4.21 | 1.68 | 2.50 | 5.89 | Male | 23.43 | 36 | 41 | 67 | 3.02 | 342 | 25 | 117.52 | 5.8 | 17.7 |
| 119 | 5.35 | 2.49 | 2.15 | 7.84 | Female | 23.59 | 27 | 28 | 54 | 4.56 | 356 | 17 | 123.92 | NA | NA |
| 120 | 4.09 | 1.51 | 2.71 | 5.60 | Male | 25.77 | 54 | 47 | 65 | 3.27 | 309 | 23 | 104.6 | 5.5 | 18.8 |
| 121 | 3.46 | 1.72 | 2.01 | 5.18 | Female | 31.89 | 38 | 16 | 60 | 5.61 | 378 | 19 | 111.35 | 4 | 14.5 |
| 122 | 3.82 | 1.31 | 2.92 | 5.13 | Female | 19.47 | 35 | NA | 45 | 4.56 | 269 | 10 | 124.96 | 2.5 | 8.5 |
| 123 | 4.64 | 1.52 | 3.06 | 6.16 | Female | 24.31 | 35 | 15 | 60 | 4.58 | 403 | 17 | 113.22 | 3.4 | 10.7 |
| 124 | 3.40 | 1.20 | 2.82 | 4.60 | Male | NA | 58 | 12 | 67 | 4.1 | 406 | 16 | 100.69 | 5 | 18.4 |
| 125 | 3.31 | 1.48 | 2.24 | 4.79 | Female | 23.97 | 51 | 30 | 59 | 4.72 | 244 | 23 | 101.76 | 7.1 | 29.2 |
| 126 | 4.03 | 2.02 | 1.99 | 6.06 | Male | 31.22 | 31 | 38 | 77 | 4.69 | 468 | 23 | 115 | 2 | 6.1 |
| 127 | 3.73 | 1.53 | 2.45 | 5.26 | Female | 22.79 | 43 | 15 | 52 | 3.33 | 279 | 18 | 112.13 | 3.7 | 13.7 |
| 128 | 3.20 | 1.37 | 2.33 | 4.57 | Male | 29.38 | 44 | 35 | 85 | 6.23 | 424 | 20 | 95.96 | NA | NA |
| 129 | 3.53 | 1.47 | 2.40 | 4.99 | Male | 27.79 | 46 | 20 | 76 | 4.64 | 390 | 24 | 104.04 | 2.9 | 11.8 |
| 130 | 4.24 | 1.65 | 2.57 | 5.89 | Male | 19.98 | 27 | 17 | 60 | 3.48 | 356 | 16 | 130.98 | 2.2 | 6.2 |
| 131 | 4.98 | 1.21 | 4.13 | 6.19 | Female | 21.64 | 68 | 19 | 55 | 3.97 | 280 | 22 | 92.69 | 4.1 | 13.9 |
| 132 | 4.30 | 1.13 | 3.80 | 5.44 | Female | 24.16 | 47 | 10 | 57 | 6.23 | 158 | 14 | 106.36 | NA | 5.1 |
| 133 | 3.68 | 1.07 | 3.44 | 4.76 | Female | 22.39 | 28 | 11 | 50 | 3.94 | 262 | 14 | 126.64 | NA | NA |
| 134 | 3.46 | 1.20 | 2.89 | 4.66 | Male | 26.84 | 31 | 39 | 81 | 3.86 | 389 | 23 | 111.41 | 6.1 | 19.6 |
| 135 | 2.32 | 2.20 | 1.05 | 4.52 | Male | 27.84 | 30 | 35 | 83 | 4 | 368 | 22 | 109.1 | 5.2 | 16.4 |
| 136 | 4.28 | 1.41 | 3.02 | 5.69 | Male | 27 | 47 | 33 | 83 | 6.64 | 356 | 24 | 96.68 | 3.9 | 10.3 |
| 137 | 2.59 | 0.89 | 2.92 | 3.47 | Female | 21.26 | 25 | 8 | 66 | 4.04 | 332 | 19 | 111.62 | 4 | 11.8 |
| 138 | 3.75 | 1.06 | 3.52 | 4.81 | Female | 18.07 | 27 | 14 | 54 | 3.54 | 201 | 17 | 124.35 | 4.4 | 14.3 |
| 139 | 4.58 | 1.35 | 3.39 | 5.93 | Male | NA | 32 | 31 | 73 | 5 | NA | NA | 116.79 | NA | NA |
| 140 | 4.17 | 0.91 | 4.57 | 5.08 | Female | 20.31 | 29 | 12 | 49 | 6.45 | 144 | 17 | 126.87 | 3 | 7.8 |
| 141 | 3.65 | 1.64 | 2.22 | 5.29 | Male | 17.67 | 28 | 26 | 87 | 4.8 | 378 | 21 | 104.17 | 7 | 19.8 |
| 142 | 3.27 | 0.96 | 3.39 | 4.23 | Female | 20.15 | 37 | 12 | 48 | 4.94 | 215 | 18 | 120.1 | 3.5 | 13.1 |
| 143 | 4.49 | 1.31 | 3.43 | 5.81 | Male | 26.68 | 49 | 17 | 76 | 6.12 | 375 | 26 | 101.39 | 4.4 | 13 |
| 144 | 3.60 | 0.86 | 4.17 | 4.47 | Female | 23.21 | 36 | 8 | 50 | 4.57 | 247 | 16 | 119.67 | NA | 6 |
| 145 | 3.16 | 0.89 | 3.54 | 4.05 | Female | 22.27 | 36 | 10 | 59 | 5.84 | 330 | 15 | 113.34 | 3.2 | 10.7 |
| 146 | 2.40 | 1.44 | 1.66 | 3.84 | Male | 20.43 | 39 | 19 | 81 | 4.92 | 399 | 19 | 105.52 | NA | NA |
| 147 | 4.26 | 1.38 | 3.09 | 5.64 | Male | 27.16 | 54 | 45 | 88 | 6.52 | 429 | 38 | 85.97 | 7.8 | 22.3 |
| 148 | 6.08 | 1.03 | 5.91 | 7.11 | Female | NA | 30 | 10 | 53 | 4.57 | NA | 14 | 122.39 | NA | NA |
| 149 | 2.53 | 2.12 | 1.19 | 4.64 | Male | 33.29 | 35 | 33 | 89 | 5.1 | 630 | 19 | 96.69 | 3.6 | 13.8 |
| 150 | 3.65 | 1.61 | 2.26 | 5.26 | Female | 19.72 | 40 | 16 | 53 | 4.77 | 242 | 19 | 113.85 | 3 | 8.6 |
| 151 | 2.55 | 3.17 | 0.81 | 5.72 | Male | 25.62 | 59 | 20 | 97 | 5.31 | 554 | 20 | 73.5 | 2.9 | 9.3 |
| 152 | 5.18 | 1.98 | 2.62 | 7.16 | Male | 28.17 | 44 | 17 | 71 | 5.2 | 356 | 18 | 108.49 | 3.5 | 12.5 |
| 153 | 3.79 | 1.78 | 2.13 | 5.56 | Male | 24.17 | 37 | 17 | 70 | 4.53 | 314 | 16 | 114.13 | 3.4 | 12 |
| 154 | 5.35 | 3.05 | 1.75 | 8.39 | Male | 25.56 | 68 | 23 | 58 | 6.5 | 330 | 19 | 99.74 | 2.6 | 8.9 |
| 155 | 4.67 | 1.56 | 3.00 | 6.23 | Male | 23.78 | 67 | 21 | 77 | 5.73 | 408 | 22 | 89.37 | 6 | 21.2 |
| 156 | 3.52 | 2.16 | 1.63 | 5.68 | Male | 28.11 | 35 | 71 | 67 | 4.02 | 582 | 35 | 118.46 | 3.6 | 13.2 |
| 157 | 5.52 | 2.20 | 2.51 | 7.72 | Male | 24.56 | 27 | 15 | 67 | 6.8 | 381 | 18 | 124.7 | 2.9 | 7.6 |
| 158 | 4.38 | 1.91 | 2.29 | 6.29 | Male | 25.59 | 30 | 21 | 76 | 3.61 | 369 | 17 | 116.57 | 2.9 | 10.9 |
| 159 | 5.25 | 1.75 | 3.00 | 7.01 | Male | 21.45 | 30 | 14 | 67 | 4.21 | 296 | 11 | 122.2 | 4.8 | 16.4 |
| 160 | 4.55 | 1.33 | 3.42 | 5.87 | Male | 21.45 | 38 | 21 | 75 | 3.7 | 359 | 28 | 110.27 | 6.6 | 21.5 |
| 161 | 3.87 | 2.03 | 1.91 | 5.89 | Male | 28.13 | 36 | 48 | 74 | 4.25 | 497 | 36 | 112.97 | 6.2 | 20.8 |
| 162 | 2.73 | 1.96 | 1.39 | 4.69 | Male | 24.93 | 30 | 15 | 69 | 5.28 | 418 | 23 | 121.15 | 12.6 | 37.9 |
| 163 | 5.10 | 1.47 | 3.48 | 6.57 | Male | 19.56 | 36 | 10 | 75 | 4.03 | 340 | 16 | 111.65 | 3.9 | 15.1 |
| 164 | 4.61 | 1.89 | 2.44 | 6.50 | Male | 24.92 | 29 | 33 | 79 | 4.34 | 439 | 22 | 115.53 | 3.9 | 12.9 |
| 165 | 4.19 | 1.66 | 2.53 | 5.85 | Male | 30.71 | 26 | 36 | 72 | 4.18 | 445 | 23 | 122.28 | 3.6 | 10.4 |
| 166 | 3.78 | 1.38 | 2.74 | 5.16 | Female | 22.76 | 23 | 16 | 48 | 4.52 | 315 | 16 | 133.2 | 6.6 | 19.2 |
| 167 | 2.88 | 2.01 | 1.43 | 4.89 | Male | 32.46 | 34 | 15 | 85 | 7.32 | 549 | 14 | 102.52 | 4.2 | 13.8 |
| 168 | 4.30 | 2.52 | 1.71 | 6.82 | Male | 25.37 | 32 | 37 | 79 | 4.16 | 642 | 26 | 113.02 | 2.6 | 9.3 |
| 169 | 4.50 | 1.32 | 3.41 | 5.82 | Female | 21.62 | 28 | NA | 59 | 3.22 | 291 | 17 | 119.73 | 4.1 | 14.2 |
| 170 | 3.70 | 1.59 | 2.32 | 5.29 | Male | 22.89 | 36 | 11 | 97 | 5.41 | 439 | 14 | 86.52 | 4.5 | 14.3 |
| 171 | 3.60 | 1.46 | 2.46 | 5.05 | Male | 22.69 | 30 | 18 | 109 | 6.41 | 603 | 19 | 78.04 | 3.6 | 11.9 |
| 172 | 3.79 | 1.29 | 2.94 | 5.07 | Male | 21.59 | 24 | 10 | 69 | 4.59 | 349 | 17 | 126.13 | 6.8 | 19.9 |
| 173 | 3.78 | 0.94 | 4.05 | 4.72 | Female | 19.34 | 38 | 11 | 67 | 2.82 | 221 | 17 | 99.76 | 3.5 | 9 |
| 174 | 2.78 | 1.14 | 2.44 | 3.92 | Male | 24.24 | 29 | 11 | 72 | 3.45 | 361 | 15 | 119.47 | 5.6 | 16.8 |
| 175 | 3.72 | 1.14 | 3.28 | 4.85 | Male | 20.9 | 27 | 10 | 66 | 5.08 | 369 | 15 | 125.36 | 6.2 | 20.6 |
| 176 | 4.30 | 1.71 | 2.51 | 6.02 | Male | 25.76 | 31 | 27 | 70 | 5.34 | 421 | 24 | 119.67 | 2.8 | 10.8 |
| 177 | 3.09 | 1.82 | 1.70 | 4.91 | Female | 29.72 | 25 | 30 | 73 | 4.59 | 558 | 19 | 98.81 | 3.3 | 11.3 |
| 178 | 4.31 | 1.49 | 2.89 | 5.80 | Male | 23.08 | 29 | 17 | 66 | 4.14 | 280 | 16 | 124.46 | 4.2 | 10.5 |
| 179 | 4.59 | 1.33 | 3.45 | 5.93 | Male | 29.24 | 32 | 37 | 70 | 5.21 | 340 | 18 | 118.66 | 3.4 | 12.1 |
| 180 | 5.05 | 1.41 | 3.57 | 6.46 | Female | 19.98 | 31 | 21 | 67 | 7.35 | 247 | 26 | 105.18 | 3.1 | 10.8 |
| 181 | 3.13 | 1.56 | 2.01 | 4.69 | Male | 22.75 | 30 | 42 | 66 | 4.5 | 400 | 24 | 122.88 | 5.8 | 18.4 |
| 182 | 2.32 | 1.58 | 1.47 | 3.90 | Male | 24.47 | 79 | 22 | 100 | 7.37 | 294 | 17 | 61.62 | 4.7 | 10.9 |
| 183 | 4.65 | 1.36 | 3.42 | 6.01 | Male | 24.67 | 29 | 25 | 78 | 5.07 | 306 | 19 | 115.54 | 3.7 | 10 |
| 184 | 4.67 | 1.42 | 3.30 | 6.09 | Male | 23.39 | 27 | 22 | 73 | 4.49 | 378 | 20 | 120.52 | 5.7 | 16.1 |
| 185 | 3.66 | 1.36 | 2.70 | 5.02 | Male | 21.23 | 28 | 29 | 72 | 3.69 | 373 | 19 | 120.65 | 5.6 | 13.2 |
| 186 | 3.19 | 1.52 | 2.10 | 4.71 | Male | 20.85 | 78 | 23 | 71 | 5.88 | 243 | 21 | 85.41 | 7.6 | 20.8 |
| 187 | 4.77 | 1.72 | 2.77 | 6.49 | Male | 26.01 | 29 | 81 | 63 | 4.08 | 341 | 42 | 126.66 | 3.6 | 11.2 |
| 188 | 5.26 | 2.07 | 2.54 | 7.33 | Male | 27.93 | 24 | 137 | 86 | 4.95 | 498 | 56 | 109.11 | 3.8 | 14.1 |
| 189 | 4.43 | 1.91 | 2.32 | 6.35 | Male | 33.65 | 30 | 45 | 80 | 6.19 | 485 | 30 | 113.81 | 4.2 | 18.1 |
| 190 | 5.23 | 1.80 | 2.90 | 7.04 | Male | 28.44 | 22 | 21 | 87 | 5.24 | 489 | 22 | 108.4 | 2.2 | 7 |
| 191 | 4.33 | 1.04 | 4.18 | 5.37 | Male | 21.54 | 27 | 11 | 75 | 4.23 | 315 | 15 | 119.54 | 6.6 | 17.6 |
| 192 | 2.74 | 1.60 | 1.71 | 4.34 | Male | 23.59 | 23 | 21 | 67 | 3.69 | 380 | 39 | 128.65 | 8.4 | 25.9 |
| 193 | 3.53 | 1.56 | 2.27 | 5.09 | Male | 20.73 | 78 | 10 | 95 | 6.76 | 376 | 23 | 66.06 | 6.5 | 19.4 |
| 194 | 3.55 | 1.79 | 1.98 | 5.34 | Male | 19.03 | 26 | 15 | 82 | 4.85 | 408 | 16 | 113.57 | 3.8 | 12.8 |
| 195 | 3.40 | 1.63 | 2.09 | 5.03 | Male | 24.2 | 65 | 28 | 77 | 6.81 | 297 | 20 | 90.49 | 7.1 | 26 |
| 196 | 4.81 | 1.58 | 3.04 | 6.40 | Male | 25.35 | 78 | 15 | 84 | 5.81 | 264 | 23 | 76.35 | 3.3 | 10.7 |
| 197 | 3.51 | 1.46 | 2.40 | 4.97 | Male | 24.52 | 66 | 27 | 86 | 9.3 | 347 | 24 | 81.22 | 5.4 | 13.6 |
| 198 | 3.13 | 1.60 | 1.96 | 4.73 | Male | 27.42 | 81 | 13 | 110 | 10.25 | 395 | 17 | 54.08 | 7.1 | 18.6 |
| 199 | 5.01 | 1.06 | 4.74 | 6.07 | Female | 20.54 | 42 | 17 | 52 | 4.53 | 300 | 16 | 112.91 | NA | 8.7 |
| 200 | 3.33 | 1.17 | 2.84 | 4.51 | Male | 21.41 | 49 | 17 | 81 | 7.54 | 370 | 20 | 98.41 | 3.9 | 17.4 |
| 201 | 3.91 | 0.90 | 4.33 | 4.81 | Female | 22.81 | 67 | 19 | 54 | 5.91 | 296 | 20 | 93.69 | 2.5 | 11.8 |
| 202 | 3.15 | 1.22 | 2.57 | 4.37 | Male | 34.85 | 69 | 62 | 64 | 4.87 | 336 | 39 | 94.73 | 7.2 | 21.4 |
| 203 | 2.69 | 1.65 | 1.63 | 4.34 | Male | 22.37 | 23 | 35 | 71 | 5.48 | 365 | 21 | 125.34 | 6.8 | 22.5 |
| 204 | 4.06 | 1.24 | 3.29 | 5.30 | Male | 24.84 | 25 | 29 | 82 | 4.86 | 328 | 21 | 114.02 | 4 | 10.5 |
| 205 | 4.20 | 1.63 | 2.58 | 5.83 | Male | NA | 27 | 17 | 74 | 5.45 | 356 | 18 | 120.02 | 5.3 | 16.1 |
| 206 | 4.05 | 1.25 | 3.25 | 5.30 | Male | 25.7 | 30 | 34 | 65 | 5.07 | 342 | 26 | 124.23 | 5.5 | 20.6 |
| 207 | 4.50 | 1.48 | 3.05 | 5.97 | Male | 22.41 | 41 | 18 | 83 | 4.8 | 425 | 19 | 100.93 | 5.5 | 26.9 |
| 208 | 4.50 | 2.34 | 1.92 | 6.85 | Male | 34.55 | 36 | 46 | 62 | 3.29 | 464 | 27 | 120.75 | 3.9 | 12.4 |
| 209 | 4.65 | 1.54 | 3.01 | 6.19 | Male | 24.95 | 42 | 21 | 68 | 3.31 | 346 | 20 | 111.64 | 2.5 | 7.6 |
| 210 | 3.99 | 1.88 | 2.13 | 5.87 | Male | 27.62 | 28 | 21 | 87 | 3.26 | 401 | 17 | 103.96 | 5.1 | 19.3 |
| 211 | 4.65 | 1.43 | 3.25 | 6.08 | Male | 22.29 | 24 | 12 | 88 | 3.34 | 306 | 11 | 105.48 | 3.6 | 10.6 |
| 212 | 4.28 | 2.53 | 1.69 | 6.81 | Male | 27.73 | 34 | 53 | 81 | 4.18 | 500 | 27 | 109.11 | 3 | 9.4 |
| 213 | 3.00 | 1.33 | 2.25 | 4.34 | Male | 23.15 | 27 | 31 | 84 | 4.65 | 413 | 20 | 109.48 | 3.9 | 14.5 |
| 214 | 3.74 | 1.17 | 3.19 | 4.91 | Male | 21.78 | 27 | 14 | 73 | 6.29 | 357 | 18 | 120.64 | 3.9 | 11.6 |
| 215 | 2.79 | 1.54 | 1.82 | 4.33 | Male | NA | 45 | 48 | 60 | 4.59 | 412 | 23 | 115.02 | 5.8 | 23.3 |

Abbreviations: BH4, tetrahydrobiopterin; BH2, dihydrobiopterin; BMI, body mass index; ALT, alanine aminotransferase; AST, aspartate aminotransferase; DBIL, direct bilirubin; TBIL, total bilirubin; Cr, creatinine; eGFR, glomerular filtration rate; UA, uric acid; Ur, Urea; NA, not available.

Units: BH4, BH2 and total biopterins (ng/mL); age (years); BMI (kg/m2); ALT and AST (U/L); DBIL, TBIL, Cr and UA (μmol/L); eGFR (mL/min); Ur (mmol/L)

Table S6. General characteristics of the apparently healthy population.

| Variables | Mean | SD | Median | P 25 | P 75 | N |
| --- | --- | --- | --- | --- | --- | --- |
| BH4 (ng/mL) | 3.51 | 0.94 | 3.53 | 2.79 | 4.24 | 215 |
| BH2 (ng/mL) | 1.54 | 0.48 | 1.48 | 1.21 | 1.74 | 215 |
| BH4/BH2 | 2.45 | 0.84 | 2.38 | 1.83 | 2.98 | 215 |
| Total biopterins (ng/mL) | 5.05 | 1.14 | 5.05 | 4.28 | 5.87 | 215 |
| Gender (M/F) |  |  |  |  |  | 155/60 |
| Age (years) | 49 | 19 | 44 | 31 | 67 | 215 |
| BMI (kg/m2) | 24.85 | 3.59 | 24.52 | 22.39 | 26.85 | 195 |
| ALT (U/L) | 26 | 22 | 20 | 15 | 30 | 208 |
| AST (U/L) | 23 | 13 | 21 | 18 | 26 | 212 |
| DBIL (μmol/L) | 4.6 | 1.7 | 4.1 | 3.4 | 5.8 | 187 |
| TBIL (μmol/L) | 14.7 | 5.3 | 13.8 | 10.8 | 18.0 | 194 |
| Cr (μmol/L) | 72 | 19 | 71 | 59 | 81 | 215 |
| eGFR (mL/min) | 101.09 | 19.89 | 104.74 | 90.49 | 116.00 | 214 |
| UA (μmol/L) | 361 | 91 | 357 | 296 | 418 | 211 |
| Ur (mmol/L) | 5.11 | 1.40 | 4.92 | 4.18 | 5.66 | 215 |

Table S7. Age and gender differences for BH4, BH2, BH4/BH2 and total biopterins levels after multivariable linear regression analysis.

| Biopterins | Variables | B | 95% CI | P |
| --- | --- | --- | --- | --- |
| BH4 | Age (years) | -0.020 | -0.026 to -0.014 | < 0.001 |
|  | Gender (F/M) | -0.012 | -0.273 to 0.248 | 0.926 |
| BH2 | Age (years) | -0.004 | -0.007 to -0.001 | 0.018 |
|  | Gender (F/M) | 0.271 | 0.133 to 0.410 | < 0.001 |
| BH4/BH2 | Age (years) | -0.008 | -0.014 to -0.003 | 0.004 |
|  | Gender (F/M) | -0.562 | -0.798 to -0.326 | < 0.001 |
| Total biopterins | Age (years) | -0.024 | -0.031 to -0.016 | < 0.001 |
|  | Gender (F/M) | 0.259 | -0.055 to 0.573 | 0.106 |

Table S8. Multivariable linear regression analysis for investigating the implication of BMI and UA on biopterins.

| Variables | BH4 |  |  | BH2 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | B | 95% CI | P | B | 95% CI | P |
| (Constant) | 5.661 | 4.609 to 6.712 | <0.001 | 0.333 | -0.185 to 0.852 | 0.206 |
| Gender (F/M) | 0.397 | 0.056 to 0.738 | 0.023 | 0.082 | -0.086 to 0.251 | 0.335 |
| Age (years) | -0.015 | -0.023 to -0.007 | <0.001 | -0.003 | -0.007 to 0.001 | 0.185 |
| ALT (U/L) | 0.015 | 0.002 to 0.029 | 0.030 | 0.004 | -0.003 to 0.011 | 0.247 |
| AST (U/L) | -0.015 | -0.046 to 0.015 | 0.324 | -0.004 | -0.019 to 0.011 | 0.612 |
| DBIL (μmol/L) | -0.130 | -0.302 to 0.041 | 0.136 | 0.054 | -0.030 to 0.139 | 0.207 |
| TBIL (μmol/L) | 0.013 | -0.042 to 0.068 | 0.634 | -0.013 | -0.040 to 0.014 | 0.334 |
| Urea (mmol/L) | 0.002 | -0.101 to 0.104 | 0.977 | -0.005 | -0.056 to 0.045 | 0.833 |
| UA (μmol/L) | -0.003 | -0.005 to -0.001 | 0.001 | 0.001 | 0.000 to 0.002 | 0.006 |
| BMI (kg/m²) | -0.006 | -0.046 to 0.035 | 0.790 | 0.033 | 0.013 to 0.053 | 0.002 |
| Variables | BH4/BH2 |  |  | Total biopterins |  |  |
|  | B | 95% CI | P | B | 95% CI | P |
| (Constant) | 5.398 | 4.567 to 6.229 | <0.001 | 5.994 | 4.707 to 7.281 | <0.001 |
| Gender (F/M) | -0.011 | -0.281 to 0.258 | 0.935 | 0.480 | 0.062 to 0.897 | 0.025 |
| Age (years) | -0.006 | -0.013 to 0.000 | 0.048 | -0.018 | -0.028 to -0.008 | 0.001 |
| ALT (U/L) | 0.004 | -0.007 to 0.015 | 0.520 | 0.019 | 0.002 to 0.037 | 0.025 |
| AST (U/L) | -0.004 | -0.028 to 0.020 | 0.725 | -0.019 | -0.057 to 0.018 | 0.313 |
| DBIL (μmol/L) | -0.106 | -0.242 to 0.029 | 0.124 | -0.076 | -0.286 to 0.134 | 0.476 |
| TBIL (μmol/L) | 0.012 | -0.031 to 0.055 | 0.589 | -3.889E-5 | -0.067 to 0.067 | 0.999 |
| Urea (mmol/L) | 0.024 | -0.057 to 0.106 | 0.553 | -0.004 | -0.130 to 0.122 | 0.951 |
| UA (μmol/L) | -0.003 | -0.005 to -0.002 | <0.001 | -0.002 | -0.004 to 0.000 | 0.081 |
| BMI (kg/m²) | -0.048 | -0.081 to -0.016 | 0.004 | 0.027 | -0.023 to 0.077 | 0.284 |

Figure S2. The QQ plots and distribution histograms (as inserts) of (A) BH4; (B) BH2; (C) BH4/BH2 and (D) total biopterins.

Figure S3. The scatter plots of BMI versus (A) BH4; (B) BH2; (C) BH4/BH2 and (D) total biopterins.

Figure S4. The scatter plots of UA versus (A) BH4; (B) BH2; (C) BH4/BH2 and (D) total biopterins.